PRICE-LIST

(11.01.2013)

in rubles

The manufacturer has the right to make changes to its products without notice to the buyer.

The manufacturer guarantees that, for any technical changes to products presented in this catalog will have equivalent specifications (parameters).

Content

| 1. Refrigeration units | 6 | pg. |
| --- | --- | --- |
| 1.1 Middle-tempreature compact units | 7 | pg. |
| 1.2 Low-tempreature compact units | 7 | pg. |
| 1.3 Middle-tempreature piston units with one compressor | 8 | pg. |
| 1.4 Multicompressor middle-tempreature piston units | 9 | pg. |
| 1.5 Low-temperature piston untis with one compressor | 11 | pg. |
| 1.6 Multicompressor low-temperature piston unit | 12 | pg. |
| 1.7. Middle-tempreature screw units with one compressor | 14 | pg. |
| 1.8 Multicompressor middle-tempreature screw units | 15 | pg. |
| 1.9 Low-temperature screw units with one compressor | 17 | pg. |
| 1.10 Multicompressor low-temperature screw units | 18 | pg. |
| 1.11 Middle-tempreature scroll units | 20 | pg. |
| 1.12 Low-temperature scroll units with R404 | 21 | pg. |
| 1.13 Middle-tempreature scroll condensing units | 22 | pg. |
| 1.14 Low-temperature scroll condensing units | 23 | pg. |
| 1.15 Technical features of scroll compressors | 24 | pg. |
| 1.15.1 Technical features of scroll compressors COPELAND ZB with R404 | 24 | pg. |
| 1.15.2 Technical features of scroll compressors DANFOSS SM 147 with R22 | 26 | pg. |
| 1.16. Double blocks | 27 | pg. |
| 1.16.1 Low-temperature double blocks ББН | 28 | pg. |
| 1.16.2 Middle-tempreature double blocks ББС | 29 | pg. |
| 2. Chillers (liquid coolers) | 31 | pg. |
| 2.1 Hydraulic circuits of chillers (liquid coolers) | 32 | pg. |
| 2.1.1 Hydraulic cicuit of monoblock scroll chillers ЧМС | 32 | pg. |
| 2.1.2 Hydraulic cicuit of double blocks scroll chillers ЧБС | 33 | pg. |
| 2.1.3 Hydraulic cicuit of remote scroll chillers ЧВС | 34 | pg. |
| 2.2 Chillers (liquid coolers) with scroll compressors | 35 | pg. |
| 2.3 Chillers (liquid coolers) with piston compressors | 38 | pg. |
| 2.4 Chillers (liquid coolers) with screw compressors | 45 | pg. |
| 3. Heat pumps/chillers | 48 | pg. |
| 3.1 Heat pumps/chillers double blocks air ТНБВ | 55 | pg. |
| 3.2 Heat pumps/chillers monoblocks unpaved ТНМГ | 58 | pg. |
| 3.3 Heat pumps/chillers monoblocks liquid (water) ТНМЖ | 61 | pg. |
| 4. Pumping stations | 64 | pg. |
| 5. Hydro-modules | 66 | pg. |
| 6. Film evaporators BUCO | 69 | pg. |
| 7. Ice accumulators | 70 | pg. |
| 7.1 Ice accumulators | 70 | pg. |
| 7.2 Evaporating sections | 72 | pg. |
| 7.3 Accumulating insulated capacitors | 73 | pg. |
| 8. Heat recovering units | 74 | pg. |
| 9. Compressors | 75 | pg. |
| 9.1 Compressors COPELAND | 75 | pg. |
| 9.2 Compressors DANFOSS (series Performer) | 76 | pg. |
| 9.3 Compressors piston BITZER | 77 | pg. |
| 9.4 Compressors screw BITZER | 78 | pg. |
| 10. Unit coolers | 79 | pg. |
| 10.1 Unit coolers GÜNTNER 7мм | 79 | pg. |
| 10.2 Unit coolers ROLLER 10мм | 82 | pg. |
| 10.3 Unit coolers ECO 12мм | 84 | pg. |
| 10.4 Unit coolers LEADER | 87 | pg. |
| 10.4.1 Unit coolers ЛВА with distance between lamelas 6мм 10.4.2 Unit coolers ЛВА with distance between lamelas 9мм 10.4.3 Drawings of unit coolers ЛВА 10.4.4 Spare parts for unit coolers ЛВА 10.4.5 Unit coolers ЛВД with distance between lamelas 4мм 10.4.6 Unit coolers ЛВД with distance between lamelas 6мм 10.4.7 Drawings of unit coolers ЛВД 10.4.8 Unit coolers ЛВП with distance between lamelas 3,2/6,4мм 10.4.9 Drawings of unit coolers ЛВП 10.4.10 Spare parts for unti coolers ЛВД and ЛВП | 88 94 100 101 102 104 107 108 110 111 | pg. pg. pg. pg. pg. pg. pg. pg. pg. pg. |
| 10.5 Unit coolers SVIL 10.5.1 Unit coolers SVIL (distance between lamelas 4,5 мм) 10.5.2 Unit coolers SVIL (distance between lamelas 6,0 мм) 10.5.3 Unit coolers SVIL (distance between lamelas 9,0 мм) | 112 113 116 119 | pg. pg. pg. pg. |
| 10.5.4 Drawings of unit coolers SVIL | 122 | pg. |
| 10.5.5 Spare parts for unti coolers | 123 | pg. |
| 10.5.6 Shock froster SVIL (distance between lamelas 11 мм) | 124 | pg. |
| 10.5.7 Drawings for shock froster SVIL | 125 | pg. |
| 10.5.8 Spare parts for shock froster SVIL | 125 | pg. |
| 11. Air cooling condensers | 126 | pg. |
| 11.1 Condensers GÜNTNER | 126 | pg. |
| 11.1.1 Condensers GÜNTNER of series GVH 045 - GVH 065 | 127 | pg. |
| 11.1.2 Condensers GÜNTNER of series GVH 090 | 128 | pg. |
| 11.1.3 Main sizes of air cooling condensers Güntner | 129 | pg. |
| 11.2 Air cooling condensers SVIL | 131 | pg. |
| 11.2.1 Air cooling condensers SVIL horizontal | 132 | pg. |
| 11.2.2 Air cooling condensers SVIL double discharge | 132 | pg. |
| 11.2.3 Air cooling condensers SVIL V-type | 133 | pg. |
| 11.2.4 Spare parts for condensers SVIL 11.2.5 Drawings and main sizes of horizontal condensers SVIL | 133 134 | pg. pg. |
| 11.2.5 Drawings and main sizes of double discharge condensers SVIL | 135 | pg. |
| 11.2.6 Drawings and main sizes of V-type condensers SVIL | 136 | pg. |
| 12. Coaxial heat exchangers LEADER | 137 | pg. |
| 12.1 Coaxial heat exchangers LEADER | 138 | pg. |
| 12.2 Main sizes of coaxial heat exchangers LEADER | 139 | pg. |
| 13. Shell-and-tube evaporators LEADER 13.1 Drawings and main sizes of shell-and-tube evaporators | 141 142 | pg. pg. |
| 14. Plate copper-brazed heat exchangers ALFA LAVAL | 143 | pg. |
| 15. Wiring boxes | 145 | pg. |
| 15.1 Wiring boxes automatic | 145 | pg. |
| 15.2 Wiring boxes of unit coolers | 146 | pg. |
| 15.3 Electrical circuits of wiring boxes | 147 | pg. |
| 16. Pumps PEDROLLO | 149 | pg. |
| 17. Heat exchanging equipment | 153 | pg. |
| 18. Receivers SVIL | 154 | pg. |
| 18.1 Receivers vertical | 154 | pg. |
| 18.2 Receivers horizontal | 155 | pg. |
| 19. Oil separators SVIL | 156 | pg. |
| 20. Liquid separators SVIL | 157 | pg. |
| 21. Filters SVIL | 158 | pg. |
| 21.1 Filters mechanic hermetic | 158 | pg. |
| 21.2 Filter-driers reversible | 158 | pg. |
| 21.3 Filter-driers with anti-acid elements | 159 | pg. |
| 21.4 Filter-driers hermetic | 159 | pg. |
| 21.5 Filters mechanic with drying insert | 160 | pg. |
| 21.6 Filter-driers collapsible | 161 | pg. |
| 21.7 Cartridge filtering exchangeable absorbent | 161 | pg. |
| 21.8 Cartridge filtering exchangeable mechanic | 161 | pg. |
| 22. Receivers with integral liquid separator SVIL | 162 | pg. |
| 23. 4-way valves SVIL | 163 | pg. |
| 24. «Rotalock» valves SVIL | 164 | pg. |
| 25. Manometers SVIL | 164 | pg. |
| 26. Hygrometer SVIL | 164 | pg. |
| 27. Brass nuts SVIL | 164 | pg. |
| 28. Shrewder valve SVIL | 164 | pg. |
| 29. Ball valves SVIL | 165 | pg. |
| 30. Return valves SVIL | 165 | pg. |
| 31. Solenoid valves CASTEL (with coil) | 165 | pg. |
| 32. Collector distributor | 165 | pg. |
| 33. Fans SVIL | 166 | pg. |
| 34. Micro motors SVIL | 168 | pg. |
| 35. Industrial electrics | 169 | pg. |
| 36. Thermal insulation DURKFLEX | 172 | pg. |
| 37. Adhesive tape DURKEE | 172 | pg. |
| 38. Polyamide capillary tube and fittings | 172 | pg. |
| 39. Fan coils SVIL | 173 | pg. |
| 40. Fan coils CLIMAVENETA | 174 | pg. |

1. Refrigeration units

А Н П К –  3х6F-50

Compressor model

Quantity of compressors

К - condensing

С – scroll

П – piston

В – screw

С – middle-temperature

Н – low-temperature

А – unit

1.1 Middle-temperature compact units*

Operating conditions: boiling temperature from -15°C till +5°C

| Unit model | Q0, kW | Voltage W | Quantity and diameter of fans, mm | Connections | Vvolume of refrigerant charge kg | Price, rub. |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | вход mm | выход mm |  |  |
| AССК-ZR42 | 6.9 | 380 | 1×450 | 19 | 12 | 3.5 | 106 238 |
| AССК- TAG4573 | 11.1 |  | 2×450 | 19 | 12 | 6.5 | 137 475 |

Qо – cooling capacity of the unit under the following conditions with  R-22:  condensation temperature t конд. = 45°С; boiling temperature tо  =-5°C; tокр ср = 32°C.

1.2 Low-temperature compact units*

Operating conditions: boiling temperature from -42°C till -15°C,   ** - from -25°C till +5°C

Qо –cooling capacity of the unit under the following conditions with  R-404: condensation temperature t конд. = 45°С; boiling temperature tо  =-25°C; tокр ср = 32°C,  ** - wiring box in a set.

In units of the series АССК and АНСК there are Copeland or L `unite Hermetique motor compressor, high and low pressure pressostats Danfoss, humidity indicators Danfoss, filter driers Danfoss, receivers and liquid separators Alfa Laval, SVIL installed.

* The cost of the wiring box of the unit:

- For units АССК-1 and АНСК-1 - 9375 rubles;

- For units АССК-2 and АССК-7 - 13 125 rubles

- For units AНСК-2 and АНСК-5 - 13 125 rubles.

Option: П — a set to work in the winter time - 12150 rubles. Condensation adjusting through a pressure regulator P78ALA, compressor heating 500W through a thermostat UT72 Danfoss. The manufacturer reserves the right without notice to change the design of units.

1.3 Middle-temperature piston units with one compressor

Operation conditions:  boiling temperature from -15°C till +5°C

Unit components:

- Semi-hermetic piston compressor BITZER

- Liquid receiver.

- Liquid line (filter-drier, sight glass, shut-off valve).

- Suction line (mechanic filter, shut-off valve).

- Pressostats and high and low pressure manometers.

- Dust-and-wet-proof wiring box.

- Documentation.

Additional options:

А – Liquid separator.

Б – Condensation pressure controller (controller, diffusive valve, return valve).

Г – Additional crankcase  heater (500 W), thermostat UT72 Danfoss, indicator.

Д – Oil separator.

Ж – Ester oil Y (in case of operation with R–404).

З – Cylinder head blowing fans

К – Capacity controller (дfrom 4G30 including - 50/100%, с 6J33 – 33/67/100%).

Л – Oil level sensor

| Unit model | Q0, kW | Price, rub. |
| --- | --- | --- |
|  |  | Unit | Additional options |
|  |  |  | А | Б | Г | Д | Ж | З | К | Л |
| АСП-2НС2 | 3,0 | 102 654 | 3 780 | 12 636 | 5 400 | 8 208 | 1 890 | 18 900 | ---- | 10 800 |
| АСП-2GС2 | 3,5 | 102 654 | 3 780 | 12 636 | 5 400 | 8 208 | 1 890 | 18 900 | ---- | 10 800 |
| АСП-2FС3 | 4,3 | 107 082 | 3 780 | 12 636 | 5 400 | 8 208 | 1 890 | 18 900 | ---- | 10 800 |
| АСП-2EС3 | 5,0 | 137 430 | 5 022 | 13 878 | 5 400 | 9 450 | 2 484 | 18 900 | ---- | 10 800 |
| АСП-2DС3 | 6,0 | 138 348 | 5 022 | 13 878 | 5 400 | 9 450 | 2 484 | 18 900 | ---- | 10 800 |
| АСП-2CС4 | 7,4 | 144 666 | 5 022 | 13 878 | 5 400 | 9 450 | 2 484 | 18 900 | ---- | 10 800 |
| АСП-4FС5 | 8,5 | 157 302 | 5 022 | 13 878 | 5 400 | 9 450 | 3 132 | 18 900 | 27 000 | 10 800 |
| АСП-4EС6 | 10,5 | 180 360 | 8 478 | 22 734 | 5 400 | 9 774 | 3 132 | 18 900 | 27 000 | 10 800 |
| АСП-4DC7 | 12,7 | 195 534 | 8 478 | 22 734 | 5 400 | 9 774 | 3 132 | 18 900 | 27 000 | 10 800 |
| АСП-4CC9 | 15,4 | 207 252 | 8 478 | 22 734 | 5 400 | 9 774 | 3 132 | 18 900 | 27 000 | 10 800 |
| АСП-4VC10 | 17,1 | 244 512 | 8 478 | 22 734 | 5 400 | 9 774 | 5 670 | 18 900 | 27 000 | 10 800 |
| АСП-4TC12 | 20,6 | 276 426 | 11 664 | 27 432 | 5 400 | 9 774 | 5 022 | 18 900 | 27 000 | 10 800 |
| АСП-4PC15 | 24,5 | 298 188 | 11 664 | 27 432 | 5 400 | 11 340 | 5 022 | 18 900 | 27 000 | 10 800 |
| АСП-4NC20 | 28,4 | 326 646 | 12 906 | 27 432 | 5 400 | 11 340 | 5 022 | 18 900 | 27 000 | 10 800 |
| АСП-4J22 | 31,7 | 418 878 | 12 906 | 42 282 | 5 400 | 12 312 | 6 912 | 18 900 | 27 000 | ---- |
| АСП-4Н25 | 36,6 | 419 526 | 12 906 | 42 282 | 5 400 | 12 312 | 8 208 | 18 900 | 27 000 | ---- |
| АСП-4G30 | 42,0 | 452 682 | 12 906 | 42 282 | 5 400 | 12 312 | 8 208 | 18 900 | 27 000 | ---- |
| АСП-6J33 | 47,6 | 515 538 | 17 658 | 88 452 | 5 400 | 19 872 | 8 208 | 18 900 | 54 000 | ---- |
| АСП-6H35 | 55,0 | 525 636 | 17 658 | 88 452 | 5 400 | 19 872 | 8 208 | 18 900 | 54 000 | ---- |
| АСП-6G40 | 63,0 | 565 758 | 17 658 | 88 452 | 5 400 | 19 872 | 8 208 | 18 900 | 54 000 | ---- |
| АСП-6F50 | 74,9 | 653 940 | 17 658 | 98 226 | 5 400 | 19 872 | 8 208 | 18 900 | 54 000 | ---- |

Qо – cooling capacity of the unit under the following conditions with R -22:

- condensation temperature tконд = 45°С, boiling temperature t0 =-10°C;

- liquid subcooling 5К, suction gas overheating 11 К.

In case of unit operating with R 404 (Q0) will increase.

1.4 Multi compressor middle-temperature piston units

Operation conditions:  boiling temperature from -15°C till +5°C

Unit components:

- Semi-hermetic compressors BITZER.

- Delivery line (delivery collector).

- Oil separation and return into compressor system (oil separator, additional elements depending on the design of the unit.)

- Liquid receiver with shut-off valve in the outlet, with sight glasses and safety valve.

- Liquid line (filter-drier, sight glass, shut-off valve).

- Suction line (mechanic filter, suction collector, shut-off valve).

- Press stats and high and low pressure manometers.

- Dust-and-wet-proof wiring box.

- Documentation.

Additional options:

А – Liquid separator

Б – Condensation pressure controller (controller, diffusive valve, return valve).

Г – Additional crankcase  heater (500 Вт), thermostat UT72 Danfoss, indicator.

Ж –  Ester oil Y (in case of operation with R–404).

З – Cylinder head blowing fans

К – Capacity controller (from 2х4G30 including – 25/50/75/100%).

Л – Oil level sensor

| Unit model | Q0, kW | Price, rub. |
| --- | --- | --- |
|  |  | Unit | Additional options |
|  |  |  | А | Б | Г | Ж | З | К | Л |
| АСП–2 × 4FC5 | 16,9 | 337 392 | 11 664 | 45 792 | 10 800 | 7 560 | 37 800 | 54 000 | 21 600 |
| АСП–2 × 4EC6 | 20,9 | 352 836 | 18 630 | 51 138 | 10 800 | 7 560 | 37 800 | 54 000 | 21 600 |
| АСП–2 × 4DC7 | 25,5 | 382 536 | 18 630 | 51 138 | 10 800 | 8 208 | 37 800 | 54 000 | 21 600 |
| АСП–2 × 4CC9 | 30,9 | 408 132 | 18 630 | 51 462 | 10 800 | 7 560 | 37 800 | 54 000 | 21 600 |
| АСП–2 × 4VC10 | 34,1 | 487 458 | 18 630 | 51 462 | 10 800 | 9 450 | 37 800 | 54 000 | 21 600 |
| АСП–2 × 4TC12 | 41,2 | 498 150 | 22 734 | 52 704 | 10 800 | 9 450 | 37 800 | 54 000 | 21 600 |
| АСП–2 × 4PC15 | 49,0 | 528 822 | 25 272 | 52 704 | 10 800 | 9 450 | 37 800 | 54 000 | 21 600 |
| АСП–2 × 4NC20 | 56,8 | 600 210 | 25 272 | 88 452 | 10 800 | 10 098 | 37 800 | 54 000 | 21 600 |
| АСП–2 × 4J22 | 63,4 | 743 634 | 25 272 | 90 612 | 10 800 | 14 526 | 37 800 | 54 000 | ---- |
| АСП–2 × 4H25 | 73,2 | 750 600 | 36 288 | 90 612 | 10 800 | 15 768 | 37 800 | 54 000 | ---- |
| АСП–2 × 4G30 | 84,0 | 833 652 | 36 288 | 120 042 | 10 800 | 16 416 | 37 800 | 54 000 | ---- |
| АСП–2 × 6J33 | 95,2 | 958 122 | 36 288 | 120 042 | 10 800 | 17 010 | 37 800 | 108 000 | ---- |
| АСП–2 × 6H35 | 110,0 | 1 002 996 | 36 288 | 120 042 | 10 800 | 16 416 | 37 800 | 108 000 | ---- |
| АСП–2 × 6G40 | 126,0 | 1 062 396 | 36 288 | 155 088 | 10 800 | 16 416 | 37 800 | 108 000 | ---- |
| АСП–2 × 6F50 | 149,8 | 1 195 074 | 36 288 | 155 088 | 10 800 | 17 010 | 37 800 | 108 000 | ---- |
| АСП–3 × 4FC5 | 25,4 | 459 324 | 17 658 | 51 138 | 16 200 | 11 988 | 56 700 | * | 32 400 |
| АСП–3 × 4EC6 | 31,4 | 489 348 | 27 756 | 51 462 | 16 200 | 11 988 | 56 700 | * | 32 400 |
| АСП–3 × 4DC7 | 38,2 | 534 168 | 27 756 | 51 462 | 16 200 | 11 988 | 56 700 | * | 32 400 |
| АСП–3 × 4CC9 | 46,3 | 573 966 | 27 756 | 88 452 | 16 200 | 11 988 | 56 700 | * | 32 400 |
| АСП–3 × 4VC10 | 51,2 | 693 414 | 27 756 | 88 452 | 16 200 | 14 526 | 56 700 | * | 32 400 |
| АСП–3 × 4TC12 | 61,8 | 709 830 | 34 074 | 88 722 | 16 200 | 14 526 | 56 700 | * | 32 400 |

| Unit model | Q0, kW | Price, rub. |
| --- | --- | --- |
|  |  | Unit | Additional options |
|  |  |  | А | Б | Г | Ж | З | К | Л |
| АСП–3 × 4PC15 | 73,5 | 767 016 | 37 908 | 88 722 | 16 200 | 14 526 | 56 700 | * | 32 400 |
| АСП–3 × 4NC20 | 85,2 | 844 722 | 37 908 | 88 722 | 16 200 | 15 120 | 56 700 | * | 32 400 |
| АСП–3 × 4J22 | 95,1 | 1 105 974 | 37 908 | 120 636 | 16 200 | 22 086 | 56 700 | * | ---- |
| АСП–3 × 4H25 | 109,8 | 1 106 622 | 54 648 | 120 636 | 16 200 | 24 624 | 56 700 | * | ---- |
| АСП–3 × 4G30 | 126,0 | 1 205 172 | 54 648 | 155 088 | 16 200 | 24 624 | 56 700 | * | ---- |
| АСП–3 × 6J33 | 142,8 | 1 408 590 | 54 648 | 155 088 | 16 200 | 25 866 | 56 700 | * | ---- |
| АСП–3 × 6H35 | 165,0 | 1 452 168 | 54 648 | 180 360 | 16 200 | 25 866 | 56 700 | * | ---- |
| АСП–3 × 6G40 | 189,0 | 1 528 632 | 54 648 | 180 360 | 16 200 | 25 272 | 56 700 | * | ---- |
| АСП–3 × 6F50 | 224,7 | 1 774 386 | 54 648 | 180 360 | 16 200 | 25 866 | 56 700 | * | ---- |
| АСП–4 × 4EC6 | 41,8 | 651 402 | 37 260 | 53 028 | 21 600 | 15 120 | 75 600 | * | 43 200 |
| АСП–4 × 4DC7 | 51,0 | 719 928 | 37 260 | 90 612 | 21 600 | 15 120 | 75 600 | * | 43 200 |
| АСП–4 × 4СC9 | 61,7 | 763 830 | 37 260 | 90 612 | 21 600 | 15 768 | 75 600 | * | 43 200 |
| АСП–4 × 4VC10 | 68,2 | 918 972 | 36 288 | 90 612 | 21 600 | 19 548 | 75 600 | * | 43 200 |
| АСП–4 × 4TC12 | 82,4 | 953 046 | 44 496 | 120 042 | 21 600 | 19 548 | 75 600 | * | 43 200 |
| АСП–4 × 4PC15 | 98,0 | 1 010 556 | 47 034 | 120 042 | 21 600 | 19 548 | 75 600 | * | 43 200 |
| АСП–4 × 4NС20 | 113,6 | 1 149 876 | 50 814 | 155 088 | 21 600 | 19 548 | 75 600 | * | 43 200 |
| АСП–4 × 4J22 | 126,8 | 1 448 064 | 50 814 | 155 088 | 21 600 | 29 052 | 75 600 | * | ---- |
| АСП–4 × 4H25 | 146,4 | 1 458 810 | 72 630 | 155 088 | 21 600 | 32 184 | 75 600 | * | ---- |
| АСП–4 × 4G30 | 168,0 | 1 589 274 | 72 630 | 180 360 | 21 600 | 32 184 | 75 600 | * | ---- |
| АСП–4 × 6J33 | 190,4 | 1 830 006 | 72 954 | 180 360 | 21 600 | 34 074 | 75 600 | * | ---- |
| АСП–4 × 6H35 | 220,0 | 1 921 644 | 72 954 | 180 360 | 21 600 | 34 074 | 75 600 | * | ---- |
| АСП–4 × 6G40 | 252,0 | 2 022 732 | 72 954 | 180 360 | 21 600 | 34 074 | 75 600 | * | ---- |
| АСП–4 × 6F50 | 299,6 | 2 289 330 | 72 954 | 180 360 | 21 600 | 34 074 | 75 600 | * | ---- |
| АСП–5 × 6H35 | 275,0 | 2 270 376 | 74 196 | 180 360 | 27 000 | 42 282 | 94 500 | * | ---- |
| АСП–5 × 6G40 | 315,0 | 2 396 736 | 74 196 | 180 360 | 27 000 | 42 282 | 94 500 | * | ---- |
| АСП–5 × 6F50 | 374,5 | 2 724 030 | 74 196 | 180 360 | 27 000 | 42 930 | 94 500 | * | ---- |

* - the price is on request

Qо – cooling capacity of the unit under the following conditions with R -22:

- condensation temperature t конд = 45°С;

- boiling temperature t0 = -10°C;

- suction gas overheating 11 К;

- liquid subcooling in the outlet of the unit 5 К.

In case of unit operating with R 404 (Q0) will increase.

1.5 Low-temperature piston units with one compressor

Operation conditions:  boiling temperature from -42°C till -15°C

Unit components:

- Semi-hermetic piston compressor BITZER

- Liquid receiver.

- Liquid line (filter-drier, sight glass, shut-off valve).

- Suction line (mechanical filter, shut-off valve).

- High and low pressure switches and gauges.

- Dust-and-wet-proof wiring box.

- Documentation.

Additional options:

А – Liquid separator.

Б – Condensation pressure controller (controller, diffusive valve, return valve).

Г – Additional crankcase heater (500 W), the thermostat UT72 Danfoss, indicator.

Д – Oil separator.

Е – Cooling system by means of liquid refrigerant injection (beginning with the model AНП – 4VC6).

Ж – Ester oil Y (in case of operation with R–404).

З – Cylinder head blowing fans

К – Capacity controller (from 4G20 including - 50/100%, from 6J22– 33/67/100%).

Л – Oil level sensor

| Unit model | Q0, kW | Price, rub. |
| --- | --- | --- |
|  |  | Unit | Additional options |
|  |  |  | А | Б | Г | Д | Е | Ж | З | К | Л |
| АНП-2НС1 | 1,1 | 102 654 | 3 780 | 12 636 | 5 400 | 8 208 | ---- | 1 242 | 18 900 | ---- | 10 800 |
| АНП-2FС2 | 1,7 | 105 192 | 3 780 | 12 636 | 5 400 | 8 208 | ---- | 1 890 | 18 900 | ---- | 10 800 |
| АНП-2EС2 | 2,0 | 131 706 | 5 022 | 13 878 | 5 400 | 9 450 | ---- | 2 484 | 18 900 | ---- | 10 800 |
| АНП-2DС2 | 2,2 | 134 892 | 5 022 | 13 878 | 5 400 | 9 450 | ---- | 2 484 | 18 900 | ---- | 10 800 |
| АНП-2CC3 | 2,8 | 137 754 | 5 022 | 13 878 | 5 400 | 9 450 | ---- | 2 484 | 18 900 | ---- | 10 800 |
| АНП-4FС3 | 3,1 | 144 666 | 5 022 | 13 878 | 5 400 | 9 450 | ---- | 3 132 | 18 900 | 27 000 | 10 800 |
| АНП-4EС4 | 3,9 | 151 308 | 7 884 | 13 878 | 5 400 | 9 450 | ---- | 3 132 | 18 900 | 27 000 | 10 800 |
| АНП-4DС5 | 4,6 | 174 690 | 7 884 | 13 878 | 5 400 | 9 450 | ---- | 3 132 | 18 900 | 27 000 | 10 800 |
| АНП-4CC6 | 5,0 | 200 610 | 8 478 | 22 734 | 5 400 | 9 774 | ---- | 3 132 | 18 900 | 27 000 | 10 800 |
| АНП-4VC6 | 6,0 | 236 628 | 8 478 | 22 734 | 5 400 | 9 774 | 43 200 | 5 022 | 18 900 | 27 000 | 10 800 |
| АНП-4TC8 | 7,3 | 242 946 | 8 478 | 22 734 | 5 400 | 9 774 | 43 200 | 5 670 | 18 900 | 27 000 | 10 800 |
| АНП-4PC10 | 8,5 | 256 176 | 8 478 | 22 734 | 5 400 | 9 774 | 43 200 | 5 670 | 18 900 | 27 000 | 10 800 |
| АНП-4NC12 | 9,9 | 304 830 | 11 664 | 27 432 | 5 400 | 11 340 | 43 200 | 5 022 | 18 900 | 27 000 | 10 800 |
| АНП-4J13 | 10,8 | 380 322 | 11 664 | 27 432 | 5 400 | 11 340 | 43 200 | 6 318 | 18 900 | 27 000 | ---- |
| АНП-4Н15 | 12,5 | 380 970 | 11 664 | 27 432 | 5 400 | 11 340 | 43 200 | 6 318 | 18 900 | 27 000 | ---- |
| АНП-4G20 | 14,5 | 430 272 | 12 852 | 42 282 | 5 400 | 12 312 | 43 200 | 8 208 | 18 900 | 27 000 | ---- |
| АНП-6J22 | 16,2 | 462 780 | 17 658 | 71 388 | 5 400 | 12 312 | 45 900 | 7 560 | 18 900 | 54 000 | ---- |
| АНП-6H25 | 18,8 | 472 284 | 17 658 | 71 388 | 5 400 | 12 312 | 45 900 | 8 208 | 18 900 | 54 000 | ---- |
| АНП-6G30 | 21,8 | 525 636 | 17 658 | 88 452 | 5 400 | 19 872 | 45 900 | 8 208 | 18 900 | 54 000 | ---- |
| АНП-6F40 | 26,5 | 620 136 | 17 658 | 88 722 | 5 400 | 19 872 | 45 900 | 8 208 | 18 900 | 54 000 | ---- |

Qо – cooling capacity of the unit under the following conditions with R -22:

- condensation temperature tконд = 45°С;

- boiling temperature t0 =-30°C;

- liquid sub cooling 5К;

- suction gas overheating 11 К.

In case of unit operating with R 404 (Q0) will increase.

1.6 Multi compressor low-temperature piston unit

Operation conditions:  boiling temperature from -42°C till -15°C

Unit components:

- Semi-hermetic compressors.

- Delivery line (delivery collector).

- Oil separation and return into compressor system (oil separator, additional elements depending on the design of the units).

- Liquid receiver with shut-off valve in the outlet, sight glasses and safety valve.

- Liquid line (filter drier, sight glass, shut-off valve).

- Suction line (mechanical filter, suction collector, shut-off valve).

- High and low pressure switches and gauges.

- Dust-and-wet-proof wiring box of the unit.

- Documentation.

Additional options:

А – Liquid separator.

Б – Condensation pressure controller (controller, diffusive valve, return valve).

Г – Additional crankcase heater (500 W), the thermostat UT72 Danfoss, indicator.

Д – Oil separator.

Е – Cooling system by means of liquid refrigerant injection (beginning with the model AНП – 2x4VC6).

Ж – Ester oil Y (in case of operation with R–404).

З – Cylinder head blowing fans

К – Capacity controller (from 2x4G20 including — 25/50/75/100%).

Л – Oil level sensor

| Unit model | Q0, kW | Price, rub. |
| --- | --- | --- |
|  |  | Unit | Additional options |
|  |  |  | А | Б | Г | Е | Ж | З | К | Л |
| АНП–2 × 4FC3 | 6,2 | 311 148 | 11 664 | 20 520 | 10 800 | ---- | 7 560 | 37 800 | 54 000 | 21 600 |
| АНП–2 × 4EC4 | 7,8 | 318 114 | 18 630 | 20 520 | 10 800 | ---- | 7 560 | 37 800 | 54 000 | 21 600 |
| АНП–2 × 4DC5 | 9,1 | 361 692 | 18 630 | 20 520 | 10 800 | ---- | 7 560 | 37 800 | 54 000 | 21 600 |
| АНП–2 × 4CC6 | 10,1 | 387 612 | 18 630 | 29 376 | 10 800 | ---- | 8 532 | 37 800 | 54 000 | 21 600 |
| АНП–2 × 4VC6 | 11,9 | 464 670 | 18 630 | 29 376 | 10 800 | 86 400 | 9 450 | 37 800 | 54 000 | 21 600 |
| АНП–2 × 4TC8 | 14,7 | 479 520 | 22 734 | 29 376 | 10 800 | 86 400 | 9 450 | 37 800 | 54 000 | 21 600 |
| АНП–2 × 4PC10 | 17,0 | 506 088 | 22 734 | 29 376 | 10 800 | 86 400 | 10 098 | 37 800 | 54 000 | 21 600 |
| АНП–2 × 4NC12 | 19,8 | 554 742 | 22 734 | 45 792 | 10 800 | 86 400 | 10 098 | 37 800 | 54 000 | 21 600 |
| АНП–2 × 4J13 | 21,6 | 706 968 | 25 272 | 51 138 | 10 800 | 86 400 | 14 526 | 37 800 | 54 000 | ---- |
| АНП–2 × 4H15 | 25,0 | 708 264 | 25 272 | 51 138 | 10 800 | 86 400 | 14 526 | 37 800 | 54 000 | ---- |
| АНП–2 × 4G20 | 29,1 | 783 756 | 36 288 | 51 138 | 10 800 | 86 400 | 15 768 | 37 800 | 54 000 | ---- |
| АНП–2 × 6J22 | 32,3 | 837 432 | 36 288 | 51 138 | 10 800 | 91 800 | 17 010 | 37 800 | 108 000 | ---- |
| АНП–2 × 6H25 | 37,5 | 882 630 | 36 288 | 53 028 | 10 800 | 91 800 | 17 010 | 37 800 | 108 000 | ---- |
| АНП–2 × 6G30 | 43,6 | 977 400 | 36 288 | 53 028 | 10 800 | 91 800 | 17 010 | 37 800 | 108 000 | ---- |
| АНП–2 × 6F40 | 53,0 | 1 145 772 | 36 288 | 90 342 | 10 800 | 91 800 | 17 010 | 37 800 | 108 000 | ---- |
| АНП–3 × 4FC3 | 9,2 | 422 982 | 17 658 | 20 520 | 16 200 | ---- | 11 340 | 56 700 | * | 32 400 |
| АНП–3 × 4EC4 | 11,7 | 438 804 | 27 756 | 29 376 | 16 200 | ---- | 11 988 | 56 700 | * | 32 400 |
| АНП–3 × 4DC5 | 13,7 | 512 082 | 27 756 | 29 376 | 16 200 | ---- | 11 340 | 56 700 | * | 32 400 |
| АНП–3 × 4CC6 | 15,1 | 543 024 | 27 756 | 29 376 | 16 200 | ---- | 12 906 | 56 700 | * | 32 400 |
| АНП–3 × 4VC6 | 17,9 | 658 638 | 27 756 | 29 376 | 16 200 | 129 600 | 14 526 | 56 700 | * | 32 400 |
| АНП–3 × 4TC8 | 22,0 | 678 240 | 33 750 | 51 138 | 16 200 | 129 600 | 14 526 | 56 700 | * | 32 400 |
| АНП–3 × 4PC10 | 25,5 | 718 686 | 33 750 | 51 138 | 16 200 | 129 600 | 14 526 | 56 700 | * | 32 400 |

| Unit model | Q0, kW | Price, rub. |
| --- | --- | --- |
|  |  | Unit | Additional options |
|  |  |  | А | Б | Г | Е | Ж | З | К | Л |
| АНП–3 × 4NC12 | 29,8 | 784 404 | 34 074 | 51 138 | 16 200 | 129 600 | 14 526 | 56 700 | * | 3 240 |
| АНП–3 × 4J13 | 32,3 | 1 040 904 | 37 908 | 51 138 | 16 200 | 129 600 | 21 438 | 56 700 | * | ---- |
| АНП–3 × 4H15 | 37,5 | 1 044 036 | 37 908 | 53 028 | 16 200 | 129 600 | 22 086 | 56 700 | * | ---- |
| АНП–3 × 4G20 | 43,6 | 1 136 268 | 54 648 | 53 028 | 16 200 | 129 600 | 23 976 | 56 700 | * | ---- |
| АНП–3 × 6J22 | 48,5 | 1 235 196 | 54 648 | 53 028 | 16 200 | 137 700 | 25 272 | 56 700 | * | ---- |
| АНП–3 × 6H25 | 56,3 | 1 271 484 | 54 648 | 90 612 | 16 200 | 137 700 | 25 866 | 56 700 | * | ---- |
| АНП–3 × 6G30 | 65,4 | 1 413 666 | 54 648 | 90 612 | 16 200 | 137 700 | 25 866 | 56 700 | * | ---- |
| АНП–3 × 6F40 | 79,5 | 1 670 166 | 54 648 | 120 636 | 16 200 | 137 700 | 25 866 | 56 700 | * | ---- |
| АНП–4 × 4EC4 | 15,6 | 603 072 | 37 260 | 29 376 | 21 600 | ---- | 15 768 | 75 600 | * | 43 200 |
| АНП–4 × 4DC5 | 18,3 | 687 690 | 37 260 | 51 138 | 21 600 | ---- | 15 120 | 75 600 | * | 43 200 |
| АНП–4 × 4CC6 | 20,2 | 732 564 | 37 260 | 51 138 | 21 600 | ---- | 17 334 | 75 600 | * | 43 200 |
| АНП–4 × 4VC6 | 23,9 | 884 196 | 36 288 | 51 138 | 21 600 | 172 800 | 19 548 | 75 600 | * | 43 200 |
| АНП–4 × 4TC8 | 29,4 | 898 722 | 44 496 | 51 138 | 21 600 | 172 800 | 19 548 | 75 600 | * | 43 200 |
| АНП–4 × 4PC10 | 34,0 | 961 902 | 44 496 | 51 138 | 21 600 | 172 800 | 19 548 | 75 600 | * | 43 200 |
| АНП–4 × 4NC12 | 39,7 | 1 050 354 | 48 330 | 53 028 | 21 600 | 172 800 | 19 548 | 75 600 | * | 43 200 |
| АНП–4 × 4J13 | 43,1 | 1 345 734 | 50 814 | 53 028 | 21 600 | 172 800 | 29 052 | 75 600 | * | ---- |
| АНП–4 × 4H15 | 50,0 | 1 373 166 | 50 814 | 90 612 | 21 600 | 172 800 | 28 404 | 75 600 | * | ---- |
| АНП–4 × 4G20 | 58,1 | 1 503 306 | 72 954 | 90 612 | 21 600 | 172 800 | 32 184 | 75 600 | * | ---- |
| АНП–4 × 6J22 | 64,7 | 1 605 096 | 72 954 | 90 612 | 21 600 | 183 600 | 33 480 | 75 600 | * | ---- |
| АНП–4 × 6H25 | 75,0 | 1 660 068 | 72 954 | 120 042 | 21 600 | 183 600 | 34 074 | 75 600 | * | ---- |
| АНП–4 × 6G30 | 87,2 | 1 900 152 | 72 954 | 120 042 | 21 600 | 183 600 | 34 074 | 75 600 | * | ---- |
| АНП–4 × 6F40 | 106,0 | 2 221 074 | 72 954 | 120 042 | 21 600 | 183 600 | 34 074 | 75 600 | * | ---- |
| АНП–5 × 6H25 | 93,8 | 2 015 766 | 74 196 | 120 042 | 27 000 | 229 500 | 42 930 | 94 500 | * | ---- |
| АНП–5 × 6G30 | 109,0 | 2 253 312 | 74 196 | 120 042 | 27 000 | 229 500 | 42 282 | 94 500 | * | ---- |
| АНП–5 × 6F40 | 132,5 | 2 654 532 | 74 196 | 128 520 | 27 000 | 229 500 | 42 282 | 94 500 | * | ---- |

* - the price is on request

Qо – cooling capacity of the unit under the following conditions with R -22:

- condensation temperature t конд = 45°С;

- boiling temperature t0 = -30°C;

- suction gas overheating 11 К;

- liquid sub cooling in the outlet of the unit 5 К.

In case of unit operating with R 404 (Q0) will increase.

1.7 Middle temperature screw units with one compressor

Operation conditions:  boiling temperature from -20°C till +12,5°C

Unit components:

- Semi-hermetic screw compressor.

- Oil separation and return system.

- Liquid receiver.

- Delivery line (return valve).

- Liquid line (filter-drier, sight glass, shut-off valve).

- Suction line (mechanical filter, shut-off valve).

- High and low pressure switches and gauges.

- Dust-and-wet-proof wiring box of the unit.

- Documentation.

Additional options:

А – Liquid separator

Б – Condensation pressure controller (controller, shut-off valve, return valve).

И – Economizer

М – Air oil cooler

| Unit model | tпо, ˚С | Q0, kW | tпои ˚С | Q0и, kW | Price, rub. |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Unit | Additional options |
|  |  |  |  |  |  | А | Б | И | М |
| АСВ - HSK5353 | 5 | 53.5 | 38.3 | 67.5 | 811 566 | 24 624 | 28 728 | 29 646 | 95 094 |
| АСВ - HSK5363 | 5 | 65.1 | 33.7 | 79.7 | 831 114 | 24 624 | 28 728 | 29 646 | 97 632 |
| АСВ - HSK6451 | 5 | 75.0 | 29.4 | 89.5 | 951 804 | 24 624 | 64 746 | 29 646 | 97 632 |
| АСВ - HSK6461 | 5 | 91.2 | 28.1 | 108.0 | 996 678 | 24 624 | 64 746 | 29 646 | 108 378 |
| АСВ - HSK7451 | 5 | 112.2 | 28.8 | 133.4 | 1 109 106 | 44 226 | 64 746 | 29 646 | 111 510 |
| АСВ - HSK7461 | 5 | 125.2 | 26.0 | 146.1 | 1 142 586 | 44 226 | 64 746 | 29 646 | 111 510 |
| АСВ - HSK7471 | 5 | 138.6 | 25.1 | 160.8 | 1 270 242 | 44 226 | 64 746 | 29 646 | 111 510 |
| АСВ - HSK8551 | 5 | 168.8 | 32.8 | 213 | 1 783 890 | 44 226 | 64 746 | 34 074 | 118 476 |
| АСВ - HSK8561 | 5 | 189.8 | 29.0 | 236 | 1 835 082 | 44 226 | 64 746 | 34 074 | 117 828 |
| АСВ - HSK8571 | 5 | 219.0 | 25.2 | 266 | 1 962 684 | 44 226 | 64 746 | 34 074 | 121 014 |

Qо – nominal cooling capacity and Qои – cooling capacity of the unit with economizer under the following conditions with R -22:

-condensation temperature tконд  = 45°С;

-boiling temperature t0  =-10°C;

-suction gas overheating 11 К

tпо – nominal liquid sub cooling;

tпои – liquid sub cooling in economizer.

In case of unit operating with R 404 (Q0) will increase.

Oil is not included into the price of the unit.

1.8 Multi compressor middle-temperature screw units

Operation conditions:  boiling temperature from -20°C till +5°C

Unit components:

- Semi-hermetic screw compressors.

- Oil separation and return system.

- Liquid receiver.

- Delivery line (return valve).

- Liquid line (filter-drier, sight glass, shut-off valve).

- Suction line (mechanical filter).

- High and low pressure switches and gauges.

- Dust-and-wet-proof wiring box of the unit.

- Documentation.

Additional options:

А –  Liquid separator

Б – Condensation pressure controller (controller, shut-off valve, return valve).

И – Economizer

М – Air oil cooler

| Unit model | tпо, ˚С | Q0, kW | tпои ˚С | Q0и, kW | Price, rub. |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Unit | Additional options |
|  |  |  |  |  |  | А | Б | И | М |
| АСВ-2×HSK 5353 | 5 | 107 | 38.3 | 135 | 1 426 626 | 47 358 | 39 798 | 78 300 | 120 042 |
| АСВ-2×HSK 5363 | 5 | 130.2 | 33.7 | 159.4 | 1 472 094 | 47 358 | 39 798 | 78 300 | 123 228 |
| АСВ-2×HSK 6451 | 5 | 150 | 29.4 | 179 | 1 796 202 | 47 358 | 75 168 | 78 300 | 123 822 |
| АСВ-2×HSK 6461 | 5 | 182.4 | 28.1 | 216 | 1 870 776 | 47 358 | 75 168 | 78 300 | 145 962 |
| АСВ-2×HSK 7451 | 5 | 224.4 | 28.8 | 266.8 | 2 031 858 | 86 508 | 75 168 | 78 300 | 150 984 |
| АСВ-2×HSK 7461 | 5 | 250.4 | 26.0 | 292.2 | 2 096 334 | 86 508 | 75 168 | 78 300 | 150 984 |
| АСВ-2×HSK 7471 | 5 | 277.2 | 25.1 | 321.6 | 2 371 788 | 86 508 | 75 168 | 78 300 | 150 984 |
| АСВ-2×HSK 8551 | 5 | 337.6 | 32.8 | 426 | 3 100 000 | 86 508 | 75 168 | 127 602 | 157 302 |
| АСВ-2×HSK 8561 | 5 | 379.6 | 29.0 | 472 | 3 200 000 | 87 156 | 75 168 | 127 602 | 157 302 |
| АСВ-2×HSK 8571 | 5 | 438 | 25.2 | 532 | 3 500 000 | 87 156 | 75 168 | 127 602 | 162 378 |
| АСВ-3×HSK 5353 | 5 | 160.5 | 38.3 | 202.5 | 1 900 000 | 69 498 | 75 168 | 116 208 | 148 176 |
| АСВ-3×HSK 5363 | 5 | 195.3 | 33.7 | 239.1 | 2 000 000 | 69 498 | 75 168 | 116 208 | 154 494 |
| АСВ-3×HSK 6451 | 5 | 225 | 29.4 | 268.5 | 2 400 000 | 69 498 | 75 168 | 116 208 | 154 494 |
| АСВ-3×HSK 6461 | 5 | 273.6 | 28.1 | 324 | 2 500 000 | 69 498 | 75 168 | 116 208 | 186 678 |
| АСВ-3×HSK 7451 | 5 | 336.6 | 28.8 | 400.2 | 2 900 000 | 129 492 | 75 168 | 116 208 | 194 886 |
| АСВ-3×HSK 7461 | 5 | 375.6 | 26.0 | 438.3 | 3 000 000 | 129 492 | 75 168 | 116 208 | 194 886 |
| АСВ-3×HSK 7471 | 5 | 415.8 | 25.1 | 482.4 | 3 300 000 | 129 492 | 75 168 | 116 208 | 194 886 |
| АСВ-3×HSK 8551 | 5 | 506.4 | 32.8 | 639 | 4 400 000 | 129 492 | 109 296 | 189 540 | 187 002 |
| АСВ-3×HSK 8561 | 5 | 569.4 | 29.0 | 708 | 4 600 000 | 129 492 | 109 296 | 189 540 | 187 002 |
| АСВ-3×HSK 8571 | 5 | 798 | 25.2 | 798 | 4 900 000 | 129 492 | 109 296 | 189 540 | 195 210 |
| АСВ-4×HSK 5353 | 5 | 214 | 38.3 | 270 | 2 400 000 | 92 826 | 75 168 | 150 984 | 197 424 |
| АСВ-4×HSK 5363 | 5 | 260.4 | 33.7 | 318.8 | 2 500 000 | 92 826 | 75 168 | 150 984 | 205 038 |
| АСВ-4×HSK 6451 | 5 | 300 | 29.4 | 358 | 3 200 000 | 92 826 | 75 168 | 150 984 | 205 038 |
| АСВ-4×HSK 6461 | 5 | 364.8 | 28.1 | 432 | 3 300 000 | 92 826 | 75 168 | 150 984 | 249 264 |

| Unit model | tпо, ˚С | Q0, kW | tпои ˚С | Q0и, kW | Price, рrub. |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Unit | Additional options |
|  |  |  |  |  |  | А | Б | И | М |
| АСВ-4×HSK 7451 | 5 | 448.8 | 28.8 | 533.6 | 3 600 000 | 172 476 | 75 168 | 150 984 | 260 010 |
| АСВ-4×HSK 7461 | 5 | 500.8 | 26.0 | 584.4 | 3 800 000 | 172 476 | 75 168 | 150 984 | 260 010 |
| АСВ-4×HSK 7471 | 5 | 554.4 | 25.1 | 643.2 | 4 100 000 | 172 476 | 75 168 | 150 984 | 260 010 |
| АСВ-4×HSK 8551 | 5 | 675.2 | 32.8 | 852 | 5 700 000 | 172 476 | 109 296 | 246 996 | 224 910 |
| АСВ-4×HSK 8561 | 5 | 759.2 | 29.0 | 944 | 6 100 000 | 172 476 | 109 296 | 262 170 | 224 910 |
| АСВ-4×HSK 8571 | 5 | 876 | 25.2 | 1064 | 6 500 000 | 172 476 | 109 296 | 262 170 | 235 656 |
| АСВ-5×HSK 8551 | 5 | 844 | 15.92 | 1045 | 7 600 000 | 214 164 | 109 296 | 320 274 | 265 356 |
| АСВ-5×HSK 8561 | 5 | 949 | 19.27 | 1155 | 7 300 000 | 214 164 | 109 296 | 320 274 | 265 356 |
| АСВ-5×HSK 8571 | 5 | 1095 | 23.2 | 1330 | 7 800 000 | 214 164 | 109 296 | 320 274 | 278 640 |

Qо – nominal cooling capacity and Qои – cooling capacity of the unit with economizer under the following conditions with  R -22:

- condensation temperature tконд  = 45°С;

- boiling temperature t0  =-10°C;

- suction gas overheating 11 К;

- liquid subcooling in the outlet of the unit 5 К.

In case of unit operating with R 404 (Q0) will increase. Oil is not included into the price of the unit.

1.9 Low temperature screw units with one compressor

Operation conditions:  boiling temperature from -42°C till -15°C

Unit components:

- Semi-hermetic screw compressor.

- Oil separation and return system.

- Liquid receiver.

- Delivery line (return valve).

- Liquid line (filter-drier, sight glass, shut-off valve).

- Suction line (mechanical filter, shut-off valve).

- High and low pressure switches and gauges.

- Dust-and-wet-proof wiring box of the unit.

- Documentation.

Additional options:

А – Liquid separator

Б – Condensation pressure controller (controller, shut-off valve, return).

И – Economizer

М – Air oil cooler

| Unit model | tпо, ˚С | Q0, kW | tпои ˚С | Q0и, kW | Price, rub. |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Unit | Additional options |
|  |  |  |  |  |  | А | Б | И | М |
| АНВ - HSN5353 | 5 | 22.8 | 57.3 | 32.4 | 793 206 | 24 624 | 28 728 | 23 976 | 99 522 |
| АНВ - HSN5363 | 5 | 27.3 | 53.5 | 38 | 810 918 | 24 624 | 28 728 | 23 976 | 103 302 |
| АНВ - HSN6451 | 5 | 31.9 | 50 | 43.7 | 927 774 | 24 624 | 28 728 | 23 976 | 97 632 |
| АНВ - HSN6461 | 5 | 38.2 | 48.4 | 51.8 | 960 012 | 24 624 | 28 728 | 23 976 | 111 510 |
| АНВ - HSN7451 | 5 | 46.3 | 47.4 | 62.4 | 1 060 452 | 44 226 | 64 746 | 29 646 | 111 510 |
| АНВ - HSN7461 | 5 | 53.4 | 45.6 | 71.2 | 1 090 800 | 44 226 | 64 746 | 29 646 | 114 048 |
| АНВ - HSN7471 | 5 | 58.2 | 44.2 | 77.0 | 1 171 044 | 44 226 | 64 746 | 29 646 | 143 100 |
| АНВ – HSN8571 | 5 | 94.6 | 43.5 | 130.3 | 1 827 468 | 44 226 | 64 746 | 34 074 | 173 448 |
| АНВ – HSN8591 | 5 | 122,3 | - | 161 | 1 932 336 | 44 226 | 64 746 | 34 074 | 173 448 |

Qо – nominal cooling capacity and Qои – cooling capacity of the unit with an economizer under the following conditions with   R -22:

- condensation temperature tконд  = 45°С;

- boiling temperature t0  =-30°C;

- suctin gas overheating 11 К;

tпо – nominal liquid subcooling;

tпои – liquid subcooling in an ecomonizer.

In case of unit operating with R 404 (Q0) will increase.

Oil is not included into the price of the unit.

1.10 Multi compressor low temperature screw units

Operation conditions:  boiling temperature from -42°C till -15°C

Unit components:

- Semi-hermetic screw compressor.

- Oil separation and return system.

- Liquid receiver.

- Delivery line (return valve).

- Liquid line (filter-drier, sight glass, shut-off valve).

- Suction line (mechanical filter, shut-off valve).

- High and low pressure switches and gauges.

- Dust-and-wet-proof wiring box of the unit.

- Documentation.

Additional options:

А – Liquid separator

Б – Condensation pressure controller (controller, shut-off valve, return).

И – Economizer

М – Air oil cooler

| Unit model | tпо, ˚С | Q0, kW | tпои ˚С | Q0и, kW | Price, rub. |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Unit | Additional options |
|  |  |  |  |  |  | А | Б | И | М |
| AНВ - 2×HSN5353 | 5 | 45.6 | 57.3 | 64.8 | 1 410 156 | 47 358 | 39 798 | 59 994 | 127 602 |
| AНВ - 2×HSN5363 | 5 | 54.6 | 53.5 | 76 | 1 456 326 | 47 358 | 39 798 | 59 994 | 135 864 |
| AНВ - 2×HSN6451 | 5 | 63.8 | 50 | 87.4 | 1 771 578 | 47 358 | 75 168 | 59 994 | 123 822 |
| AНВ - 2×HSN6461 | 5 | 76.4 | 48.4 | 103.6 | 1 836 648 | 47 358 | 75 168 | 59 994 | 150 984 |
| AНВ - 2×HSN7451 | 5 | 92.6 | 47.4 | 124.8 | 1 966 788 | 87 156 | 75 168 | 75 168 | 150 984 |
| AНВ - 2×HSN7461 | 5 | 106.8 | 45.6 | 142.4 | 2 031 858 | 87 156 | 75 168 | 75 168 | 156 708 |
| AНВ - 2×HSN7471 | 5 | 116.4 | 44.2 | 154 | 2 194 236 | 87 156 | 75 168 | 75 168 | 214 812 |
| АНВ - 2×HSN8571 | 5 | 189.2 | 43.5 | 260.6 | 3 100 000 | 87 156 | 75 168 | 90 936 | 268 542 |
| АНВ - 2×HSN8591 | 5 | 244.6 |  | 322 | 3 300 000 | 87 156 | 75 168 | 90 936 | 268 542 |
| AНВ - 3×HSN5353 | 5 | 68.4 | 57.3 | 97.2 | 1 900 000 | 70 092 | 75 168 | 89 694 | 160 164 |
| AНВ - 3×HSN5363 | 5 | 81.9 | 53.5 | 114 | 2 000 000 | 70 092 | 75 168 | 89 694 | 172 152 |
| AНВ - 3×HSN6451 | 5 | 95.7 | 50 | 131.1 | 2 300 000 | 70 740 | 75 168 | 89 694 | 154 494 |
| AНВ - 3×HSN6461 | 5 | 114.6 | 48.4 | 155.4 | 2 500 000 | 70 740 | 75 168 | 89 694 | 195 534 |
| AНВ - 3×HSN7451 | 5 | 138.9 | 47.4 | 187.2 | 2 700 000 | 130 140 | 75 168 | 112 428 | 195 534 |
| AНВ - 3×HSN7461 | 5 | 160.2 | 45.6 | 213.6 | 2 900 000 | 130 140 | 75 168 | 112 428 | 203 742 |
| AНВ - 3×HSN7471 | 5 | 174.6 | 44.2 | 231 | 3 200 000 | 130 140 | 75 168 | 112 428 | 290 304 |
| АНВ - 3×HSN8571 | 5 | 283.8 | 43.5 | 380.9 | 4 300 000 | 130 140 | 75 168 | 130 140 | 353 808 |
| АНВ - 3×HSN8591 | 5 | 366.9 |  | 483 | 4 600 000 | 130 140 | 75 168 | 130 140 | 353 808 |
| AНВ - 4×HSN5353 | 5 | 91.2 | 57.3 | 129.6 | 2 400 000 | 93 474 | 75 168 | 114 966 | 213 246 |
| AНВ - 4×HSN5363 | 5 | 109.2 | 53.5 | 152 | 2 500 000 | 93 474 | 75 168 | 114 966 | 229 014 |
| AНВ - 4×HSN6451 | 5 | 127.6 | 50 | 174.8 | 3 100 000 | 93 474 | 75 168 | 114 966 | 205 632 |
| AНВ - 4×HSN6461 | 5 | 152.8 | 48.4 | 207.2 | 3 300 000 | 93 474 | 75 168 | 114 966 | 260 604 |
| AНВ - 4×HSN7451 | 5 | 185.2 | 47.4 | 249.6 | 3 500 000 | 173 070 | 75 168 | 145 314 | 260 604 |
| AНВ - 4×HSN7461 | 5 | 213.6 | 45.6 | 284.8 | 3 600 000 | 173 070 | 75 168 | 145 314 | 270 702 |
| AНВ - 4×HSN7471 | 5 | 232.8 | 44.2 | 308 | 3 900 000 | 173 070 | 75 168 | 145 314 | 386 964 |

| Unit model | tпо, ˚С | Q0, kW | tпои ˚С | Q0и, kW | Price, rub. |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | Unit | Additional options |
|  |  |  |  |  |  | А | Б | И | М |
| АНВ - 4×HSN8571 | 5 | 378.4 | 43.5 | 521.2 | 6 300 000 | 173 070 | 75 168 | 169 938 | 447 336 |
| АНВ - 4×HSN8591 | 5 | 489,2 | - | 644 | 6 400 000 | 173 070 | 75 168 | 169 938 | 447 336 |
| АНВ - 5×HSN8571 | 5 | 473 | - | - | 7 300 000 | 215 406 | 75 168 | 209 088 | 543 348 |

Qо – nominal cooling capacity and Qои – cooling capacity of the unit with an economizer under the following conditions with   R -22:

- condensation temperature tконд  = 45°С;

- boiling temperature t0  =-30°C;

- suctin gas overheating 11 К;

- liquid subcooling in the outlet of the unit К.

In case of unit operating with R 404 (Q0) will increase.

Oil is not included into the price of the unit.

1.11 Middle temperature scroll units

Unit components:

- Scroll compressor Copeland (Germany) or Danfoss (Denmark)

- Liquid receiver

- Liquid line (filter-drier, sight glass, shut-off valve)

- Delivery line (delivery collector)

- Suction line (mechanical filter, shut-off valve)

- High and low pressure switches

- Dust-and-wet-proof wiring box of the unit

- Suction collector

- High and low pressure gauges

Additional options:

А – Liquid separator

Б – Condensation pressure controller (controller, diffusive valve, return valve)

Г – Additional crankcase heater, thermal controller, indicator, thermal insulation.

OPTIONS Б and Г ENABLES UNIT TO OPERATE AT OUTSIDE TEMPERATURE  TILL – 30С.

Units АСС with compressors Copeland of the series ZB work with refrigerant  R404 and have cooling capacity under the following conditions: condensation temperature tконд  = 45°С, boiling temperature

t0  =-5°С

Units АСС with compressors Danfoss of the series SM work with refrigerant  R22 and have cooling capacity under the following conditions: condensation temperature tконд  = 45°С, boiling temperature  t0  =-5°С

1.12 Low temperature scroll units with R 404

Unit components:

- Scroll compressor Copeland (Germany) or Danfoss (Denmark)

- Liquid receiver

- Liquid line (filte-drier, sigth glass, shut-off valve)

- Delivery line (delivery collector)

- Suction line (mechanical filter, shut-off valve)

- High and low pressure switches

- Dust-and-wet-proof wiring box of the unit

- Suction collector

- High and low pressure gauges

Additional options:

А – Liquid separator

Б – Condensation pressure controller (controller, diffusive valve, return valve)

Г – Additional crankcase heater, thermal controller, indicator, thermal insulation.

OPTIONS Б and Г ENABLES UNIT TO OPERATE AT OUTSIDE TEMPERATURE  TILL – 30С.

| Unit model | Q, kW | Price, rub. |
| --- | --- | --- |
|  |  | Unit | Additional options |
|  |  |  | А | Б | Г |
| AНС – ZB15 | 1,85 | 70 000 | 3 780 | 12 636 | 4 000 |
| AНС – ZB21 | 3,00 | 75 000 | 3 780 | 12 636 | 4 000 |
| AНС – ZB30 | 4,15 | 95 000 | 5 022 | 13 878 | 4 000 |
| AНС – ZB38 | 5,15 | 105 000 | 5 022 | 13 878 | 4 000 |
| AНС – ZB45 | 6,05 | 120 000 | 8 424 | 22 734 | 4 000 |

Q-cooling capacity under the following conditions with R404:

condensation temperature tконд  = 40°С boiling temperature t0  =-25°С

1.13 Middle temperature scroll condensing units

(ККБ – compressor-condensing units)

Unit components:

- Scroll motor-compressor Copeland (Gemany) or Danfoss (Denmark)

- Condenser with a fan

- Oil separation and return system (oil separator)

- Liquid receiver

- Delivery line (return valve)

- Liquid line (filter-drier, sight glass,shut-off valve)

- Suction line (mechanical filter)

- High and low pressure switches

- High and low pressure gauges

- Thermal clikson

- 4-way valve

- Fans speed rotation variator

- Return valve (5 pieces)

- Liquid separator

- Compressor heating element

Additional options:

Б – Condensation pressure controller (controller, diffusive valve, return valve)

Г – Additional crankcase heater, thermal controller, indicator, thermal insulation.

T – Condenser and piping heating

OPTIONS Б and Г ENABLES UNIT TO OPERATE AT OUTSIDE TEMPERATURE  TILL – 30С.

Q –   cooling capacity under the following conditions:

condensation temperature tконд  = 45°С boiling temperature t0  = 0°С

| Unit model | HP, (horse powers) | Q (t0=7°С/ tк =50°С) kW | Q (t0=0°С/ tк =45°С) kW | Quantity of cicuits | Standard sizes | Unit price, rub. | Price of additional options, rub. |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Б | Г | Т |
| AССК-ZB15 | 2 | 6,25 | 5,3 | 1 | 1 | 90 000 | 12 636 | 4 000 | 1 300 |
| AССК-ZB21 | 3 | 9,45 | 7,9 | 1 | 1 | 95 000 | 12 636 | 4 000 | 1 300 |
| AССК-ZB30 | 4 | 12,95 | 10,9 | 1 | 2 | 115 000 | 13 878 | 4 000 | 1 650 |
| AССК-ZB38 | 5 | 16,2 | 13,4 | 1 | 2 | 125 000 | 13 878 | 4 000 | 1 650 |
| AССК-ZB45 | 6 | 19,8 | 15,8 | 1 | 3 | 140 000 | 22 734 | 4 000 | 1 950 |
| AССК-SM147 | 12 | 37,6 | 30,6 | 1 | 4 | 270 000 | 27 000 | 4 000 | 2 500 |
| AССК-2хSM147 | 24 | 75,2 | 61,2 | 1 | 5 | 460 000 | 43 200 | 8 000 | 4 000 |
| AССК-3хSM147 | 36 | 112,8 | 91,8 | 1 | 6 | 700 000 | 75 600 | 12 000 | 6 000 |
| AССК-4хSM147 | 48 | 150,4 | 122,4 | 2 | 7 | 900 000 | 108 000 | 16 000 | 8 000 |
| AССК-5хSM147 | 60 | 188,0 | 153,0 | 2 | 8 | 1 100 000 | 108 000 | 20 000 | 10 000 |
| AССК-6хSM147 | 72 | 225,6 | 183,6 | 2 | 9 | 1 200 000 | 108 000 | 24 000 | 10 000 |

1.14 Low temperature scroll condensing units

(ККБ – compressor-condensing units)

Unit components:

- Scroll motor-compressor Copeland (Gemany) or Danfoss (Denmark)

- Condenser with a fan

- Oil separation and return system (oil separator)

- Liquid receiver

- Delivery line (return valve)

- Liquid line (filter-drier, sight glass,shut-off valve)

- Suction line (mechanical filter)

- High and low pressure switches

- High and low pressure gauges

- Thermal clikson

- 4-way valve

- Fans speed rotation variator

- Return valve (5 pieces)

- Liquid separator

- Compressor heating element

Additional options:

Б – Condensation pressure controller (controller, diffusive valve, return valve)

Г – Additional crankcase heater, thermal controller, indicator, thermal insulation.

T – Condenser and piping heating

OPTIONS Б and Г ENABLES UNIT TO OPERATE AT OUTSIDE TEMPERATURE  TILL – 30С.

| Unit model | HP, (horse powers) | Q (t0=7°С/ tк =50°С) kW | Q (t0=0°С/ tк =45°С) kW | Quantity of cicuits | Standard sizes | Unit price, rub. | Price of additional options, rub. |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |  | Б | Г | Т |
| AССК-ZB15 | 2 | 6,25 | 5,3 | 1 | 1 | 90 000 | 12 636 | 4 000 | 1 300 |
| AССК-ZB21 | 3 | 9,45 | 7,9 | 1 | 1 | 95 000 | 12 636 | 4 000 | 1 300 |
| AССК-ZB30 | 4 | 12,95 | 10,9 | 1 | 2 | 115 000 | 13 878 | 4 000 | 1 650 |
| AССК-ZB38 | 5 | 16,2 | 13,4 | 1 | 2 | 125 000 | 13 878 | 4 000 | 1 650 |
| AССК-ZB45 | 6 | 19,8 | 15,8 | 1 | 3 | 140 000 | 22 734 | 4 000 | 1 950 |
| AССК-SM147 | 12 | 37,6 | 30,6 | 1 | 4 | 270 000 | 27 000 | 4 000 | 2 500 |
| AССК-2хSM147 | 24 | 75,2 | 61,2 | 1 | 5 | 460 000 | 43 200 | 8 000 | 4 000 |
| AССК-3хSM147 | 36 | 112,8 | 91,8 | 1 | 6 | 700 000 | 75 600 | 12 000 | 6 000 |
| AССК-4хSM147 | 48 | 150,4 | 122,4 | 2 | 7 | 900 000 | 108 000 | 16 000 | 8 000 |
| AССК-5хSM147 | 60 | 188,0 | 153,0 | 2 | 8 | 1 100 000 | 108 000 | 20 000 | 10 000 |
| AССК-6хSM147 | 72 | 225,6 | 183,6 | 2 | 9 | 1 200 000 | 108 000 | 24 000 | 10 000 |

Q –  cooling capacity under the following conditions with R404:

condensation temperature tконд  = 40°С boiling temperature t0  =-25°С

1.15 Technical features of scroll compressors

1.15.1 Technical features of scroll compressors Copeland ZB15-ZB88 with R404

ZB15KCE-TFD

| Condensation temperature, °С | Boiling temperature, °С |
| --- | --- |
|  | -30 | -25 | -20 | -15 | -10 | -5 | 0 | 5 | 7 | 10 |
| Capacity, kW | 30 | 1,78 | 2,33 | 2,95 | 3,70 | 4,60 | 5,60 | 6,75 | 8,10 | 8,70 | 9,60 |
|  | 40 | 1,32 | 1,85 | 2,45 | 3,10 | 3,90 | 4,80 | 5,80 | 7,00 | 7,50 | 8,35 |
|  | 45 | 1,05 | 1,58 | 2,15 | 2,79 | 3,50 | 4,35 | 5,30 | 6,40 | 6,90 | 7,65 |
|  | 50 | - | 1,28 | 1,83 | 2,44 | 3,10 | 3,90 | 4,75 | 5,80 | 6,25 | 6,95 |
| Consumption power, kW | 30 | 1,25 | 1,27 | 1,27 | 1,25 | 1,22 | 1,20 | 1,17 | 1,16 | 1,15 | 1,16 |
|  | 40 | 1,70 | 1,69 | 1,67 | 1,63 | 1,59 | 1,55 | 1,51 | 1,49 | 1,49 | 1,49 |
|  | 45 | 2,01 | 1,98 | 1,93 | 1,88 | 1,82 | 1,77 | 1,72 | 1,69 | 1,68 | 1,68 |
|  | 50 | - | 2,32 | 2,26 | 2,18 | 2,10 | 2,03 | 1,97 | 1,92 | 1,91 | 1,90 |

ZB21KCE-TFD

| Condensation temperature, °С | Boiling temperature, °С |
| --- | --- |
|  | -30 | -25 | -20 | -15 | -10 | -5 | 0 | 5 | 7 | 10 |
| Capacity, kW | 30 | 2,78 | 3,55 | 4,40 | 5,45 | 6,70 | 8,15 | 9,80 | 11,65 | 12,50 | 13,80 |
|  | 40 | 2,34 | 3,00 | 3,80 | 4,75 | 5,80 | 7,10 | 8,55 | 10,25 | 11,00 | 12,20 |
|  | 45 | 2,12 | 2,74 | 3,45 | 4,35 | 5,35 | 6,55 | 7,90 | 9,55 | 10,25 | 11,35 |
|  | 50 | - | 2,44 | 3,10 | 3,90 | 4,85 | 5,95 | 7,25 | 8,75 | 9,45 | 10,55 |
| Consumption power, kW | 30 | 1,76 | 1,76 | 1,77 | 1,77 | 1,77 | 1,76 | 1,75 | 1,74 | 1,74 | 1,73 |
|  | 40 | 2,22 | 2,23 | 2,23 | 2,23 | 2,23 | 2,23 | 2,21 | 2,19 | 2,18 | 2,17 |
|  | 45 | 2,50 | 2,52 | 2,52 | 2,52 | 2,51 | 2,50 | 2,48 | 2,46 | 2,46 | 2,44 |
|  | 50 | - | 2,83 | 2,83 | 2,83 | 2,82 | 2,81 | 2,79 | 2,77 | 2,75 | 2,74 |

ZB30KCE-TFD

| Condensation temperature, °С | Boiling temperature, °С |
| --- | --- |
|  | -30 | -25 | -20 | -15 | -10 | -5 | 0 | 5 | 7 | 10 |
| Capacity, kW | 30 | 3,80 | 4,85 | 6,05 | 7,50 | 9,15 | 11,15 | 13,40 | 16,00 | 17,10 | 18,90 |
|  | 40 | 3,20 | 4,15 | 5,20 | 6,50 | 7,95 | 9,70 | 11,75 | 14,05 | 15,10 | 16,70 |
|  | 45 | 2,86 | 3,70 | 4,70 | 5,85 | 7,25 | 8,90 | 10,85 | 13,05 | 14,05 | 15,60 |
|  | 50 | - | 3,35 | 4,25 | 5,35 | 6,65 | 8,15 | 9,95 | 12,00 | 12,95 | 14,40 |
| Consumption power, kW | 30 | 2,36 | 2,36 | 2,37 | 2,37 | 2,37 | 2,36 | 2,35 | 2,34 | 2,33 | 2,32 |
|  | 40 | 2,98 | 2,99 | 2,99 | 2,99 | 2,99 | 2,98 | 2,96 | 2,94 | 2,93 | 2,91 |
|  | 45 | 3,39 | 3,39 | 3,39 | 3,37 | 3,35 | 3,32 | 3,30 | 3,27 | 3,26 | 3,25 |
|  | 50 | - | 3,79 | 3,79 | 3,79 | 3,78 | 3,76 | 3,74 | 3,71 | 3,69 | 3,67 |

ZB38KCE-TFD

| Condensation temperature, °С | Boiling temperature, °С |
| --- | --- |
|  | -30 | -25 | -20 | -15 | -10 | -5 | 0 | 5 | 7 | 10 |
| Capacity, kW | 30 | 4,75 | 6,05 | 7,55 | 9,35 | 11,45 | 13,90 | 16,70 | 20,00 | 21,40 | 23,60 |
|  | 40 | 4,00 | 5,15 | 6,50 | 8,10 | 9,95 | 12,15 | 14,65 | 17,60 | 18,90 | 20,90 |
|  | 45 | 3,60 | 4,65 | 5,85 | 7,30 | 9,05 | 11,05 | 13,45 | 16,20 | 17,40 | 19,40 |
|  | 50 | - | 4,20 | 5,35 | 6,70 | 8,30 | 10,20 | 12,40 | 15,00 | 16,20 | 18,00 |
| Consumption power, kW | 30 | 2,94 | 2,95 | 2,96 | 2,96 | 2,96 | 2,95 | 2,94 | 2,92 | 2,91 | 2,90 |
|  | 40 | 3,72 | 3,74 | 3,74 | 3,74 | 3,73 | 3,72 | 3,70 | 3,67 | 3,66 | 3,63 |
|  | 45 | 4,16 | 4,18 | 4,19 | 4,20 | 4,20 | 4,20 | 4,19 | 4,16 | 4,15 | 4,13 |
|  | 50 | - | 4,73 | 4,74 | 4,74 | 4,72 | 4,70 | 4,67 | 4,63 | 4,61 | 4,58 |

ZB45KCE-TFD

| Condensation temperature, °С | Boiling temperature, °С |
| --- | --- |
|  | -30 | -25 | -20 | -15 | -10 | -5 | 0 | 5 | 7 | 10 |
| Capacity, kW | 30 | 5,60 | 7,10 | 8,85 | 10,95 | 13,40 | 16,30 | 19,60 | 23,40 | 25,10 | 27,70 |
|  | 40 | 4,70 | 6,05 | 7,65 | 9,50 | 11,65 | 14,20 | 17,20 | 20,60 | 22,10 | 24,50 |
|  | 45 | 4,25 | 5,45 | 6,90 | 8,60 | 10,65 | 13,00 | 15,80 | 19,00 | 20,40 | 22,70 |
|  | 50 | - | 4,90 | 6,25 | 7,85 | 9,75 | 11,95 | 14,55 | 17,60 | 18,90 | 21,10 |
| Consumption power, kW | 30 | 3,33 | 3,34 | 3,35 | 3,35 | 3,35 | 3,34 | 3,32 | 3,31 | 3,30 | 3,28 |
|  | 40 | 4,21 | 4,23 | 4,24 | 4,23 | 4,23 | 4,21 | 4,19 | 4,15 | 4,14 | 4,11 |
|  | 45 | 4,76 | 4,79 | 4,81 | 4,82 | 4,81 | 4,79 | 4,76 | 4,72 | 4,70 | 4,67 |
|  | 50 | - | 5,35 | 5,35 | 5,35 | 5,35 | 5,30 | 5,30 | 5,25 | 5,20 | 5,20 |

ZB58KCE-TFD

| Condensation temperature, °С | Boiling temperature, °С |
| --- | --- |
|  | -30 | -25 | -20 | -15 | -10 | -5 | 0 | 5 | 7 | 10 |
| Capacity, kW | 30 | 6,55 | 8,30 | 10,35 | 12,75 | 15,60 | 18,90 | 22,70 | 27,20 | 29,20 | 32,50 |
|  | 40 | 5,55 | 7,40 | 9,25 | 11,40 | 13,95 | 16,90 | 20,40 | 23,90 | 25,60 | 28,50 |
|  | 50 | - | 7,10 | 8,90 | 11,05 | 13,55 | 16,50 | 19,90 | 21,90 | 24,40 | 27,04 |
| Consumption power, kW | 30 | 4,31 | 4,38 | 4,43 | 4,47 | 4,50 | 4,54 | 4,60 | 4,72 | 4,79 | 4,93 |
|  | 40 | 5,30 | 5,45 | 5,50 | 5,60 | 5,60 | 5,65 | 5,70 | 5,75 | 5,75 | 5,85 |
|  | 50 | - | - | 6,75 | 6,85 | 6,90 | 6,95 | 7,00 | 7,00 | 7,05 | 7,05 |

ZB66KCE-TFD

| Condensation temperature, °С | Boiling temperature, °С |
| --- | --- |
|  | -30 | -25 | -20 | -15 | -10 | -5 | 0 | 5 | 7 | 10 |
| Capacity, kW | 30 | 9,54 | 11,93 | 12,48 | 16,40 | 21,19 | 22,93 | 29,54 | 35,25 | 38,22 | 43,41 |
|  | 40 | 8,45 | 10,53 | 11,05 | 13,35 | 17,87 | 21,64 | 26,15 | 31,20 | 33,85 | 38,37 |
|  | 50 | - | - | 10,45 | 13,07 | 16,09 | 19,51 | 23,53 | 28,12 | 30,58 | 34,56 |
| Consumption power, kW | 30 | 4,80 | 4,94 | 5,07 | 5,14 | 5,30 | 5,42 | 5,60 | 5,86 | 5,60 | 6,24 |
|  | 40 | 5,90 | 6,10 | 6,23 | 6,34 | 6,47 | 6,59 | 6,73 | 6,87 | 6,95 | 7,12 |
|  | 50 | - | - | 7,55 | 7,68 | 7,85 | 7,96 | 8,08 | 8,19 | 8,26 | 8,34 |

ZB88KCE-TFD

| Condensation temperature, °С | Boiling temperature, °С |
| --- | --- |
|  | -30 | -25 | -20 | -15 | -10 | -5 | 0 | 5 | 7 | 10 |
| Capacity, kW | 30 | 12,00 | 15,10 | 18,70 | 23,00 | 28,00 | 34,00 | 40,50 | 48,50 | 52,00 | 57,50 |
|  | 40 | 10,25 | 12,95 | 16,10 | 19,90 | 24,40 | 29,60 | 35,50 | 42,50 | 46,00 | 51,00 |
|  | 50 | - | - | 13,50 | 16,80 | 20,60 | 25,10 | 30,50 | 36,50 | 39,50 | 43,50 |
| Consumption power, kW | 30 | 6,95 | 7,15 | 7,35 | 7,50 | 7,70 | 7,95 | 8,25 | 8,65 | 8,85 | 9,25 |
|  | 40 | 8,45 | 8,70 | 8,95 | 9,15 | 9,40 | 9,60 | 9,80 | 10,10 | 10,20 | 10,55 |
|  | 50 | - | - | 10,80 | 11,00 | 11,30 | 11,50 | 11,70 | 12,00 | 12,10 | 12,20 |

Calculation parameters of work for all compressors:

work frequency 50 Гц,  overheating 11,1К,  subcooling 8,3К.

Diagram of compressors operation ZB15-ZB88 with R404

ZB15-ZB21                                            ZB30-ZB58

ZB66                                                         ZB88

1.15.2 Technical features of scroll compressors Danfoss SM 147 with R22

| Cond.temp °С | Boiling temperature, °С |
| --- | --- |
|  | -20 | -15 | -10 | -5 | 0 | 5 | 10 | 15 |

Cooling capacity, W

| 30 | 15682 | 19453 | 23839 | 28911 | 34741 | 41398 | 48953 | 57478 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35 | 14935 | 18615 | 22886 | 27819 | 33483 | 39951 | 47294 | 55581 |
| 40 | 14144 | 17719 | 21858 | 26634 | 32117 | 38379 | 45491 | 53524 |
| 45 | - | 16787 | 20782 | 25388 | 30678 | 36723 | 43594 | 51363 |
| 50 | - | - | 19645 | 24065 | 29144 | 34954 | 41566 | 49052 |
| 55 | - | - | - | 22692 | 27547 | 33108 | 39449 | 46639 |
| 60 | - | - | - | - | 25904 | 31206 | 37263 | 44149 |
| 65 | - | - | - | - | 24198 | 29223 | 34981 | 41545 |

Power, W

| 30 | 5634 | 5757 | 5918 | 6100 | 6285 | 6454 | 6590 | 6675 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35 | 6258 | 6350 | 6496 | 6676 | 6873 | 7069 | 7246 | 7385 |
| 40 | 6984 | 7033 | 7149 | 7314 | 7510 | 7718 | 7922 | 8101 |
| 45 | - | 7829 | 7902 | 8037 | 8218 | 8426 | 8642 | 8849 |
| 50 | - | - | 8777 | 8870 | 9021 | 9214 | 9430 | 9650 |
| 55 | - | - | - | 9834 | 9944 | 10108 | 10309 | 10529 |
| 60 | - | - | - | - | 11008 | 11130 | 11303 | 11509 |
| 65 | - | - | - | - | 12238 | 12304 | 12435 | 12613 |

Consumption current, А

| 30 | 12,99 | 13,17 | 13,31 | 13,44 | 13,58 | 13,77 | 14,02 | 14,36 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35 | 13,64 | 13,85 | 14,00 | 14,14 | 14,29 | 14,47 | 14,71 | 15,03 |
| 40 | 14,36 | 14,59 | 14,76 | 14,91 | 15,06 | 15,23 | 15,46 | 15,76 |
| 45 | - | 15,42 | 15,62 | 15,78 | 15,93 | 16,09 | 16,30 | 16,58 |
| 50 | - | - | 16,60 | 16,77 | 16,92 | 17,08 | 17,27 | 17,52 |
| 55 | - | - | - | 17,92 | 18,07 | 18,22 | 18,40 | 18,63 |
| 60 | - | - | - | - | 19,42 | 19,56 | 19,72 | 19,93 |
| 65 | - | - | - | - | 20,99 | 21,12 | 21,27 | 21,45 |

Mass flow rate, kg/hour

| 30 | 316 | 387 | 469 | 562 | 667 | 786 | 921 | 1071 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35 | 312 | 384 | 466 | 559 | 665 | 785 | 919 | 1070 |
| 40 | 307 | 379 | 461 | 555 | 661 | 781 | 916 | 1067 |
| 45 | - | 373 | 456 | 549 | 656 | 776 | 910 | 1061 |
| 50 | - | - | 449 | 542 | 649 | 768 | 903 | 1054 |
| 55 | - | - | - | 534 | 640 | 759 | 893 | 1044 |
| 60 | - | - | - | - | 629 | 748 | 882 | 1031 |
| 65 | - | - | - | - | 618 | 736 | 868 | 1017 |

Efficiency СОР (Performance index)

| 30 | 2,78 | 3,38 | 4,03 | 4,74 | 5,53 | 6,41 | 7,43 | 8,61 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| 35 | 2,39 | 2,93 | 3,52 | 4,17 | 4,87 | 5,65 | 6,53 | 7,53 |
| 40 | 2,03 | 2,52 | 3,06 | 3,64 | 4,28 | 4,97 | 5,74 | 6,61 |
| 45 | - | 2,14 | 2,63 | 3,16 | 3,73 | 4,36 | 5,04 | 5,80 |
| 50 | - | - | 2,24 | 2,71 | 3,23 | 3,79 | 4,41 | 5,08 |
| 55 | - | - | - | 2,31 | 2,77 | 3,28 | 3,83 | 4,43 |
| 60 | - | - | - | - | 2,35 | 2,80 | 3,30 | 3,84 |
| 65 | - | - | - | - | 1,98 | 2,38 | 2,81 | 3,29 |

1.16 Double blocks

ББ  Н  -  3

Power (л.с)

Н - low-temperature

С - middle-temperature

ББ — double block

Double block components:

- Scroll motor-compressor

- Condenser with a fan

- Unit cooler

- Delivery line (return valve)

- Liquid line (filter-drier, sight glass, shut-off valve)

- Suction line (mechanical filter)

- High and low pressure switches

- High and low pressure gauges

- Thermal clikson

- 4-way valves

- Return valve

- Liquid separator

- Compressor heating element

- Wiring box

Additional options:

Б – Condensation pressure controller (controller, diffusive valve, return valve)

Г – Additional crankcase heater, thermal controller, indicator, thermal insulation.

T – Condenser and piping heating

OPTIONS Б, Г and Т ENABLES UNIT TO OPERATE AT OUTSIDE TEMPERATURE  TILL – 30С.

THE COST OF ADDITIONAL OPTIONS ARE CALCULATED SEPARATELY.

1.16.1 Low-temperature double blocks ББН (-15 °С… -25 °С)

| Model of double block | ББН-2 | ББН-3 | ББН-4 | ББН-5 | ББН-6 |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity at -25°С/+40°С, kW | 1,85 | 3,0 | 4,15 | 5,15 | 6,05 |
| Voltage, V/phase/Hz | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Refrigerant R404, kg | 2,5 | 2,7 | 3,0 | 5,0 | 6,0 |
| Operating power consumption of unit, kW * | 1,69+0,16 | 2,23+0,16 | 2,99+0,16 | 3,74+0,33 | 4,23+0,33 |
| Compressor-condensing unit on the basis of scroll motor-compressor Copeland (USA) |
| Unit standard sizes | 1 | 1 | 1 | 2 | 3 |
| Model of motor-compressor | ZB15 | ZB21 | ZB30 | ZB38 | ZB45 |
| Power, л.с. | 2 | 3 | 4 | 5 | 6 |
| Unit weight netto/gross, kg | 62/67 | 66/71 | 76/81 | 101/106 | 107/112 |
| Unit sizes, length/ width/height, mm | 701х568х703 | 701х568х703 | 701х568х703 | 889х760х860 | 889х760х1100 |
| Heat exchanging surface, m2 | 24 | 24 | 24 | 40 | 52 |
| Quantity of condenser fans, pc | 1 | 1 | 1 | 1 | 1 |
| Diameter of condenser fans, mm | 450 | 450 | 450 | 550 | 550 |
| Fans output, m3/hour | 5600 | 5600 | 5600 | 8500 | 8500 |
| Sound pressure, dB | 57 | 57 | 63 | 66 | 67 |
| Unit cooler |
| Unit cooler model | SE 302/1BE | SE 352/1BE | SE 352/2BE | SE 352/2BE | SE 402/1BE |
| Cooling capacity at Tboiling=-25°С, Tchamber=-18°С, ΔT7°С, kW | 2,2 | 3,7 | 5,7 | 5,7 | 7,5 |
| Sizes, length/ width/height, mm | 1020х330х425 | 1620х330х425 | 1550х410х455 | 1550х410х455 | 1550х410х557 |
| Defrost type | heater/gas | heater/gas | heater/gas | heater/gas | heater/gas |
| Power of defrost heaters, pc/kW | 2х0,7 | 2х1,2 | 2х1,5 | 2х1,5 | 4х1,5 |
| Power of defrost pan heaters, pc/kW | 1х0,7 | 1х1,2 | 1х1,5 | 1х1,5 | 1х1,5 |
| Distance between ribs, mm | 6 | 6 | 6 | 6 | 6 |
| Heat exchanging surface, m2 | 12 | 22 | 30 | 30 | 40 |
| Inner volume, dm3 | 2,7 | 4,6 | 8,1 | 8,1 |  |
| Fans quantity, pc | 2 | 2 | 2 | 2 | 2 |
| Fans diameter, mm | 300 | 350 | 350 | 350 | 400 |
| Output, m3/hour | 2х1700 | 2х2500 | 2х2500 | 2х2500 | 2х3000 |
| Jet length (torch), m | 8 | 10 | 10 | 10 | 13 |
| Fans power, W | 2х90 | 2х120 | 2х120 | 2х120 | 2х180 |
| Voltage V/phase/Hz | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Weight, kg | 40 | 55 | 80 | 80 | 100 |
| Cost, rub. | 120 000 | 135 000 | 165 000 | 175 000 | 200 000 |

* - Operating power consumption is given under conditions of: R404, +40 ° C condensation, -25 ° C boiling point. The first figure - the compressor, the second - the fans of the block.

**- The manufacturer reserves the right to make changes, change parts and assemblies without notifying the customer, which do not impair the declared parameters.

    - Middle-temperature double blocks ББС (+10 °С… -10 °С)

| Model of double block | ББС-2 | ББС-3 | ББС-4 | ББС-5 | ББС-6 |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity at -10°С/+45°С, kW | 3,5 | 5,3 | 7,2 | 9,0 | 10,6 |
| Voltage, V/phase/Hz | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Refrigerant R404, kg | 2,5 | 2,7 | 3,0 | 5,0 | 6,0 |
| Operating power consumption of unit, kW * | 1,8+0,16 | 2,5+0,16 | 3,3+ | 4,2+ | 4,8+ |
| Compressor-condensing unit on the basis of scroll motor-compressor Copeland (USA) |
| Unit standard sizes | 1 | 1 | 2 | 2 | 3 |
| Model of motor-compressor | ZB15 | ZB21 | ZB30 | ZB38 | ZB45 |
| Power, л.с. | 2 | 3 | 4 | 5 | 6 |
| Unit weight netto/gross, kg | 62/67 | 66/71 | 76/81 | 101/106 | 107/112 |
| Unit sizes, length/ width/height, mm | 701/568/703 | 701/568/703 | 889/760/860 | 889/760/860 | 889/760/1100 |
| Heat exchanging surface, m2 | 24 | 24 | 40 | 40 | 52 |
| Quantity of condenser fans, pc | 1 | 1 | 1 | 1 | 1 |
| Diameter of condenser fans, mm | 450 | 450 | 550 | 550 | 550 |
| Fans output, m3/hour | 5600 | 5600 | 8500 | 8500 | 8500 |
| Sound pressure, dB | 57 | 57 | 63 | 66 | 67 |
| Unit cooler |
| Unit cooler model | SE352/1AE | SE352/2AE | SE402/1AE | SE502/1AE | SE502/1AE |
| Cooling capacity at Tboiling=-8°С, Tchamber=0°С, ΔT8°С, kW | 6,1 | 8,0 | 11,2 | 16,2 | 16,2 |
| Sizes, length/ width/height, mm | 1620/330/425 | 1550/410/455 | 1550/410/557 | 1950/480/665 | 1950/480/665 |
| Defrost type | heater/gas | heater/gas | heater/gas | heater/gas | heater/gas |
| Power of defrost heaters, pc/kW | 1,2 | 1,5х3 | 1,5х2 | 1,5х2 | 1,5х2 |
| Power of defrost pan heaters, pc/kW | 1,2 | 1,5 | 1,5 | 1,5 | 1,5 |
| Distance between ribs, mm | 4,5 | 4,5 | 4,5 | 4,5 | 4,5 |
| Heat exchanging surface, m2 | 30 | 40 | 55 | 80 | 80 |
| Inner volume, dm3 | 4,6 | 8,1 | 9,5 | 15,5 | 15,5 |
| Fans quantity, pc | 2 | 2 | 2 | 2 | 2 |
| Fans diameter, mm | 350 | 350 | 400 | 500 | 500 |
| Output, m3/hour | 2х2500 | 2х2500 | 2х3000 | 2х6000 | 2х6000 |
| Jet length (torch), m | 10 | 10 | 13 | 15 | 15 |
| Fans power, W | 2х120 | 2х120 | 2х180 | 2х550 | 2х550 |
| Voltage V/phase/Hz | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Weight, kg | 56 | 81 | 102 | 153 | 153 |
| Cost, rub. | 135 000 | 150 000 | 175 000 | 205 000 | 225 000 |

* - Operating power consumption is given under conditions of: R404, +45 ° C condensation, -10 ° C boiling point. The first figure - the compressor, the second - the fans of the block.

**- The manufacturer reserves the right to make changes, change parts and assemblies without notifying the customer, which do not impair the declared parameters.

| Model of double block | ББС-12 | ББС-24 | ББС-36 | ББС-48 | ББС-60 | ББС-72 |
| --- | --- | --- | --- | --- | --- | --- |
| Cooling capacity at -10°С/+45°С, kW | 20,8 | 41,5 | 62,3 | 83,0 | 103,8 | 124,6 |
| Voltage, V/phase/Hz | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Refrigerant R404, kg | 11,5 | 20 | 29 | 37 | 46 | 55 |
| Operating power consumption of unit, kW * | 7,9+ | 15,8+ | 23,7 | 31,6 | 39,5 | 47,4 |
| Compressor-condensing unit on the basis of scroll motor-compressor Copeland (USA) |
| Unit standard sizes | 4 | 5 | 6 | 7 | 8 | 9 |
| Model of motor-compressor | SM147-4 | 2хSM147-4 | 3хSM147-4 | 4хSM147-4 | 5хSM147-4 | 6хSM147-4 |
| Power, л.с. | 12 | 24 | 36 | 48 | 60 | 72 |
| Unit weight netto/gross, kg | 306/314 | 520/530 | 780/800 | 1020/1050 | 1290/1320 | 1570/1610 |
| Unit sizes, length/ width/height, mm | 1580/940/ 1170 | 2300/1100/ 2254 | 3300/1100/ 2254 | 3300/1100/ 2254 | 3900/1100/ 2254 | 3900/1100/ 2500 |
| Heat exchanging surface, m2 | 110 |  |  |  |  |  |
| Quantity of condenser fans, pc | 2 | 3 | 3 | 3 | 3 | 3 |
| Diameter of condenser fans, mm | 600 | 800 | 800 | 800 | 900 | 900 |
| Fans output, m3/hour | 2х12500 | 3х26000 | 3х26000 | 3х26000 | 3х31000 | 3х31000 |
| Sound pressure, dB | 74 | 77 | 77 | 77 | 79 | 79 |
| Unit cooler |
| Unit cooler model | SE503/2AE | SE554/2AE | 2хSE554/1AE | 2хSE554/2AE | 2хSE604/1AE | 4хSE554/1AE |
| Cooling capacity at Tboiling=-8°С, Tchamber=0°С, ΔT8°С, kW | 32,8 | 67,6 | 105,8 | 135,2 | 164 | 205,6 |
| Sizes, length/ width/height, mm | 2900/550/ 665 | 3200/660/ 775 | 2х2900/620/725 | 2х3200/660/ 775 | 2х3000/660/ 985 | 4х2900/620/ 725 |
| Defrost type | heater | heater | heater | heater | heater | heater |
| Power of defrost heaters, pc/kW | 2,4х4 | 1,5х16 | 2х(1,5х16) | 2х(1,5х16) | 2х(1,8х16) | 4х(1,5х16) |
| Power of defrost pan heaters, pc/kW | 2,4 | 1,5х2 | 2х(1,5х2) | 2х(1,5х2) | 2х(1,8х2) | 4х(1,5х2) |
| Distance between ribs, mm | 4,5 | 4,5 | 4,5 | 4,5 | 4,5 | 4,5 |
| Heat exchanging surface, m2 | 160 | 330 | 2х260 | 2х330 | 2х400 | 4х260 |
| Inner volume, dm3 | 30,4 | 57,6 | 2х51,9 | 2х57,6 | 2х74,4 | 4х51,9 |
| Fans quantity, pc | 3 | 4 | 2х4 | 2х4 | 2х4 | 4х4 |
| Fans diameter, mm | 500 | 550 | 550 | 550 | 600 | 550 |
| Output, m3/hour | 3х6000 | 4х8500 | 2х(4х8500) | 2х(4х8500) | 2х(4х12000) | 2х(4х8500) |
| Jet length (torch), m | 15 | 15 | 15 | 15 | 15 | 15 |
| Fans power, W | 3х550 | 4х600 | 2х(4х600) | 2х(4х600) | 2х(4х830) | 4х(4х600) |
| Voltage V/phase/Hz | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Weight, kg | 245 | 460 | 2х359 | 2х460 | 2х495 | 4х359 |
| Cost, rub. | 395 000 | 685 000 | 1 080 000 | 1 350 000 | 1 650 000 | 2 100 000 |

* - Operating power consumption is given under conditions of: R404, +45 ° C condensation, -10 ° C boiling point. The first figure - the compressor, the second - the fans of the block.

**- The manufacturer reserves the right to make changes, change parts and assemblies without notifying the customer, which do not impair the declared parameters.

2. Chillers (liquid coolers)

Ч М С  - 10 х 2

quantity of compressors

Amount of horse powers

per  1 compressor

В – screw

П – piston

С – scroll

М – monoblock (unit, evaporator and

condenser on the same frame) [one block]

Б – doubleblock (unit and condenser outside, evaporator and pumping station inside the building) [two blocks]

В – remote (unit, evaporator and pumping station inside the building, condenser is outside)

Ч – chiller (liquid cooler)

2.1 Hydraulic circtuis of chillers(liquid coolers)

2.1.1Hydraulic cicuit of monoblock scroll chillers ЧМС

Components of chiller:

1 – compressor

2 – condenser

3 – evaporator

(located

on the same frame)

Water from the cold consumer comes from a warm room into the chiller, which is on the street. After passing through the evaporator, the water cools down and goes into the room to the cold consumer. Meanwhile the pumping station is usually located in a warm room. Such chillers can be easily and quickly mounted even by organizations that do not have any experience in air-conditioning. It is necessary to mount the chiller and bring water and electricity to it. The only disadvantage of such a scheme is the need of technical maintenance, it consists in that before the  temperature in the street gets negative (where the chiller is located) it is necessary to drain all water from the pipeline and the evaporator (3), and in the spring, before starting the system it is necessary to fill the whole system with water. Otherwise, the water in the evaporator during the winter freeze and burst (unfreeze) your chiller, then after the water gets into the hydraulics of freon, it displays all of the chiller system and you will require a complete replacement of the chiller. In countries where there is no low negative temperatures in winter, this problem does not exist. A water replacement to the prepared (non-freezing) liquid can serve as a technical solution.

However, at low powers, small chillers can be installed in a heated room, with no need annualy  to drain and fill water, but it must be remembered that the chiller generates more heat than the cold and you will need to remove  from the condenser hot air from the premises.

2.1.2 Hydraulic cicuit of  double blocks scroll chillers ЧБС

Components of chiller:

1 – compressor

2 – condenser

(located on the same frame)

3 – evaporator (located inside the room and connected with the unit by two copper pipelines)

This system ЧБС is very similar to home air conditioner (split system), but in this case not air evaporator (unit cooler) is used, but water one. This model can be used as a cooling in winter conditions, in case of air-conditioning servers, cooling of various equipment for the production of plastics, paper, etc., as well as to cool the "working fluid", which will be the intermediate (propylene glycol, ethylene glycol) and continue to cool through the second heat exchanger the final product (beer, milk, cola, etc.). When used in winter it is necessary to set additional options (БГТ) for the winter run of the chiller and its work at ambient temperature of -32 ° C. This solution eliminates the possibility of "unfreezing" the evaporator in the street, herewith the possibility of giving off heat in the room is excluded. Besides, this solution does not require a place in the room and at the same time we do not hear how the chiller operates. The control panel of a chiller and pumping station is located next to the evaporator in the room, and we can see all the parameters of pressure and temperature in all parts of the refrigeration machine operation.

Due to options (БГТ), we not only save space, we do not need to build separate aggregates (in  case of large capacities). Options (БГТ) are responsible for the regulation of the condensing pressure,  have additional cracncase heaters of compressor, condenser and piplines. The whole system works through the microprocessor and brings the chiller into the working mode for 10 minutes, after that the chiller srtarts, and the options (БГТ) switch off. During cyclical operation of chiller the options (БГТ) do not switch on. This solution of liquid cooling was developed and tested by Design Department of GC "Leader" especially for Russia and other countries with a  low temperature in winter. The disadvantage of the ЧБС system is the need to conduct skilled assembling works when the equipment is installed, as well as during the installation of domestic split-system.

Advantages of this system: 1 — the chiller can operate with the help of additional options (БГТ) at low temperatures (down to -32 ° C), 2 — the possibility to defrost the evaporator from the ambient temperature is excluded, 3 - condenser and compressor, being on the street, produce heat and sound pressure outside the room, 4 - no need to allocate space and construct an aggregate.

Disadvantages of the system: the need to implement qualified installation.

2.1.3 Hydraulic cicuit of remote scroll chillers ЧВС

Components of chiller:

1 – compressor

3 – evaporator

(located on the same frame inside the room)

2 – condenser (located outside (remote) and connected with the unit by two copper pipilnes)

ЧВС system is similar to the ЧБС system, only in this case, the compressor is located in the room together with the evaporator, which protects the evaporator from unfreezing in winter. There is no need to heat before starting after the compressor stops, you only need to set options (БТ), which are responsible for adjusting the pressure of condensation and heat the pipeline and condenser before starting. However, one should remember that the unit requires ventilated aggregate, as the unit while running will give off heat, and it will be needed to soundproof the aggregate not to hear its work. When installing the equipment as well as in the ЧБС system one should contact the mounting company.

Advantages of the system:

1 - the possibility to defrost  the evaporator from the ambient temperature is excluded,

2  - there is no need to use the option (Г) of heating the compresso,

3- operation at low temperature (down to -32 ° C) is possible (if installing additional options (БТ) of a condensation pressure control and heating the refrigerant circuit).

Disadvantages of the system:

1- an additional ventilated area for compressor,

2 - the compressor generates heat and noise in the room,

3  - there is a need to perform skilled installation.

2.2 Chillers (liquid coolers) with scroll compressors

Components of chiller:

- The unit with scroll compressors Copeland or Danfoss

- Evaporator

- High and low pressure gauage

- High and low pressure switch

- Thermal clikson

- Air condenser

- Condenser fans

- Sight glass (humidity indicator)

- Receiver

- Liquid separator

- Filter

- Electrical heater to heat compressor

- Expansion vlave Danfoss

- Spider-distributor (to the 8th model including)

- Delivery and suction collector (from models 10х2 including)

- Oil seperator (to the 8th model including)

- Condensation pressure switch

- Liquid and gas shut-off valves (to the 8th model including)

Additional options :

Б – Condensation pressure conreoller (conreoller, diffusive valve, return valve)

Г – Additional crankcase heater, temperature controller, indicator, thermal insulation (2pcs)

Т – Condenser and piplines heating

OPTIONS  Б, Г and  Т  ENABLES THE UNIT TO OPERATE AT OUSIDE TEMPERATURE  TO – 32С.

| Model of a chiller | ЧМС-2/ ЧБС-2 | ЧМС-3/ ЧБС-3 | ЧМС-4/ ЧБС-4 | ЧМС-5/ ЧБС-5 | ЧМС-6/ ЧБС-6 | ЧМС-12/ ЧБС-12/ ЧВС-12 |
| --- | --- | --- | --- | --- | --- | --- |
| Cooling capacity Qо, kW at Tконд =45°С, T0 =2°C | 5,7 | 8,5 | 11,3 | 14,4 | 17,1 | 33,1 |
| Refrigerant mark | R404 | R404 | R404 | R404 | R404 | R22 |
| Unit model | АССК-ZB15 | АССК-ZB21 | АССК-ZB30 | АССК-ZB38 | АССК-ZB45 | АССК-SM147 |
| Evaporator model | SCE 08 | SCE 15 | SCE 15 | SCE 15 | SCE 23 | SCE 35 |
| Quantity of compressors | 1 | 1 | 1 | 1 | 1 | 1 |
| A number of power levels | 1 | 1 | 1 | 1 | 1 | 1 |
| A number of cicuits | 1 | 1 | 1 | 1 | 1 | 1 |
| Nominally acceptable water discharge, m3/hour | 1,0 | 1,5 | 2,0 | 2,5 | 3,0 | 5,7 |
| Pressure los on evaporator, no more than кPa | 40 | 40 | 40 | 40 | 40 | 40 |
| Pumpimg station model 200 кPa (20m) | НС 3-50 | НС 15-100 | НС 15-100 | НС 15-100 | НС 15-100 | НС 15-200 |
| Pumping station model 400 кPa (40m) | НС 15-100 | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 |
| Hydro-module model 200 кPa | ГМ 50/3-50 | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 100/15-200 |
| Hydro-module model 400 кPa | ГМ 50/15-100 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 |
| Operating chiller power consumption(compressor+ fans), kW | 1,51+0,16 | 2,19+0,16 | 2,94+0,33 | 3,7+0,33 | 4,19+0,33 | 7,51+0,36 |
| Pumping station or hydro-module power consumption for 200 кPa | 0,165 | 0,75 | 0,75 | 0,75 | 0,75 | 1,5 |
| Pumping station or hydro-module power consumption for 400 кPa | 0,75 | 4,0 | 4,0 | 4,0 | 4,0 | 4,0 |
| Cost of a chiller without pumping station or hydro-module, rub. | 120 000 | 130 000 | 150 000 | 160 000 | 190 000 | 330 000 |
| Cost of pumping station 200 кPa (20m) | 35 000 | 40 000 | 40 000 | 40 000 | 40 000 | 50 000 |
| Cost of pumping station 400 кPa (40m) | 40 000 | 60 000 | 60 000 | 60 000 | 60 000 | 60 000 |
| Cost of hydro-module 200 кPa (20m) | 60 000 | 65 000 | 65 000 | 65 000 | 65 000 | 85 000 |
| Cost of hydro-module 400 кPa (40m) | 65 000 | 95 000 | 95 000 | 95 000 | 95 000 | 95 000 |
| Cost of option Б | 11 700 | 11 700 | 12 850 | 12 850 | 21 050 | 25 000 |
| Cost of option Г | 4 000 | 4 000 | 4 000 | 4 000 | 4 000 | 4 000 |
| Cost of option Т | 1 300 | 1 300 | 1 650 | 1 650 | 1 950 | 2 500 |

Cooling capacity is given under conditions  Tinlet of water= +12С,  Toutlet of water= +7С.

* - Transcript of abbreviation of pumping sation and an example of its choosing you can see on page 63

* - Transcript of abbreviation of hydro-module and an example of its choosing you can see on page 65

| Model of a chiller | ЧМС-12х2/ ЧБС-12х2/ ЧВС-12х2 | ЧМС-12х3/ ЧБС-12х3/ ЧВС-12х3 | ЧМС-12х4/ ЧБС-12х4/ ЧВС-12х4 | ЧМС-12х5/ ЧБС-12х5/ ЧВС-12х5 | ЧМС-12х6/ ЧБС-12х6/ ЧВС-12х6 |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity Qо, kW at Tконд =45°С, T0 =2°C | 66,2 | 99,3 | 132,4 | 165,5 | 198,6 |
| Refrigerant mark | R22 | R22 | R22 | R22 | R22 |
| Unit model | АССК-2хSM147 | АССК-3хSM147 | АССК-4хSM147 | АССК-5хSM147 | АССК-6хSM147 |
| Evaporator model | SCE 70 | SCE 110 | SCE 70 (2 шт) | SCE110+SCE70 | SCE 110 (2 шт) |
| Quantity of compressors | 2 | 3 | 4 | 5 | 6 |
| A number of power levels | 2 | 3 | 4 | 5 | 6 |
| A number of cicuits | 1 | 1 | 2 | 2 | 2 |
| Nominally acceptable water discharge, m3/hour | 12 | 17 | 23 | 29 | 34 |
| Pressure los on evaporator, no more than кPa | 40 | 40 | 40 | 40 | 40 |
| Pumpimg station model 200 кPa (20m) | НС 15-200 | НС 15-200 | НС 30-200 | НС 30-200 | НС 30-200 |
| Pumping station model 400 кPa (40m) | НС 15-400 | НС 15-400 | НС 30-400 | НС 30-400 | НС 30-400 |
| Hydro-module model 200 кPa | ГМ 100/15-200 | ГМ 100/15-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/30-200 |
| Hydro-module model 400 кPa | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/30-400 |
| Operating chiller power consumption(compressor+ fans), kW | 15,02+ 0,96 | 22,53+ 1,28 | 30,04+ 1,98 | 37,55+2,64 | 37,55+2,64 |
| Pumping station or hydro-module power consumption for 200 кPa | 1,5 | 1,5 | 6,0 | 6,0 | 6,0 |
| Pumping station or hydro-module power consumption for 400 кPa | 4,0 | 4,0 | 16,0 | 16,0 | 16,0 |
| Cost of a chiller without pumping station or hydro-module, rub. | 600 000 | 850 000 | 1 100 000 | 1 350 000 | 1 500 000 |
| Cost of pumping station 200 кPa (20m) | 50 000 | 50 000 | 75 000 | 75 000 | 75 000 |
| Cost of pumping station 400 кPa (40m) | 60 000 | 60 000 | 100 000 | 100 000 | 100 000 |
| Cost of hydro-module 200 кPa (20m) | 85 000 | 85 000 | 130 000 | 130 000 | 130 000 |
| Cost of hydro-module 400 кPa (40m) | 99 000 | 99 000 | 160 000 | 160 000 | 160 000 |
| Cost of option Б | 40 000 | 70 000 | 100 000 | 100 000 | 100 000 |
| Cost of option Г | 8 000 | 12 000 | 16 000 | 20 000 | 24 000 |
| Cost of option Т | 4 000 | 6 000 | 8 000 | 10 000 | 10 000 |

Cooling capacity is given under conditions  Tinlet of water= +12С,  Toutlet of water= +7С.

* - Transcript of abbreviation of pumping sation and an example of its choosing you can see on page 63

* - Transcript of abbreviation of hydro-module and an example of its choosing you can see on page 65

2.3 Chillers (liquid coolers) with oiston compressors

Unit components:

- Piston compressor Bitzer.

- Evaporator

- Air cooling condenser

- Liquid line (filter-drier, sight glass, electromagnetic valve, expansion valve).

- Suction line (filter-cleaner, shut-off valve).

- Thermal insulated liquid separator

- Dust-and-wet-proof wiring box.

- Documentation.

Additional options:

Б – Condensation pressure control (pressure controller,

differential and return valve)

К – Capacity controller

Г – Additional crankcase heater

Д – Oil separator

З – Cylinder head fan

| Model of a chiller | ЧМП5/ ЧБП5/ ЧВП5 | ЧМП6/ ЧБП6/ ЧВП6 | ЧМП7/ ЧБП7/ ЧВП7 | ЧМП9/ ЧБП9/ ЧВП9 | ЧМП10/ ЧБП10/ ЧВП10 | ЧМП12/ ЧБП12/ ЧВП12 | ЧМП15/ ЧБП15/ ЧВП15 | ЧМП20/ ЧБП20/ ЧВП20 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling capacity Q0, kW (at T0= -10°C) | 8,36 | 10,32 | 12,58 | 15,22 | 16,82 | 20,3 | 24,2 | 28,0 |
| Cooling capacity Q0, kW (at T0= +2°C) | 13,9 | 17,1 | 20,8 | 25,0 | 27,2 | 32,8 | 39,2 | 45,4 |
| Unit model | АСП-4FС5 | АСП-4EС6 | АСП-4DC7 | АСП-4CC9 | АСП-4VC10 | АСП-4TC12 | АСП-4PC15 | АСП-4NC20 |
| Evaporator model | SCE 15 | SCE 23 | SCE 23 | SCE 35 | SCE 35 | SCE 35 | SCE 23 (2шт) | SCE 23 (2шт) |
| A number of compressors | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| A number of power levels | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| A number of cicuits | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 |
| Nominally acceptable water discharge, m3/hour | 2,5 | 3,0 | 3,6 | 4,3 | 4,7 | 5,6 | 6,7 | 7,8 |
| Pressure loss on evaporator, no more than кPa | 40 | 40 | 40 | 40 | 40 | 40 | 80 | 80 |
| Pumping station model 200 кPa (20m) | НС 15-100 | НС 15-100 | НС 15-100 | НС 15-100 | НС 15-200 | НС 15-200 | НС 15-200 | НС 15-200 |
| Pumping station model 400 кPa (40m) | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 |
| Hydro-module model 200 кPa | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 100/15-200 | ГМ 100/15-200 | ГМ 100/15-200 | ГМ 100/15-200 |
| Hydro-module model 400 кPa | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 |
| Cost of a chiller without pumping station or hydro-module, rub. | 216 000 | 259 200 | 280 800 | 313 200 | 356 400 | 410 400 | 464 400 | 507 600 |
| Cost of pumping station 200 кPa (20m) | 40 000 | 40 000 | 40 000 | 40 000 | 50 000 | 50 000 | 50 000 | 50 000 |
| Cost of pumping station 400 кPa (40m) | 60 000 | 60 000 | 60 000 | 60 000 | 60 000 | 60 000 | 60 000 | 60 000 |
| Cost of hydro-module 200 кPa (20m) | 65 000 | 65 000 | 65 000 | 65 000 | 85 000 | 85 000 | 85 000 | 85 000 |
| Cost of hydro-module 400 кPa (40m) | 95 000 | 95 000 | 95 000 | 95 000 | 95 000 | 95 000 | 95 000 | 95 000 |
| Cost of option Б | 11 664 | 11 988 | 11 988 | 21 762 | 21 762 | 21 762 | 21 762 | 41 688 |
| Cost of option К | 27 000 | 27 000 | 27 000 | 27 000 | 27 000 | 27 000 | 27 000 | 27 000 |
| Cost of option Г | 2 484 | 2 484 | 2 484 | 2 484 | 2 484 | 2 484 | 2 484 | 2 484 |
| Cost of option Д | 8 208 | 8 208 | 8 208 | 9 450 | 9 450 | 9 774 | 9 774 | 10 422 |
| Cost of option З | 18 900 | 18 900 | 18 900 | 18 900 | 18 900 | 18 900 | 18 900 | 18 900 |

Qо – cooling capacity is given under the following conditions with R 22:

- condensation temperature Tконд.  = +45°С;

| Model of a chiller | ЧМП25/ ЧБП25/ ЧВП25 | ЧМП30/ ЧБП30/ ЧВП30 | ЧМП33/ ЧБП33/ ЧВП33 | ЧМП35/ ЧБП35/ ЧВП35 | ЧМП40/ ЧБП40/ ЧВП40 | ЧМП50/ ЧБП50/ ЧВП50 | ЧМП10х2/ ЧБП10х2/ ЧВП10х2 | ЧМП12х2/ ЧБП12х2/ ЧВП12х2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling capacity Q0, kW (at T0= -10°C) | 36,1 | 41,5 | 47,0 | 54,3 | 62,2 | 73,9 | 33,64 | 40,6 |
| Cooling capacity Q0, kW (at T0= +2°C) | 58,4 | 67,0 | 76,1 | 87,7 | 100,5 | 118,7 | 54,4 | 65,6 |
| Unit model | АСП-4Н25 | АСП-4G30 | АСП-6J33 | АСП-6H35 | АСП-6G40 | АСП-6F50 | АСП–2х4VC10 | АСП–2х4TC12 |
| Evaporator model | SCE 60 | SCE 70 | SCE 90 | SCE 90 | SCE 110 | SCE 125 | SCE 60 | SCE 70 |
| A number of compressors | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 |
| A number of power levels | 1 | 1 | 1 | 1 | 1 | 1 | 2 | 2 |
| A number of cicuits | 1 | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| Nominally acceptable water discharge, m3/hour | 10 | 12 | 13 | 15 | 18 | 21 | 10 | 12 |
| Pressure loss on evaporator, no more than кPa | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 |
| Pumping station model 200 кPa (20m) | НС 15-200 | НС 15-200 | НС 15-200 | НС 15-200 | НС 15-200 | НС 30-200 | НС 15-200 | НС 15-200 |
| Pumping station model 400 кPa (40m) | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 | НС 30-400 | НС 15-400 | НС 15-400 |
| Hydro-module model 200 кPa | ГМ 100/15-200 | ГМ 100/15-200 | ГМ 100/15-200 | ГМ 100/15-200 | ГМ 100/15-200 | ГМ 300/30-200 | ГМ 100/15-200 | ГМ 100/15-200 |
| Hydro-module model 400 кPa | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 300/30-400 | ГМ 100/15-400 | ГМ 100/15-400 |
| Cost of a chiller without pumping station or hydro-module, rub. | 648 000 | 734 400 | 842 400 | 874 800 | 961 200 | 1 080 000 | 712 800 | 777 600 |
| Cost of pumping station 200 кPa (20m) | 50 000 | 50 000 | 50 000 | 50 000 | 50 000 | 75 000 | 50 000 | 50 000 |
| Cost of pumping station 400 кPa (40m) | 60 000 | 60 000 | 60 000 | 60 000 | 60 000 | 100 000 | 60 000 | 60 000 |
| Cost of hydro-module 200 кPa (20m) | 85 000 | 85 000 | 85 000 | 85 000 | 85 000 | 130 000 | 85 000 | 85 000 |
| Cost of hydro-module 400 кPa (40m) | 95 000 | 95 000 | 95 000 | 95 000 | 95 000 | 160 000 | 95 000 | 95 000 |
| Cost of option Б | 41 688 | 41 688 | 42 282 | 42 282 | 78 624 | 78 624 | 42 606 | 42 606 |
| Cost of option К | 27 000 | 27 000 | 54 000 | 54 000 | 54 000 | 54 000 | 54 000 | 54 000 |
| Cost of option Г | 2 484 | 2 484 | 2 484 | 2 484 | 2 484 | 2 484 | 5 022 | 5 022 |
| Cost of option Д | 10 422 | 10 422 | 17 658 | 17 658 | 17 334 | 17 334 | 10 692 | 10 692 |
| Cost of option З | 18 900 | 18 900 | 18 900 | 18 900 | 18 900 | 18 900 | 37 800 | 37 800 |

Qо – cooling capacity is given under the following conditions with R 22:

- condensation temperature Tконд.  = +45°С;

| Model of a chiller | ЧМП15х2/ ЧБП15х2/ ЧВП15х2 | ЧМП20х2/ ЧБП20х2/ ЧВП20х2 | ЧМП25х2/ ЧБП25х2/ ЧВП25х2 | ЧМП30х2/ ЧБП30х2/ ЧВП30х2 | ЧМП33х2/ ЧБП33х2/ ЧВП33х2 | ЧМП35х2/ ЧБП35х2/ ЧВП35х2 | ЧМП40х2/ ЧБП40х2/ ЧВП40х2 | ЧМП50х2/ ЧБП50х2/ ЧВП50х2 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling capacity Q0, kW (at T0= -10°C) | 48,4 | 56,0 | 72,2 | 83,0 | 94,0 | 108,6 | 124,4 | 147,8 |
| Cooling capacity Q0, kW (at T0= +2°C) | 78,4 | 90,8 | 116,8 | 134,0 | 152,2 | 175,4 | 201,0 | 237,4 |
| Unit model | АСП–2х4PC15 | АСП–2х4NC20 | АСП–2х4H25 | АСП–2х4G30 | АСП–2х6J33 | АСП–2х6H35 | АСП–2х6G40 | АСП–2х6F50 |
| Evaporator model | SCE 90 | SCE 110 | SCE 125 | SCE 70 (2шт) | SCE 90 (2шт) | SCE 90 (2шт) | SCE 110 (2шт) | SCE 125 (2шт) |
| A number of compressors | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |
| A number of power levels | 2 | 2 | 2 | 2 | 2 | 2 | 2 | 2 |
| A number of cicuits | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 2 |
| Nominally acceptable water discharge, m3/hour | 14 | 16 | 20 | 23 | 26 | 30 | 35 | 41 |
| Pressure loss on evaporator, no more than кPa | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 |
| Pumping station model 200 кPa (20m) | НС 15-200 | НС 15-200 | НС 30-200 | НС 30-200 | НС 30-200 | НС 30-200 | НС 30-200 | НС 45-200 |
| Pumping station model 400 кPa (40m) | НС 15-400 | НС 15-400 | НС 30-400 | НС 30-400 | НС 30-400 | НС 30-400 | НС 30-400 | НС 45-400 |
| Hydro-module model 200 кPa | ГМ 100/15-200 | ГМ 100/15-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/45-200 |
| Hydro-module model 400 кPa | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/45-400 |
| Cost of a chiller without pumping station or hydro-module, rub. | 885 600 | 982 800 | 1 220 400 | 1 382 400 | 1 609 200 | 1 706 400 | 1 836 000 | 2 084 400 |
| Cost of pumping station 200 кPa (20m) | 50 000 | 50 000 | 75 000 | 75 000 | 75 000 | 75 000 | 75 000 | 100 000 |
| Cost of pumping station 400 кPa (40m) | 60 000 | 60 000 | 100 000 | 100 000 | 100 000 | 100 000 | 100 000 | 140 000 |
| Cost of hydro-module 200 кPa (20m) | 85 000 | 85 000 | 130 000 | 130 000 | 130 000 | 130 000 | 130 000 | 160 000 |
| Cost of hydro-module 400 кPa (40m) | 95 000 | 95 000 | 160 000 | 160 000 | 160 000 | 160 000 | 160 000 | 200 000 |
| Cost of option Б | 42 930 | 79 272 | 79 272 | 79 596 | 106 434 | 106 434 | 125 064 | 125 064 |
| Cost of option К | 54 000 | 54 000 | 54 000 | 54 000 | 108 000 | 108 000 | 108 000 | 108 000 |
| Cost of option Г | 5 022 | 5 022 | 5 022 | 5 022 | 5 022 | 5 022 | 5 022 | 5 022 |
| Cost of option Д | 17 982 | 17 334 | 17 334 | 17 334 | 29 970 | 29 970 | 39 474 | 39 474 |
| Cost of option З | 37 800 | 37 800 | 37 800 | 37 800 | 37 800 | 37 800 | 37 800 | 37 800 |

Qо – cooling capacity is given under the following conditions with R 22:

- condensation temperature Tконд.  = +45°С;

| Model of a chiller | ЧМП10х3/ ЧБП10х3/ ЧВП10х3 | ЧМП12х3/ ЧБП12х3/ ЧВП12х3 | ЧМП15х3/ ЧБП15х3/ ЧВП15х3 | ЧМП20х3/ ЧБП20х3/ ЧВП20х3 | ЧМП25х3/ ЧБП25х3/ ЧВП25х3 | ЧМП30х3/ ЧБП30х3/ ЧВП30х3 | ЧМП33х3/ ЧБП33х3/ ЧВП33х3 | ЧМП35х3/ ЧБП35х3/ ЧВП35х3 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling capacity Q0, kW (at T0= -10°C) | 50,46 | 60,9 | 72,6 | 84,0 | 108,3 | 124,5 | 141,0 | 162,9 |
| Cooling capacity Q0, kW (at T0= +2°C) | 81,6 | 98,4 | 117,6 | 136,2 | 175,2 | 201,1 | 228,3 | 263,1 |
| Unit model | АСП–3х4VC10 | АСП–3х4TC12 | АСП–3х4PC15 | АСП–3х4NC20 | АСП–3х4H25 | АСП–3х4G30 | АСП–3х6J33 | АСП–3х6H35 |
| Evaporator model | SCE 90 | SCE 110 | SCE 125 | SCE 70 (2шт) | SCE 90 (2шт) | SCE 110 (2шт) | SCE 125 (2шт) | SES 265 |
| A number of compressors | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |
| A number of power levels | 3 | 3 | 3 | 3 | 3 | 3 | 3 | 3 |
| A number of cicuits | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 1 |
| Nominally acceptable water discharge, m3/hour | 14 | 17 | 20 | 24 | 30 | 35 | 39 | 45 |
| Pressure loss on evaporator, no more than кPa | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 |
| Pumping station model 200 кPa (20m) | НС 15-200 | НС 15-200 | НС 30-200 | НС 30-200 | НС 30-200 | НС 30-200 | НС 45-200 | НС 45-200 |
| Pumping station model 400 кPa (40m) | НС 15-400 | НС 15-400 | НС 30-400 | НС 30-400 | НС 30-400 | НС 30-400 | НС 45-400 | НС 45-400 |
| Hydro-module model 200 кPa | ГМ 100/15-200 | ГМ 100/15-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/45-200 | ГМ 300/45-200 |
| Hydro-module model 400 кPa | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/45-400 | ГМ 300/45-400 |
| Cost of a chiller without pumping station or hydro-module, rub. | 1 026 000 | 1 112 400 | 1 252 800 | 1 414 800 | 1 857 600 | 2 030 400 | 2 311 200 | 2 473 200 |
| Cost of pumping station 200 кPa (20m) | 50 000 | 50 000 | 75 000 | 75 000 | 75 000 | 75 000 | 100 000 | 100 000 |
| Cost of pumping station 400 кPa (40m) | 60 000 | 60 000 | 100 000 | 100 000 | 100 000 | 100 000 | 140 000 | 140 000 |
| Cost of hydro-module 200 кPa (20m) | 85 000 | 85 000 | 130 000 | 130 000 | 130 000 | 130 000 | 160 000 | 160 000 |
| Cost of hydro-module 400 кPa (40m) | 95 000 | 95 000 | 160 000 | 160 000 | 160 000 | 160 000 | 200 000 | 200 000 |
| Cost of option Б | 63 936 | 63 936 | 64 422 | 118 908 | 118 908 | 119 394 | 159 678 | 159 678 |
| Cost of option К | - | - | - | - | - | - | - | - |
| Cost of option Г | 7 560 | 7 560 | 7 560 | 7 560 | 7 560 | 7 560 | 7 560 | 7 560 |
| Cost of option Д | 16 038 | 16 038 | 27 000 | 26 028 | 26 028 | 26 028 | 44 982 | 44 982 |
| Cost of option З | 56 700 | 56 700 | 56 700 | 56 700 | 56 700 | 56 700 | 56 700 | 56 700 |

Qо – cooling capacity is given under the following conditions with R 22:

- condensation temperature Tконд.  = +45°С;

| Model of a chiller | ЧМП40х3/ ЧБП40х3/ ЧВП40х3 | ЧМП50х3/ ЧБП50х3/ ЧВП50х3 | ЧМП10х4/ ЧБП10х4/ ЧВП10х4 | ЧМП12х4/ ЧБП12х4/ ЧВП12х4 | ЧМП15х4/ ЧБП15х4/ ЧВП15х4 | ЧМП20х4/ ЧБП20х4/ ЧВП20х4 | ЧМП22х4/ ЧБП22х4/ ЧВП22х4 | ЧМП25х4/ ЧБП25х4/ ЧВП25х4 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling capacity Q0, kW (at T0= -10°C) | 186.,6 | 221,7 | 67,28 | 81,2 | 96,8 | 112,0 | 125,2 | 144,4 |
| Cooling capacity Q0, kW (at T0= +2°C) | 301,5 | 356,1 | 108,8 | 131,2 | 156,8 | 181,6 | 202,8 | 233,6 |
| Unit model | АСП–3х6G40 | АСП–3х6F50 | АСП–4х4VC10 | АСП–4х4TC12 | АСП–4х4PC15 | АСП–4х4NС20 | АСП–4х4J22 | АСП–4х4H25 |
| Evaporator model | SES 320 | SES 360 | SCE 110 | SCE 70 (2шт) | SCE 90 (2шт) | SCE 110 (2шт) | SCE 110 (2шт) | SES 240 |
| A number of compressors | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 4 |
| A number of power levels | 3 | 3 | 4 | 4 | 4 | 4 | 4 | 4 |
| A number of cicuits | 1 | 1 | 1 | 2 | 2 | 2 | 2 | 1 |
| Nominally acceptable water discharge, m3/hour | 52 | 61 | 19 | 23 | 27 | 31 | 35 | 40 |
| Pressure loss on evaporator, no more than кPa | 40 | 40 | 40 | 40 | 40 | 40 | 40 | 40 |
| Pumping station model 200 кPa (20m) | НС 45-200 | НС 60-200 | НС 30-200 | НС 30-200 | НС 30-200 | НС 30-200 | НС 30-200 | НС 45-200 |
| Pumping station model 400 кPa (40m) | НС 45-400 | НС 60-400 | НС 30-400 | НС 30-400 | НС 30-400 | НС 30-400 | НС 30-400 | НС 45-400 |
| Hydro-module model 200 кPa | ГМ 300/45-200 | ГМ 500/60-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/45-200 |
| Hydro-module model 400 кPa | ГМ 300/45-400 | ГМ 500/60-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/45-400 |
| Cost of a chiller without pumping station or hydro-module, rub. | 2 667 600 | 3 088 800 | 1 371 600 | 1 501 200 | 1 652 400 | 1 911 600 | 2 278 800 | 2 430 000 |
| Cost of pumping station 200 кPa (20m) | 100 000 | 125 000 | 75 000 | 75 000 | 75 000 | 75 000 | 75 000 | 100 000 |
| Cost of pumping station 400 кPa (40m) | 140 000 | 180 000 | 100 000 | 100 000 | 100 000 | 100 000 | 100 000 | 140 000 |
| Cost of hydro-module 200 кPa (20m) | 160 000 | 195 000 | 130 000 | 130 000 | 130 000 | 130 000 | 130 000 | 160 000 |
| Cost of hydro-module 400 кPa (40m) | 200 000 | 250 000 | 160 000 | 160 000 | 160 000 | 160 000 | 160 000 | 200 000 |
| Cost of option Б | 187 596 | 187 596 | 84 024 | 84 024 | 84 618 | 84 618 | 157 626 | 157 626 |
| Cost of option К | - | - | - | - | - | - | - | - |
| Cost of option Г | 7 560 | 7 560 | 9 774 | 9 774 | 9 774 | 9 774 | 9 774 | 9 774 |
| Cost of option Д | 59 238 | 59 238 | 21 114 | 21 114 | 35 694 | 34 722 | 34 722 | 34 722 |
| Cost of option З | 56 700 | 56 700 | 75 600 | 75 600 | 75 600 | 75 600 | 75 600 | 75 600 |

Qо – cooling capacity is given under the following conditions with R 22:

- condensation temperature Tконд.  = +45°С;

| Model of a chiller | ЧМП30х4/ ЧБП30х4/ ЧВП30х4 | ЧМП33х4/ ЧБП33х4/ ЧВП33х4 | ЧМП35х4/ ЧБП35х4/ ЧВП35х4 | ЧМП40х4/ ЧБП40х4/ ЧВП40х4 | ЧМП50х4/ ЧБП50х4/ ЧВП50х4 | ЧМП40х5/ ЧБП40х5/ ЧВП40х5 | ЧМП50х5/ ЧБП50х5/ ЧВП50х5 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling capacity Q0, kW (at T0= -10°C) | 166,0 | 188,0 | 217,2 | 248,8 | 295,6 | 311,0 | 369,5 |
| Cooling capacity Q0, kW (at T0= +2°C) | 268,0 | 304,4 | 350,8 | 402,0 | 474,8 | 502,5 | 593,5 |
| Unit model | АСП–4х4G30 | АСП–4х6J33 | АСП–4х6H35 | АСП–4х6G40 | АСП–4х6F50 | АСП–5х6G40 | АСП–5х6F50 |
| Evaporator model | SES 290 | SES 320 | SES 360 | SES 420 | SES 520 | SES 520 | SES 320 (2шт) |
| A number of compressors | 4 | 4 | 4 | 4 | 4 | 5 | 5 |
| A number of power levels | 4 | 4 | 4 | 4 | 4 | 5 | 5 |
| A number of cicuits | 1 | 1 | 1 | 1 | 1 | 1 | 2 |
| Nominally acceptable water discharge, m3/hour | 46 | 52 | 60 | 69 | 81 | 86 | 101 |
| Pressure loss on evaporator, no more than кPa | 40 | 40 | 40 | 40 | 40 | 40 | 40 |
| Pumping station model 200 кPa (20m) | НС 45-200 | НС 45-200 | НС 60-200 | НС 60-200 | НС 75-200 | НС 75-200 | НС 90-200 |
| Pumping station model 400 кPa (40m) | НС 45-400 | НС 45-400 | НС 60-400 | НС 60-400 | НС 75-400 | НС 75-400 | НС 90-400 |
| Hydro-module model 200 кPa | ГМ 300/45-200 | ГМ 300/45-200 | ГМ 500/60-200 | ГМ 500/60-200 | ГМ 500/75-200 | ГМ 500/75-200 | ГМ 500/90-200 |
| Hydro-module model 400 кPa | ГМ 300/45-400 | ГМ 300/45-400 | ГМ 500/60-400 | ГМ 500/60-400 | ГМ 500/75-400 | ГМ 500/75-400 | ГМ 500/90-400 |
| Cost of a chiller without pumping station or hydro-module, rub. | 2 678 400 | 3 024 000 | 3 229 200 | 3 477 600 | 3 985 200 | 4 158 000 | 4 957 200 |
| Cost of pumping station 200 кPa (20m) | 100 000 | 100 000 | 125 000 | 125 000 | 150 000 | 150 000 | 175 000 |
| Cost of pumping station 400 кPa (40m) | 140 000 | 140 000 | 180 000 | 180 000 | 220 000 | 220 000 | 260 000 |
| Cost of hydro-module 200 кPa (20m) | 160 000 | 160 000 | 195 000 | 195 000 | 220 000 | 220 000 | 250 000 |
| Cost of hydro-module 400 кPa (40m) | 200 000 | 200 000 | 250 000 | 250 000 | 290 000 | 290 000 | 340 000 |
| Cost of option Б | 157 626 | 211 950 | 211 950 | 249 210 | 249 210 | 311 742 | 311 742 |
| Cost of option К | - | - | - | - | - | - | - |
| Cost of option Г | 9 774 | 10 098 | 10 098 | 10 098 | 10 098 | 12 636 | 12 636 |
| Cost of option Д | 34 722 | 59 994 | 59 994 | 78 948 | 78 948 | 98 712 | 98 712 |
| Cost of option З | 75 600 | 75 600 | 75 600 | 75 600 | 75 600 | 94 500 | 94 500 |

Qо – cooling capacity is given under the following conditions with R 22:

- condensation temperature Tконд.  = +45°С;

* - The manufacturer preserves the right to use in production of chillers heat exchangers of any Euorpean brands.

2.4 Chillers (liquid coolers) with screw compressors

Unit components:

- Compact screw compressor Bitzer.

- Shell-and-tube or coaxial evaporator

- Liquid receiver

- Condensing remote unit

- Compressor capacity controller 25-50-75-100%.

- Liquid line (filter-drier, sight glass, electromagnetic valve, shut-off valve, pressure switch)

- Suction line (filter-cleaner, shut-off valve, pressure switch).

- Thermal insulated liquid separator

- Oil level sensor

- Dust-and-wet-proof wiring box.

- Documentation.

Additional options:

Б – Condensation pressure controller (pressure controller, differeantial and return valve)

Э – Electronic expansion valve

| Model of a chiller | ЧМВ50/ ЧБВ50/ ЧВВ50 | ЧМВ60/ ЧБВ60/ ЧВВ60 | ЧМВ70/ ЧБВ70/ ЧВВ70 | ЧМВ80/ ЧБВ80/ ЧВВ80 | ЧМВ90/ ЧБВ90/ ЧВВ90 | ЧМВ110/ ЧБВ110/ ЧВВ110 | ЧМВ125/ ЧБВ125/ ЧВВ125 |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Cooling capacity (Q0) T0 =+2°C, Tконд. = +45°С, kW | 124 | 152 | 186 | 212 | 239 | 308 | 346 |
| Unit model | АСВ-CSH6551 | АСВ-CSH6561 | АСВ-CSH7551 | АСВ-CSH7561 | АСВ-CSH7571 | АСВ-CSH8551 | АСВ-CSH8561 |
| Evaporator model | SCE 125 | SCE 90 (2шт) | SCE 90 (2шт) | SCE 110 (2шт) | SCE 125 (2шт) | SES 320 | SES 360 |
| A number of compressors | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| A number of power levels | 1 | 1 | 1 | 1 | 1 | 1 | 1 |
| A number of cicuits | 1 | 2 | 2 | 2 | 2 | 1 | 1 |
| Nominally acceptable water discharge, m3/hour | 22 | 26 | 32 | 37 | 41 | 53 | 59 |
| Pressure loss on evaporator, no more than кPa | 40 | 40 | 40 | 40 | 40 | 40 | 40 |
| Pumping sation model 200 кPa (20m) | НС 30-200 | НС 15-200 (2шт) | НС 15-200 (2шт) | НС 30-200 (2шт) | НС 30-200 (2шт) | НС 60-200 | НС 60-200 |
| Pumping station model 400 кPa (40m) | НС 30-400 | НС 15-400 (2шт) | НС 15-400 (2шт) | НС 30-400 (2шт) | НС 30-400 (2шт) | НС 60-400 | НС 60-400 |
| Hydro-module model 200 кPa | ГМ 300/30-200 | ГМ 100/15-200 (2шт) | ГМ 100/15-200 (2шт) | ГМ 300/30-200 (2шт) | ГМ 300/30-200 (2шт) | ГМ 500/60-200 | ГМ 500/60-200 |
| Hydro-module model 400 кPa | ГМ 300/30-400 | ГМ 100/15-400 (2шт) | ГМ 100/15-400 (2шт) | ГМ 300/30-400 (2шт) | ГМ 300/30-400 (2шт) | ГМ 500/60-400 | ГМ 500/60-400 |
| Cost of a chiller without pumping station or hydro-module, rub. | 1 404 000 | 1 512 000 | 1 728 000 | 1 836 000 | 2 052 000 | 2 376 000 | 2 592 000 |
| Cost of pumping station 200 кPa (20m) | 75 000 | 100 000 | 100 000 | 150 000 | 150 000 | 125 000 | 125 000 |
| Cost of pumping station 400 кPa (40m) | 100 000 | 120 000 | 120 000 | 200 000 | 200 000 | 180 000 | 180 000 |
| Cost of hydro-module 200 кPa (20m) | 130 000 | 170 000 | 170 000 | 260 000 | 260 000 | 195 000 | 195 000 |
| Cost of hydro-module 400 кPa (40m) | 160 000 | 190 000 | 190 000 | 320 000 | 320 000 | 250 000 | 250 000 |
| Cost of option Б | 113 076 | 113 076 | 113 076 | 113 076 | 145 314 | 145 314 | 145 314 |
| Cost of option Э | 108 000 | 108 000 | 108 000 | 108 000 | 108 000 | 108 000 | 108 000 |
| Dimensions (length) mm | 2250 | 2250 | 2600 | 2600 | 2600 | 2600 | 3900 |
| Dimensions (width) mm | 1300 | 1300 | 2250 | 2250 | 2250 | 2250 | 2250 |
| Dimensions (height) mm | 2296 | 2296 | 2296 | 2296 | 2296 | 2296 | 2296 |

Qо – cooling capacity under the folowing conditions with R 22:

- condensation temperature Tконд.  = +45°С;

- boiling tempreature T0 =+2°C.

* - Maximum hydraulic resistance of the water at the site of water consumption should not exceed by :

НС200 – 150 кPa (15 meters of water column),

НС400 – 350кPa (35 meters of water column).

** Dimensions of the module are indicated without condensing unit.

Qо – cooling capacity under the folowing conditions with R 22:

- condensation temperature Tконд.  = +45°С;

- boiling tempreature T0 =+2°C.

* - Maximum hydraulic resistance of the water at the site of water consumption should not exceed by :

НС200 – 150 кPa (15 meters of water column),

НС400 – 350кPa (35 meters of water column).

** Dimensions of the module are indicated without condensing unit.

3. Heat pumps / chillers

ТН Б В - 20

An amount of horse powers

В — air

Г — soil

Ж – liquid (water)

Б – biblock (double blocks)

М – monoblock (one block)

ТН – heat pump

Components of heat pump:

1 – compressros,

2 – condenser

(located on the same frame outside)

3 – evaporator,

4 - hydro-module (located inside the space )

Heat pumps usage

The use of a heat pump (HP) is a fundamentally new solution of problems of heat supply with the ability to work with a reverse cycle of refrigerant in an air conditioning mode. Heat pumps are extremely economical, for example, with a 1 kW of electricity consumed, depending on the mode and operation conditions they produce up to 5.3 kW of heat energy! These amazing results are possible by obtaining heating energy from nature: earth, water, air, and only 20-30% of the resulting heat energy, we need to spend on the compressor, for ir simply to pump the heat energy from the air, earth or water into a heated house, pool etc.

According to the forecast of world energy committee by 2020 the use of heat pumps for heating and hot water supply will consist 75%.

Heat pumps can be used everywhere, it will find food everywhere, for land and air are found and at the abandoned site, even away from the gas lines and power lines. Even the absence of 2-3 kW of electrical power is not an obstacle, as for the compressor operation, you can use diesel or gasoline engine. HP will not leave no traces near, because it does not burn any fuel and produces no harmful emissions. The heat pump is always concerned about your health and the health of residents of the house, he is a completely environmentally friendly machine.

The heat pump has a long service life before overhaul (10-15 years) and works completely offline. When the heat pump is running to heat, besides of  fan coil you can use water underfloor heating, as if they were made for each other, because the low-temperature heat (up to +59 ° C) does not burn oxygen, does not take place in the section of the battery, has even heating throughout the area, corresponds to and is recommended for all medical requirements.

When choosing a heat pump, as well as any other source of heat, it should be remembered that one of the most important factors is the insulation of your home, because heating the street is a thankless task. On average, for 10 m2 room 1 kW of thermal output of any source of heat (heat pump, gas boiler, water heater, etc.) is taken. In the air conditioning system for the same 10 m2 you are also to lay the same 1 kW of cooling capacity of air-conditioning, but additional heat sources (electric loads and people) that are in-house give off extra warmth. Therefore, when choosing the unit it is better to take it with the stock of the performance (15% -25%), besides, chiller or heat pump will quickly attain the desired temperature, and a temperature sensor will switch off the unit to rest, thus the cycle of compressor running (on and off) will be easier, which in its turn will extend the life of the machine, without spending herewith more power!

Types of heat pumps

There are two categories of heat pumps - geothermal (type of liquid / water "ТНМЖ" and soil / water "TНМГ") and aerotermalnye (a type of air / water "TНБВ"). The most widespread usage is that of ТН, which use air as heat (TНБВ). The only drawback of TНБВ (air / water) is its poor performance at low temperatures outside. So for example, when the outdoor temperature is 0 ° C, we can at 1 kW of power to get up to 5 kW of heat, and when the temperature outside is -35 ° C, we obtain the ratio of 1:1, i.e. for 1 kW of electricity we get 1 kW of heat, as well as from conventional heaters. Fortunately, these cold days do not take more than 20% and there is no need to pay extra money, buying an oversized heat pump. For such "critical" days in the heat pump TНБВ (air / water) there is a special option "П". This option represents an additional electric heater, which consists of three electric heaters of 4 kW each (total capacity of 12 kW). TН with this option is considered to be bivalent, i.e. when the air temperature outside drops, TНБВ can not get the right heat from air and the microprocessor includes additional electric heaters controlling the inlet and outlet water and ambient temperature and monitoring a number of operation hours of each heater. It is possible to mount one or up to several additional electric heaters (option П) to heat pumps of any discharge. TНБВ is made as a bi-block, which consists of two blocks. The outdoor unit is on the street right next to the house, on which motor-compressor, the condenser, the hydraulic part of the unit and other items are located on the same frame. The indoor unit is in the house (in technical floor etc.). In the indoor unit there is an insulated coaxial heat exchanger, which is connected during installation of the heat pump by copper-plated pipe to valves of the blocks (Picture 7), as in domestic split systems. TНМЖ and TНМГ are made as a single unit (monoblock). It is installed in the house. On the same frame there are: motor-compressor and two heat-insulated heat exchangers (refrigerant / water), where the refrigerant (circulating through the system with the help of the compressor and expansion device) transmits the heat energy from the heat exchanger of the primary circuit, in which there is the heat source, to the heat exchanger of the second circuit, which receives this heat, and with the help of a second pump (additional option) distributes the obtained heat throughout the house.

Geothermal heat pumps of the type liquid (water) / water "TНМЖ" and soil / water "TНМГ" always have a high work coefficient, because you will find freezing temperatures neither in the ground or in the lake, well, river or creek. The technical difference of geothermal heat pump from aerothermal one is that in geothermal heat pumps the first heat exchanger takes the heat from nature through the water, and aerothermal one takes heat from air. In heat pumps TНМГ (soil / water) a prepared mixture circulates, it does not freeze at low temperatures, it does not leave precipitations in the form of salt on the walls of the heat exchanger. The main drawback of TНМГ is the high cost of construction in installation (horizontal or vertical) pipes into the ground. Along these pipelines a prepaired mixture citculates with the help of a pump  taking heat from the ground. In heat pumps TНМЖ (liquid / water) instead of prepaired mixture as in TНМГ, liquid (water) of the heat source (stream, lake, river, well, water from the well, etc.) circulates. The pump takes the necessary amount of water, driving it through a heat exchanger it takes the heat and an already chilled water drains back into the reservoir downstream. In this type of heat pump the main drawback is the deposition of sediments in the form of salt on the walls of the evaporator, because the water that we take from the heat source has a variety of impurities. Consequently,  one is to use a dismountable heat exchanger (evaporator) for it to serve technically.

Heat pump - chiller (air conditioner)

In the presence of reversible refrigerant cycle, the heat pump can operate as a liquid cooler (chiller). The 4-way valve provides the possibility of reversive cycle (Picture 7). In the USA the heat pump is used by Americans in the meaning of air-conditioning. Heat pump, operating in the mode of a liquid cooler (chiller), can operate not only in air conditioning, but also in cooling of technical equipment, swimming pools, products, etc. Operating in the mode of the chiller, TН has the same high efficiency (COP) and can operate at temperatures up to +43 ° C outside, cooling water to +2 ° C it the outlet. When instead of water to use a prepaired mixture (antifreezing) as a working body, the chiller at some settings of microprocessor, temperature and pressure sensors can cool this liquid down to -20 ° C.

The principle of heat pump operation

The design of heat pumps is very similar to the principle of home fredge operation (Picture 5 and Picture 6). In both cases, in the hydraulic circuits, we see four main positions. They are: 1 - compressor, 2 - condenser, 3 - expansion device, 4 - evaporator. CFCs, which are used in both cases, do not contain chlorocarbons and they are ozone-friendly. The principle of the heat pump operation is based on the Carnot cycle, well known from school physics course. The compressor sucks the refrigerant from the evaporator, compresses it and pumps it into the condenser under the pressure. In the condenser a heated refrigerant as the result of compression gives off all the heat obtained (refrigerant temperature to 100 ° C) to the heating circuit (this is the heat that we get), the refrigerant itself herewith changes its phase state from gas to liquid. Next, in a liquid state under the pressure the refrigerant goes into the evaporator through expansion device (capillary tube or expansion valve), where due to a sharp decrease of pressure it causes evaporation (boiling) of the refrigerant and it turns into a gas phase. Refrigerant in the evaporator takes the heat from the inner walls of the evaporator and the evaporator in its turn makes the heat exchange with an external heat source (water, air, soil, etc.), giving herewith a low temperature and taking heat from nature. After heat removal the refrigerant in the evaporator having collected the required heat energy in a gaseous state is being sucked again from the evaporator to the compressor. As well as in the home refrigerator at required temperatures the thermostat (microprocessor) controls the work of the heat pump, which switches on and off the heat pump in dependance of temperature mode.

Рict.5 Domestic refrigerator

1 – compressor

2 – condenser (located outside of the refrigerator, heats up to 90°С)

3 — expansion device

4 – evaporator (located inside the refrigerator casing,    cools down to -24°С)

Рict.6 Heat pump

1 – compressor

2 – condenser

(located inside, heats up to 90°С and heats water in the heat exchanger up to 60°С)

3 – expansion device (capillary tube or expansion valve)

4 – evaporator

(located outside,

pours its cold, taking

away low potential

heat).

When a heat pump operates as a chiller (cooling) a hydraulic circuit is being complemented with an automatic four-way valve, which in its turn changes the direction of the refrigerant (reverse cycle). The condenser herewith works as an evaporator cooling water, which in its turn cools the premises through the fan coils (the fan coil is similar to the indoor unit of a split system). Evaporator functions as a condenser, giving away the heat from the room to the street. In heat pumps scroll motor-compressors of two manufacturers are  used: up to 8th models including the compressors Copeland USA, from 10th models compressors Danfoss Denmark. These compressors have the highest reliability and the highest COP!

Coaxial evaporator Sporlan has a different design solution and it is different from plate and shell and tube evaporators. The difference is in the configuration of the heat exchanger, which even when in air-conditioning mode inexperienced mechanics remove all the protections (in pressure, temperature and water flow), to "unfreeze" the evaporator, the refrigerant of the hydraulics of the refrigerant will not be damaged and HP will not require the complete replacement. All units and components of HP are also made and installed by leading manufacturers.

Fan of air heat exchanger with the help of variator has a smooth speed control, providing meanwhile an accurate temperature and pressure in the heat exchanger.

GC of "Leader" reserves the right to change technical solutions and constructions without notice to the consumer, which will not affect the deterioration of the product quality. Installation of a heat pump / air conditioner is to be made by a qualified personnel.

3.1 Heat pumps/chillers bi-block air  ТНБВ

Components of heat pump/chiller air/water:

- Unit with scroll compressors Copeland или Danfoss

- Coaxial heat exchanger

- Low and high pressure manometer

- High and low pressure gauge

- Thermal klikson

- Air heat exchanger

- Fans of heat exchanger

- Sigth glass (humidity indicator)

- Receiver

- Liquid separator

- Filter

- electrical heater to heat compressor

- Expansion valve Danfoss

- Spider-distributor

- Blowing and suction collector (in multi-compressor models)

- 4-way valve (to 8th model including, from 10th model as an option)

- Oil separator (to 8th model including)

- Fan speed variator (to 8th model including)

- Return valve 5 pcs (to 8th model including)

- Liquid and gas shut-off valves (to 8th model including)

- Condensation pressure controller (controller, diff.valve, return valve)

- Additional crankcase heater

- Temperature controller (microprocessor) compressor heaters, condenser and pipelines

- Winter start indicator and thermal insulation

- Wiring box

- Flow switch

- Documentation

Additional options:

П – Additional electrical heater with micro-compressor

| Heat pump model air/water | ТНБВ-2 | ТНБВ-3 | ТНБВ-4 | ТНБВ-5 | ТНБВ-6 | ТНБВ-12 |
| --- | --- | --- | --- | --- | --- | --- |
| Heating capacity , kW * | 6,3 | 9,5 | 13 | 15 | 19 | 35 |
| Cooling capacity, Qо, kW** | 5,7 | 8,5 | 11,3 | 14,4 | 17,1 | 33,1 |
| Refrigerant | R404 | R404 | R404 | R404 | R404 | R22 |
| Unit model | АССК-ZB15 | АССК-ZB21 | АССК-ZB30 | АССК-ZB38 | АССК-ZB45 | АССК-SM147 |
| Heat exchanger model | SCE 08 | SCE 15 | SCE 15 | SCE 15 | SCE 23 | SCE 35 |
| A number of compressors | 1 | 1 | 1 | 1 | 1 | 1 |
| A number of power levels | 1 | 1 | 1 | 1 | 1 | 1 |
| A numbber of circuits | 1 | 1 | 1 | 1 | 1 | 1 |
| Nominally acceptable water discharge, m3/hour | 1,0 | 1,5 | 2,0 | 2,5 | 3,0 | 5,7 |
| Pressure loss in evaporator, no more than kPa | 40 | 40 | 40 | 40 | 40 | 40 |
| Pumping station model 200 kPa (20m) | НС 3-50 | НС 15-100 | НС 15-100 | НС 15-100 | НС 15-100 | НС 15-200 |
| Pumping station model 400 kPa (40m) | НС 15-100 | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 |
| Hydro-module model 200 кPa | ГМ 50/3-50 | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 100/15-200 |
| Hydro-module model 400 кPa | ГМ 50/15-100 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 |
| Electric power of heat pump, кW (compressor+ fans) *** | 1,17+0,16 | 1,75+0,16 | 2,35+0,16 | 2,94+0,33 | 3,32+0,33 | 6,28+0,36 |
| Cost of heat pump without pumping station or hydro-module, rub. | 140 000 | 150 000 | 170 000 | 180 000 | 220 000 | 360 000 |
| Cost of option П, rub. (per 1pc) | 30 000 | 30 000 | 30 000 | 30 000 | 30 000 | 30 000 |
| Cost of pumping station 200 кPa (20m) | 35 000 | 40 000 | 40 000 | 40 000 | 40 000 | 50 000 |
| Cost of pumping station 400 кPa (40m) | 40 000 | 60 000 | 60 000 | 60 000 | 60 000 | 60 000 |
| Cost of hydro-module 200 кPa (20m) | 60 000 | 65 000 | 65 000 | 65 000 | 65 000 | 85 000 |
| Cost of hydro-module 400 кPa (40m) | 65 000 | 95 000 | 95 000 | 95 000 | 95 000 | 95 000 |

* - Heating capacity is given under conditions  Tincoming water = 15°С, Toutcoming water = 40/45°C

** - Cooling capacity Tcondensation =45°С, T0 =2°C

*** - Electrical power of HP is given under conditions of motor/compressor и air fans operating 100% out of own capacity under Tcondensation=30°С, Tboiling=0°С

Expendables (pipe, cable, insulation) are not included into the cost.

| Model of a heat pump air/water | ТНБВ-24 | ТНБВ-36 | ТНБВ-48 | ТНБВ-60 | ТНБВ-72 |
| --- | --- | --- | --- | --- | --- |
| Heating capacity, кW * | 70 | 109 | 140 | 180 | 218 |
| Cooling capacity, Qо, кW ** | 66,2 | 99,3 | 132,4 | 165,5 | 198,6 |
| Refrigerant | R22 | R22 | R22 | R22 | R22 |
| Unit model | АССК-2хSM147 | АССК-3хSM147 | АССК-4хSM147 | АССК-5хSM147 | АССК-6хSM147 |
| Heat exchanger model | SCE 70 | SCE 110 | SCE 70 (2 шт) | SCE110+SCE70 | SCE 110 (2 шт) |
| A number of compressors | 2 | 3 | 4 | 5 | 6 |
| A number of power stages | 2 | 3 | 4 | 5 | 6 |
| A number of cicuits | 1 | 1 | 2 | 2 | 2 |
| Nominally acceptable water flow, m3/hour | 12 | 17 | 23 | 29 | 34 |
| Pressure loss in evaporator, no more than кPа | 40 | 40 | 40 | 40 | 40 |
| Pumping station model 200 кPа (20m) | НС 15-200 | НС 15-200 | НС 30-200 | НС 30-200 | НС 30-200 |
| Pumping station model 400 кPа (40m) | НС 15-400 | НС 15-400 | НС 30-400 | НС 30-400 | НС 30-400 |
| Hydro-module model 200 кPа | ГМ 100/15-200 | ГМ 100/15-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/30-200 |
| Hydo-module model 400 кPа | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/30-400 |
| Electrical power of a heat pump, кW (compressor+ fans) *** | 12,56+ 0,96 | 18,84+ 1,28 | 25,12+1,98 | 31,40+2,64 | 37,68+2,64 |
| Cost of heat pump without pumping station or hydro-module, rub. | 660 000 | 940 000 | 1 230 000 | 1 480 000 | 1 630 000 |
| Cost of option П, rub. (per 1 pc)* | 30 000 | 30 000 | 30 000 | 30 000 | 30 000 |
| Cost of pumping station 200 кPа (20m) | 50 000 | 50 000 | 75 000 | 75 000 | 75 000 |
| Cost of pumping station 400 кPа (40m) | 60 000 | 60 000 | 100 000 | 100 000 | 100 000 |
| Cost of hydro-module 200 кPа (20m) | 85 000 | 85 000 | 130 000 | 130 000 | 130 000 |
| Cost of hydro-module 400 кPа (40m) | 95 000 | 95 000 | 160 000 | 160 000 | 160 000 |

* - Heating capacity is given under conditions Tincoming water = 15°С, Toutcoming water = 40/45°C

** - Cooling capacity Tcondensation =45°С, T0 =2°C

*** - Electrical power of HP is given under conditions of motor/compressor и air fans operating 100% out of own capacity under Tcondensation=30°С, Tboiling=0°С

Expendables (pipe, cable, insulation) are not included into the cost.

3.2 Heat pumps/chillers monoblock soil ТНМГ

Components of heat pump/chiller soil/water:

- Unit on scroll compressors Copeland or Danfoss

- Coaxial heat exchanger  (2 pcs)

- Low and high pressure manometer

- High and low pressure gauge

- Thermal klikson

- Sight glass (humidity indicator)

- Receiver

- Liquid separator

- Filter

- Expansion valve Danfoss

- Spider-distributor

- Blowing and suction collector (in multi-compressors models)

- 4-way valve (up to 8th model including, from 10th model as an option)

- Return valve 5 pcs (to 8th model including)

- Flow switch

- Wiring box

- Documentation

Additional options:

П – Additional electrical heater with micro-processor.

| Heat pump model soil/water | ТНМГ-2 | ТНМГ-3 | ТНМГ-4 | ТНМГ-5 | ТНМГ-6 | ТНМГ-12 |
| --- | --- | --- | --- | --- | --- | --- |
| Heating capacity, кW * | 6,3 | 9,5 | 13 | 15 | 19 | 35 |
| Cooling capacity, Qо, кW ** | 5,7 | 8,5 | 11,3 | 14,4 | 17,1 | 33,1 |
| Refrigerant | R404 | R404 | R404 | R404 | R404 | R22 |
| Unit model | АССК-ZB15 | АССК-ZB21 | АССК-ZB30 | АССК-ZB38 | АССК-ZB45 | АССК-SM147 |
| Heat exchanger model | SCE 08 (2шт) | SCE 15 (2шт) | SCE 15 (2шт) | SCE 15 (2шт) | SCE 23 (2шт) | SCE 35 (2шт) |
| A number of compressors | 1 | 1 | 1 | 1 | 1 | 1 |
| A number of power stages | 1 | 1 | 1 | 1 | 1 | 1 |
| A number of circuits | 1 | 1 | 1 | 1 | 1 | 1 |
| Nominally acceptable water flow, m3/hour | 1,0 | 1,5 | 2,0 | 2,5 | 3,0 | 5,7 |
| Pressure loss in evaporator, no more than кPа | 40 | 40 | 40 | 40 | 40 | 40 |
| Pumping station model 200 кPа (20m) | НС 3-50 | НС 15-100 | НС 15-100 | НС 15-100 | НС 15-100 | НС 15-200 |
| Pumping station model 400 кPа (40m) | НС 15-100 | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 |
| Hydro-module model 200 кPа | ГМ 50/3-50 | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 100/15-200 |
| Hydro-module model 400 кPа | ГМ 50/15-100 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 |
| Electrical power of heat pump, кW *** | 1,17 | 1,75 | 2,35 | 2,94 | 3,32 | 6,28 |
| Cost of heat pump without pumping station or hydro-module, rub. | 140 000 | 150 000 | 170 000 | 180 000 | 220 000 | 360 000 |
| Cost of option П, rub. (per 1 pc)* | 30 000 | 30 000 | 30 000 | 30 000 | 30 000 | 30 000 |
| Cost of pumping station 200 кPа (20m) | 35 000 | 40 000 | 40 000 | 40 000 | 40 000 | 50 000 |
| Cost of pumping station 400 кPа (40m) | 40 000 | 60 000 | 60 000 | 60 000 | 60 000 | 60 000 |
| Cost of hydro-module 200 кPа (20m) | 60 000 | 65 000 | 65 000 | 65 000 | 65 000 | 85 000 |
| Cost of hydro-module 400 кPа (40m) | 65 000 | 95 000 | 95 000 | 95 000 | 95 000 | 95 000 |

* - Heating capacity is given under conditions Tincoming water = 15°С, Toutcoming water = 40/45°C

** - Cooling capacity Tcondensation =45°С, T0 =2°C

*** - Electrical power of HP is given under conditions of motor/compressor и air fans operating 100% out of own capacity under Tcondensation=30°С, Tboiling=0°С

Expendables (pipe, cable, insulation) are not included into the cost.

| Heat pump model soil/water | ТНМГ-24 | ТНМГ-36 | ТНМГ-48 | ТНМГ-60 | ТНМГ-72 |
| --- | --- | --- | --- | --- | --- |
| Heating capacity, кW * | 70 | 109 | 140 | 180 | 218 |
| Cooling capacity, Qо, кW ** | 66,2 | 99,3 | 132,4 | 165,5 | 198,6 |
| Refrigerant | R22 | R22 | R22 | R22 | R22 |
| Unit model | АССК-2хSM147 | АССК-3хSM147 | АССК-4хSM147 | АССК-5хSM147 | АССК-6хSM147 |
| Heat exchanger model | SCE 70 (2шт) | SCE 110 (2шт) | SCE 70 (2 шт) | SCE110+ SCE70 | SCE 110 (2 шт) |
| A number of compressors | 2 | 3 | 4 | 5 | 6 |
| A number of power stages | 2 | 3 | 4 | 5 | 6 |
| A number of circuits | 1 | 1 | 2 | 2 | 2 |
| Nominally acceptable water flow, m3/hour | 12 | 17 | 23 | 29 | 34 |
| Pressure loss in evaporator, no more than кPа | 40 | 40 | 40 | 40 | 40 |
| Pumping station model 200 кPа (20m) | НС 15-200 | НС 15-200 | НС 30-200 | НС 30-200 | НС 30-200 |
| Pumping station model 400 кPа (40m) | НС 15-400 | НС 15-400 | НС 30-400 | НС 30-400 | НС 30-400 |
| Hydro-module model 200 кPа | ГМ 100/15-200 | ГМ 100/15-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/30-200 |
| Hydro-module model 400 кPа | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/30-400 |
| Electric power of heat pump, кW *** | 12,56 | 18,84 | 25,12 | 31,40 | 37,68 |
| Cost of heat pump without pumping station or hydro-module, rub. | 660 000 | 940 000 | 1 230 000 | 1 480 000 | 1 630 000 |
| Cost of option П, rub. (per 1 pc)* | 30 000 | 30 000 | 30 000 | 30 000 | 30 000 |
| Cost of pumping station 200 кPа (20m) | 50 000 | 50 000 | 75 000 | 75 000 | 75 000 |
| Cost of pumping station 400 кPа (40m) | 60 000 | 60 000 | 100 000 | 100 000 | 100 000 |
| Cost of hydro-module 200 кPа (20m) | 85 000 | 85 000 | 130 000 | 130 000 | 130 000 |
| Cost of hydro-module 400 кPа (40m) | 95 000 | 95 000 | 160 000 | 160 000 | 160 000 |

* - Heating capacity is given under conditions Tincoming water = 15°С, Toutcoming water = 40/45°C

** - Cooling capacity Tcondensation =45°С, T0 =2°C

*** - Electrical power of HP is given under conditions of motor/compressor и air fans operating 100% out of own capacity under Tcondensation=30°С, Tboiling=0°С

Expendables (pipe, cable, insulation) are not included into the cost.

3.3 Heat pumps/chillers monoblock liquid (water) ТНМЖ

Components of heat pump liquid (water)/water:

- Unit with scroll compressors Copeland or Danfoss

- Coaxial heat exchanger

- Low and high pressure manometer

- High and low pressure gauge

- Thermal klikson

- Sight glass (humidity indicator)

- Receiver

- Liquid separator

- Filter

- Expansion valve Danfoss

- Spider-distributor

- Blowing and suction collector (in multi-compressors models)

- 4-way valve (to 8th model including, from 10th model as an option)

- Return valve (to 8th model including)

- Flow switch

- Wiring box

- Documentation

Additional options:

П – Additional electrical heater with microprocessor.

| Heat pump model liquid(water)/water | ТНМЖ-2 | ТНМЖ-3 | ТНМЖ-4 | ТНМЖ-5 | ТНМЖ-6 | ТНМЖ-12 |
| --- | --- | --- | --- | --- | --- | --- |
| Heating capacity, кW * | 6,3 | 9,5 | 13 | 15 | 19 | 35 |
| Cooling capacity, Qо, кW ** | 5,7 | 8,5 | 11,3 | 14,4 | 17,1 | 33,1 |
| Refrigerant | R404 | R404 | R404 | R404 | R404 | R22 |
| Unit model | АССК-ZB15 | АССК-ZB21 | АССК-ZB30 | АССК-ZB38 | АССК-ZB45 | АССК-SM147 |
| Heat exchanger model | SCE 08 (2шт) | SCE 15 (2шт) | SCE 15 (2шт) | SCE 15 (2шт) | SCE 23 (2шт) | SCE 35 (2шт) |
| A number of compressors | 1 | 1 | 1 | 1 | 1 | 1 |
| A number of power stages | 1 | 1 | 1 | 1 | 1 | 1 |
| A number of circuits | 1 | 1 | 1 | 1 | 1 | 1 |
| Nominally acceptable water flow, m3/hour | 1,0 | 1,5 | 2,0 | 2,5 | 3,0 | 5,7 |
| Pressure loss in evaporator, no more than кPа | 40 | 40 | 40 | 40 | 40 | 40 |
| Pumping station model 200 кPа (20m) | НС 3-50 | НС 15-100 | НС 15-100 | НС 15-100 | НС 15-100 | НС 15-200 |
| Pumping station model 400 кPа (40m) | НС 15-100 | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 | НС 15-400 |
| Hydro-module model 200 кPа | ГМ 50/3-50 | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 50/15-100 | ГМ 100/15-200 |
| Hydro-module model 400 кPа | ГМ 50/15-100 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 100/15-400 |
| Electric power of heat pump, кW *** | 1,17 | 1,75 | 2,35 | 2,94 | 3,32 | 6,28 |
| Cost of heat pumpwithout pumping station or hydro-module, rub. | 160 000 | 170 000 | 190 000 | 200 000 | 250 000 | 390 000 |
| Cost of option П, rub. (per 1 pc)* | 30 000 | 30 000 | 30 000 | 30 000 | 30 000 | 30 000 |
| Cost of pumping station 200 кPа (20m) | 35 000 | 40 000 | 40 000 | 40 000 | 40 000 | 50 000 |
| Cost of pumping station 400 кPа (40m) | 40 000 | 60 000 | 60 000 | 60 000 | 60 000 | 60 000 |
| Cost of hydro-module 200 кPа (20m) | 60 000 | 65 000 | 65 000 | 65 000 | 65 000 | 85 000 |
| Cost of hydro-module 400 кPа (40m) | 65 000 | 95 000 | 95 000 | 95 000 | 95 000 | 95 000 |

* - Heating capacity is given under conditions Tincoming wtaer = 15°С, Toutcoming water = 40/45°C

** - Cooling capacity Tcondensation =45°С, T0 =2°C

*** - Electrical power of HP is given under conditions of motor/compressor и air fans operating 100% out of own capacity under  Tcondensation=30°С, Tboiling=0°С

Expendables (pipe, cable, insulation) are not included into the cost.

| Heat pump model liquid(water)/water | ТНМЖ-24 | ТНМЖ-36 | ТНМЖ-48 | ТНМЖ-60 | ТНМЖ-72 |
| --- | --- | --- | --- | --- | --- |
| Heating capacity, кW * | 70 | 109 | 140 | 180 | 218 |
| Cooling capacity, Qо, кW ** | 66,2 | 99,3 | 132,4 | 165,5 | 198,6 |
| Refrigerant | R22 | R22 | R22 | R22 | R22 |
| Unit model | АССК-2хSM147 | АССК-3хSM147 | АССК-4хSM147 | АССК-5хSM147 | АССК-6хSM147 |
| Heat exchange model | SCE 70 (2шт) | SCE 110 (2шт) | SCE 70 (2 шт) | SCE110+SCE70 | SCE 110 (2 шт) |
| A number of compressors | 2 | 3 | 4 | 5 | 6 |
| A number of power stages | 2 | 3 | 4 | 5 | 6 |
| A number of circuits | 1 | 1 | 2 | 2 | 2 |
| Nominally acceptable water flow, m3/hour | 12 | 17 | 23 | 29 | 34 |
| Pressure loss in evaporator, no more than кPа | 40 | 40 | 40 | 40 | 40 |
| Pumping station model 200 кPа (20m) | НС 15-200 | НС 15-200 | НС 30-200 | НС 30-200 | НС 30-200 |
| Pumping station model 400 кPа (40m) | НС 15-400 | НС 15-400 | НС 30-400 | НС 30-400 | НС 30-400 |
| Hydro-module model 200 кPа | ГМ 100/15-200 | ГМ 100/15-200 | ГМ 300/30-200 | ГМ 300/30-200 | ГМ 300/30-200 |
| Hydro-module model 400 кPа | ГМ 100/15-400 | ГМ 100/15-400 | ГМ 300/30-400 | ГМ 300/30-400 | ГМ 300/30-400 |
| Electric power of heat pump, кW *** | 12,56 | 18,84 | 25,12 | 31,40 | 37,68 |
| Cost of heat pump without pumping station or hydro-module, rub. | 730 000 | 1 040 000 | 1 370 000 | 1 650 000 | 1 830 000 |
| Cost of option П, rub. (зper 1 pc)* | 30 000 | 30 000 | 30 000 | 30 000 | 30 000 |
| Cost of pumping station 200 кPа (20m) | 50 000 | 50 000 | 75 000 | 75 000 | 75 000 |
| Cost of pumping station 400 кPа (40m) | 60 000 | 60 000 | 100 000 | 100 000 | 100 000 |
| Cost of hydro-module 200 кPа (20m) | 85 000 | 85 000 | 130 000 | 130 000 | 130 000 |
| Cost of hydro-module 400 кPа (40m) | 95 000 | 95 000 | 160 000 | 160 000 | 160 000 |

* - Heating capacity is given under conditions Tincoming water = 15°С, Toutcoming water = 40/45°C

** - Cooling capacity Tконд =45°С, T0 =2°C

*** - Electrical power of HP is given under conditions of motor/compressor и air fans operating 100% out of own capacity under Tcondensation=30°С, Tboiling=0°С

Expendables (pipe, cable, insulation) are not included into the cost.

4. Pumping stations

Components of pumping station:

- Pump (-s)

- Valves

- Flow switch

- Filter

- Manometer

- Dust-and-wet-proof wiring box

- Documentation.

Example of choosing pumping station:

Suppose, you need a 75 kW chiller. In this case we need the model ЧМС 10x3, it is possible to choose a pumping station НС 15-200 or HC 15-400 for it. The first figure 15 means  water flow in cubes per hour, the second figure 200 or 400 indicates at what resistance (20 meters or 40 meters) the pump  pumps 15 m3 of water per hour. According to the table we see that the hydraulic losses from the evaporator of the chiller is 40 kPa (4 meters of water column), this means that in the first case we can raise the maximum water or add hydraulic resistance (200 - 40) = 160 kPa (16 meters) in the second case (400 - 40) = 360 kPa (36 meters). In the absence of hydraulic resistance of water or less water resistance in your consumers, the amount of water pumped will be increased, which is allowed when operating chiller with a pumping station. However, do not take the pump stations with a large margin, since the  electric power of the first station is 1.5 kW and that of the second one is 4 kW, and the amount of water flow will be  approximately equal in both of them.

| Model | Pump model Pedrollo (Itally) | Pump power, кW | Capacity, m3/h | Pressure, кPа | Max. capaci ty, m3/h | Max. pressure, кPа | Diameter inlet/out let, inch | Price, rub. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| НС 3-50 | RS 25/8 | 0,165 | 3 | 50 | 6,6 | 80 | 2х2 | 56 000 |
| НС 15-100 | HF 5B | 0,75 | 13 | 100 | 30 | 137 | 2х2 | 64 000 |
| НС 15-200 | HF 5AM | 1,5 | 15 | 200 | 36 | 220 | 2х2 | 80 000 |
| НС 15-400 | F 32/200AH | 4,0 | 15 | 400 | 27 | 440 | 2х1.25 | 84 000 |
| НС 30-100 | HF 5B (2 шт) | 1,5 | 25 | 100 | 60 | 137 | 2х2 | 77 000 |
| НС 30-200 | HF 5AM (2 шт) | 3,0 | 30 | 200 | 72 | 220 | 2х2 | 105 000 |
| НС 30-400 | F 32/200AH (2 шт) | 8,0 | 30 | 400 | 54 | 440 | 2х1.25 | 130 000 |
| НС 45-100 | HF 5B (3 шт) | 2,25 | 40 | 100 | 90 | 137 | 2х2 | 87 500 |
| НС 45-200 | HF 5AM (3 шт) | 4,5 | 45 | 200 | 108 | 220 | 2х2 | 125 000 |
| НС 45-400 | F 32/200AH (3 шт) | 12,0 | 45 | 400 | 81 | 440 | 2х1.25 | 175 000 |
| НС 60-100 | HF 5B (4 шт) | 3,0 | 50 | 100 | 120 | 137 | 2х2 | 102 000 |
| НС 60-200 | HF 5AM (4 шт) | 6,0 | 60 | 200 | 144 | 220 | 2х2 | 145 000 |
| НС 60-400 | F 32/200AH (4 шт) | 16,0 | 60 | 400 | 108 | 440 | 2х1.25 | 180 000 |

* - Installation of the similar pump with the same features is possible.

The diagram of pumps operation Pedrollo is shown on pages 150-152.

5. Hydro-module

Components of hydro-module:

- Pump (-s)

- Insulated tank

- Valves

- Flow switch

- Filter

- Manometer

- Dust-and-wet-proof wiring box

- Documentation

Example of choosing pumping station:

Suppose, you need a 75 kW chiller. In this case we need the model ЧМС 10x3, it is possible to choose a pumping station НС 15-200 or HC 15-400 for it. The first figure 15 means  water flow in cubes per hour, the second figure 200 or 400 indicates at what resistance (20 meters or 40 meters) the pump  pumps 15 m3 of water per hour. According to the table we see that the hydraulic losses from the evaporator of the chiller is 40 kPa (4 meters of water column), this means that in the first case we can raise the maximum water or add hydraulic resistance (200 - 40) = 160 kPa (16 meters) in the second case (400 - 40) = 360 kPa (36 meters). In the absence of hydraulic resistance of water or less water resistance in your consumers, the amount of water pumped will be increased, which is allowed when operating chiller with a pumping station. However, do not take the pump stations with a large margin, since the  electric power of the first station is 1.5 kW and that of the second one is 4 kW, and the amount of water flow will be  approximately equal in both of them.

Hydro-module differs from pumping station with the insulated tank.

| Model | Pump power, кW per quantity | Chiller capacity, кW* | Volume of accumulating tank, l | Price, rub.** |
| --- | --- | --- | --- | --- |
| ГМ 50/3-50 | 0,165 | до 10 кВт | 50 | 96 000 |
| ГМ 50/15-100 | 0,75 | до 80 кВт | 50 | 104 000 |
| ГМ 100/15-200 | 1,5 | до 80 кВт | 100 | 130 000 |
| ГМ 100/15-400 | 4,0 | до 80 кВт | 100 | 133 000 |
| ГМ 100/30-100 | 0,75х2 | до 160 кВт | 100 | 126 000 |
| ГМ 300/30-200 | 1,5х2 | до 160 кВт | 300 | 182 000 |
| ГМ 300/30-400 | 4х2 | до 160 кВт | 300 | 208 000 |
| ГМ 300/45-100 | 0,75х3 | до 250 кВт | 300 | 156 000 |
| ГМ 300/45-200 | 1,5х3 | до 250 кВт | 300 | 200 000 |
| ГМ 300/45-400 | 4х3 | до 250 кВт | 300 | 252 000 |
| ГМ 300/60-100 | 0,75х4 | до 350 кВт | 300 | 168 000 |
| ГМ 500/60-200 | 1,5х4 | до 350 кВт | 500 | 234 000 |
| ГМ 500/60-400 | 4х4 | до 350 кВт | 500 | 300 000 |

* - The choice of hydro-module under conditions:

- cooling liquid – water;

- ∆Tводы  = 5°С.

- Qо – cooling capacity of chiller under the following conditions with  R 22:

- condensation temperature Tcondensation.  = +45°С;

- boiling temperature T0 =+2°C.

** - Cost of hydro-module with other pump features is given on demand.

Schematic diagram of hydro-module

6. Film evaporators Buco

| Evaporator mark | Evaporator capacity, кW | Capacity on water, m3/h | Water temperature in inlet, С | Water temperature in outlet, С | Price, rub. |
| --- | --- | --- | --- | --- | --- |
| BWP 100 | 100 | 19 | 5 | 0,5 | 1 029 996 |
| BWP 200 | 200 | 38 | 5 | 0,5 | 1 429 488 |
| BWP 300 | 300 | 57 | 5 | 0,5 | 2 511 216 |
| BWP 400 | 400 | 76 | 5 | 0,5 | 3 004 398 |
| BWP 500 | 500 | 95 | 5 | 0,5 | 3 677 940 |

The cost of film evaporators depends on the rated parameters and can differ from those in the table.

Film evaporators can also be made a set with extra options (tank, pump, wiring box, cooler).

7. Ice accumulators

7.1 Ice accumulators

Components of ice accumulator:

- Insulated tank with corrosion-resistant coating

- Water mixing system

- Expansion valve

- Valving

- Evaporator section

- Ice thickness measuring sensor

- Alarm system

| Ice accumulator mark | ЛА-1000 | ЛА-2000 | ЛА-3000 | ЛА-4000 | ЛА-5000 |
| --- | --- | --- | --- | --- | --- |
| Ice mass (thickness 3 сm), кg (ice bulk, m3) | 855.5 (0.933) | 1711 (1.866) | 2566.5 (2.799) | 3422 (3.732) | 4277.5 (4.655) |
| Ice mass (thickness 4 сm), кg (ice bulk, m3) | 1413 (1.541) | 2826 (3.082) | 4239 (4.623) | 5652 (6.164) | 7056 (7.705) |
| Ice accumulating ability (thickness 3 сm), кW | 79.1 | 158.3 | 237.4 | 316.5 | 395.7 |
| Ice accumulating ability (thickness 4 сm), кW | 130.7 | 261.4 | 392.1 | 522.8 | 652.7 |
| Sizes (LхWхH), mm | 860х 2300х 1900 | 1650х 2300х 1900 | 2380х 2300х 1900 | 3100х 2300х 1900 | 3820х 2300х 1900 |
| Water volume, m3 | 2.32 | 4.56 | 6.81 | 9.06 | 11.3 |
| Tank volume, m3 | 2.4 | 4.7 | 7.05 | 9.38 | 11.7 |
| Evaporator surface, m2 | 8.9 | 17.8 | 26.7 | 35.6 | 44.45 |
| A number of sections, pc | 1 | 2 | 3 | 4 | 5 |
| A number of rows, pc | 8 | 16 | 24 | 32 | 40 |
| Total length of pipes, m | 236 | 472 | 708 | 944 | 1180 |
| Inner volume of pipes, l | 20.4 | 40.8 | 61.2 | 81.6 | 102 |
| Cost*, rub. (copper/ferrous metal) | 280 000 | 475 000 | 650 000 | 825 000 | 1 000 000 |
| Cost*, rub. (stainless steel/stainless steel) | 500 000 | 795 000 | 1 102 500 | 1 410 000 | 1 730 000 |

| Ice accumulator mark | ЛА-6000 | ЛА-7000 | ЛА-8000 | ЛА-9000 | ЛА-10000 |
| --- | --- | --- | --- | --- | --- |
| Ice mass (thickness 3 сm), кg (ice bulk, m3) | 5133 (5.598) | 5988 (6.531) | 6844 (7.464) | 7699.5 (8.397) | 8555 (9.330) |
| Ice mass (thickness 4 сm), кg (ice bulk, m3) | 8478 (9.246) | 9891 (10.787) | 11304 (13.328) | 12717 (13.869) | 14130 (15.410) |
| Ice accumulating ability (thickness 3 сm), кW | 474.8 | 553.9 | 633.1 | 712.2 | 791.3 |
| Ice accumulating ability (thickness 4 сm), кW | 784.2 | 914.9 | 1045.6 | 1176.3 | 1307.0 |
| Sizes (LхWхH), mm | 4550х 2300х 1900 | 5270х 2300х 1900 | 6000х 2300х 1900 | 6730х 2300х 1900 | 7480х 2300х 1900 |
| Water volume, m3 | 13.54 | 15.78 | 18.02 | 20.26 | 22.5 |
| Tank volume, m3 | 14.06 | 16.35 | 18.68 | 21 | 23.32 |
| Evaporator surface, m2 | 53.34 | 62.23 | 71.12 | 80.01 | 88.9 |
| A number of sections, pc | 6 | 7 | 8 | 9 | 10 |
| A number of rows, pc | 48 | 56 | 64 | 72 | 80 |
| Total length of pipes, m | 1416 | 1652 | 1888 | 2124 | 2360 |
| Inner volume of pipes, l | 122.4 | 142.8 | 163.2 | 183.6 | 204 |
| Cost*, rub. (copper/ferrous metal) | 1 175 000 | 1 350 000 | 1 525 000 | 1 700 000 | 1 875 000 |
| Cost*, rub. (stainless steel/stainless steel) | 2 050 000 | 2 357 500 | 2 665 000 | 2 972 500 | 3 280 000 |

* -  without cost of refrigeration unit.

7.2 Evaporator sections

| Evaporator section mark | Accumulating ability | Heat exchange surface, m2 | A number of sections, pc |
| --- | --- | --- | --- |
|  | Ice thickness 3 сm, кg of ice | Ice thickness 4 сm, кg of ice | кW (3 сm of ice) | кW (4 сm of ice) |  |  |
| ИС-1000 | 855,5 | 1413 | 79,1 | 130,7 | 8,9 | 1 |
| ИС-2000 | 1711 | 2826 | 158,3 | 261,4 | 17,8 | 2 |
| ИС-3000 | 2566,5 | 4239 | 237,4 | 392,1 | 26,7 | 3 |
| ИС-4000 | 3422 | 5672 | 316,5 | 522,8 | 35,6 | 4 |
| ИС-5000 | 4277,5 | 7056 | 395,7 | 652,7 | 44,5 | 5 |
| ИС-6000 | 5133 | 8478 | 474,8 | 784,2 | 53,3 | 6 |
| ИС-7000 | 5988 | 9891 | 553,9 | 914,9 | 62,2 | 7 |
| ИС-8000 | 6844 | 11304 | 633,1 | 1045,6 | 71,1 | 8 |
| ИС-9000 | 7699,5 | 12717 | 712,2 | 1176,3 | 80,0 | 9 |
| ИС-10000 | 8555 | 14130 | 791,3 | 1307,0 | 88,9 | 10 |

| Evaporator section mark | A number of rows, pc | Total length of pipes, m | Inner volume, l | Sizes of a section (LхWхH), mm | Cost of copper evaporator section, rub | Cost of stainless steel evaporator section, rub. |
| --- | --- | --- | --- | --- | --- | --- |
| ИС-1000 | 8 | 236 | 20,4 | 670х2030х1560 | 125 000 | 250 000 |
| ИС-2000 | 16 | 472 | 40,8 | 1400х2030х1560 | 250 000 | 500 000 |
| ИС-3000 | 24 | 708 | 61,2 | 2130х2030х1560 | 375 000 | 750 000 |
| ИС-4000 | 32 | 944 | 81,6 | 2850х2030х1560 | 500 000 | 1 000 000 |
| ИС-5000 | 40 | 1180 | 102 | 3580х2030х1560 | 625 000 | 1 250 000 |
| ИС-6000 | 48 | 1416 | 122,4 | 4310х2030х1560 | 750 000 | 1 500 000 |
| ИС-7000 | 56 | 1652 | 142,8 | 5040х2030х1560 | 875 000 | 1 750 000 |
| ИС-8000 | 64 | 1888 | 163,2 | 5760х2030х1560 | 1 000 000 | 2 000 000 |
| ИС-9000 | 72 | 2124 | 183,6 | 6490х2030х1560 | 1 125 000 | 2 250 000 |
| ИС-10000 | 80 | 2360 | 204 | 7220х2030х1560 | 1 250 000 | 2 500 000 |

7.3 Accumulating insulated capacitors

| Tank mark | Tank sizes (LхWхH), mm | Water volume, m3 | Cost of tank out of ferrous metal, rub. | Cost of tank out of stainless steel, rub. |
| --- | --- | --- | --- | --- |
| ЕА-1 | 860х2300х1900 | 2,3 | 130 000 | 225 000 |
| ЕА-2 | 1650х2300х1900 | 4,6 | 180 000 | 250 000 |
| ЕА-3 | 2380х2300х1900 | 6,8 | 210 000 | 287 500 |
| ЕА-4 | 3100х2300х1900 | 9,1 | 240 000 | 325 000 |
| ЕА-5 | 3820х2300х1900 | 11,3 | 270 000 | 375 000 |
| ЕА-6 | 4550х2300х1900 | 13,5 | 300 000 | 425 000 |
| ЕА-7 | 5270х2300х1900 | 15,8 | 330 000 | 462 500 |
| ЕА-8 | 6000х2300х1900 | 18,0 | 360 000 | 500 000 |
| ЕА-9 | 6730х2300х1900 | 20,3 | 390 000 | 537 500 |
| ЕА-10 | 7480х2300х1900 | 22,5 | 420 000 | 575 000 |

Production of tanks with other sizes on demand is possible.

8. Heat recovering units

Heat recovering units produced by GC "Leader" are designed to transfer thermal energy of compressed gas of refrigeration unit to heat transfer agent (water, ethylene glycol, etc.) and then using it for different needs: floor heating of low-temperature chambers, room heating, cleaning of production lines, utility needs etc.

Heat recovering units make it possible to get the temperature of the heat rtansfer agent at the outlet to +80  C, and to use up to 50% of heat energy of refrigeration unit which is generally utilized by condensers.

The payback period of the heat recovering unit is less than three years!

Components of heat recovering unit:

- Before-condenser (shell-and-tube heat exchanger)

- Pump

- Hydro-tank

- Valving

- Control valve with temperature sensor

- Flow switch

- Wiring box

- Documentation

Rough calculation of heat recovering unit:

When using the heat recovering unit in case of water consumption during 6 hours a day, energy savings (in case if to get heat electric power is used) for the year will be:

485кW  6hour/day  360day = 1 047 600кW, which in terms of money is:

1 047 600кW  2,5 rub/кW = 2 619 000 rub.

In case of using water during 12 hours a day savings will amount to more than 5 000 000 rub.

Thus, the payback period of heat recovering unit is maximum one year! In case of getting the heat from the gas boiler the cost of one kW of energy is much lower, but still, even in this case, the payback period is less than three years!

To get detailed information on the heat recovering units, to choose and to calculate the cost of a unit you can contact the office of GC "Leader".

9. Compressors

9.1 Scroll compressors Copeland

Scroll compressors with R404A

| Model | Capacity , W -15/+40°C | Power consumption, кW | Motor power, l. s. | Voltage, V | Volumetric efficiency m3/h | Price, rub. | Crankcase heating (option), rub. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| ZB21 | 4550 | 2,24 | 3 | 380 | 8.6 | 30 747 | 675 |
| ZB26 | 5250 | 2,63 | 3.5 | 380 | 9.9 | 35 175 | 675 |
| ZB29 | 6160 | 3,0 | 4 | 380 | 11.4 | 36 630 | 675 |
| ZB30 | 6200 | 3,0 | 4 | 380 | 11.68 | 37 700 | 675 |
| ZB38 | 7700 | 3,76 | 5 | 380 | 14.5 | 37 740 | 675 |
| ZB45 | 9050 | 4,31 | 6 | 380 | 17.2 | 43 956 | 675 |
| ZB48 | 9969 | 4,65 | 7 | 380 | 18.8 | 57 165 | 675 |

Compressor are equipped with integral fitting in the compressor housing to equalize oil that makes it possible to collect in the central  up to 6 compressors. If you require the compressor of cooling capacity more than ZB48 you can combine in the central two or more compressors.

| The table of changing 1m/compressor for the central from 2m/compressor |
| --- |
| Denomination | Capacity,W -15/+400С | Central | Capacity,W -15/+400С |
| ZB58 | 11 700 | ZB29 x 2 | 12 320 |
| ZB66 | 13 550 | ZB38+ZB29 | 13 860 |
| ZB76 | 16 100 | ZB45+ZB38 | 16 750 |
| ZB92 | 19 100 | ZB48+ZB45 | 19 019 |

In case of combining compressors (from 2 to 8) to the central, it is necessary to install an additional fitting - adapter Copeland to the built-in fitting of each compressor.

Cost of the fitting-adapter 1 900 rubles.

9.2 Hermetic scroll compressors Danfoss (series Performer)

| Model | Capacity with R22, кW 7,2/+54,4°C | Working volume, сm3 | Motor capacity, l. s. (capacity) | Volumetric efficiency, m3/h | Effiency COP (performance) | Power consumption, кW | Price, rub. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SM 084-4 | 20,4 | 114,5 | 7 | 19,92 | 3,33 | 6,12 | 55 000 |
| SM 090-4 | 21,8 | 120,5 | 7,5 | 20,97 | 3,33 | 6,54 | 53 000 |
| SM 100-4 | 23,15 | 127,2 | 8 | 22,13 | 3,33 | 6,96 | 59 000 |
| SM 110-4 | 25,9 | 144,2 | 9 | 25,09 | 3,32 | 7,82 | 68 000 |
| SM 120-4 | 30,1 | 166,6 | 10 | 28,99 | 3,36 | 8,96 | 73 000 |
| SM 125-4 | 30,1 | 166,6 | 10 | 28,99 | 3,37 | 8,93 | 82 000 |
| SM 147-4* | 36,1 | 193,5 | 12 | 33,7 | 3,57 | 10,0 | 71 000 |
| SM 160-4 | 39,1 | 216,6 | 13 | 37,69 | 3,37 | 11,6 | 97 000 |
| SM 185-4 | 45,5 | 249,9 | 15 | 43,48 | 3,34 | 13,62 | 113 000 |

* 1 — Favourable cost (due to a big amount of purchases in production),

2 — Temperature sensor of forced vapors – 500 rubles (Danfoss),

3 — Electrical crankcase heater 60 W – 600 rubles (Danfoss),

4 — Mounting kit for a multi-compressor rig – 1800 rubles (Danfoss).

9.3 Piston compressors BITZER

| Piston compressors |
| --- |
| Model | Capacity кW; R-22 | Price, rub. | Model | Capacity кW; R-22 | Price, rub. |
|  | -10/+45°C | -35/+45°C |  |  | -10/+45°C | -35/+45°C |  |
| 2KC-05.2 | 1,72 | 0,63 | 39 750 | 4TCS-8.2 | 20,8 | 7,34 | 138 142 |
| 2JC-07.2 | 2,26 | 0,83 | 40 221 | 4TCS-12.2 | 20,6 |  | 144 270 |
| 2HC-1.2 | 2,96 | 1,12 | 40 575 | 4PCS-10.2 | 24,2 | 8,51 | 150 043 |
| 2HC-2.2 | 2,97 |  | 41 478 | 4PCS-15.2 | 24,5 |  | 156 642 |
| 2GC-2.2 | 3,52 |  | 41 478 | 4NCS-12.2 | 28,4 | 9,92 | 169 172 |
| 2FC-2.2 | 4,27 | 1,69 | 43 285 | 4NCS-20.2 | 28,4 |  | 179 699 |
| 2FC-3.2 | 4,27 |  | 45 406 | 4J-13.2 | 31,5 | 10,78 | 221 059 |
| 2EC 2.2 | 5,02 | 1,98 | 61 392 | 4J-22.2 | 31,7 |  | 232 567 |
| 2EC-3.2 | 5,01 |  | 66 302 | 4H-15.2 | 36,3 | 12,49 | 221 569 |
| 2DC-2.2 | 6,0 | 2,24 | 63 906 | 4H-25.2 | 36,6 |  | 233 196 |
| 2DC-3.2 | 6,0 |  | 66 616 | 4G-20.2 | 41,7 | 14,53 | 248 946 |
| 2CC-3.2 | 7,45 | 2,75 | 66 302 | 4G-30.2 | 42,0 |  | 259 355 |
| 2CC-4.2 | 7,44 |  | 69 287 | 6J-22.2 | 47,3 | 16,17 | 273 692 |
| 4FC-3.2 | 8,46 | 3,08 | 72 115 | 6J-33.2 | 47,6 |  | 314 816 |
| 4FC-5.2 | 8,47 |  | 79 853 | 6H-25.2 | 54,6 | 18,75 | 282 137 |
| 4EC-4.2 | 10,46 | 3,89 | 73 922 | 6H-35.2 | 55,0 |  | 323 890 |
| 4EC-6.2 | 10,46 |  | 84 998 | 6G-30.2 | 62,6 | 21,8 | 323 890 |
| 4DC-5.2 | 12,74 | 4,57 | 93 365 | 6G-40.2 | 63,0 |  | 346 161 |
| 4DC-7.2 | 12,74 |  | 98 275 | 6F-40.2 | 74,4 | 26,5 | 392 980 |
| 4CC-6.2 | 15,42 | 5,04 | 102 752 | 6F-50.2 | 74,9 |  | 403 664 |
| 4CC-9.2 | 15,43 |  | 106 877 | 8GC-60.2 | 100,6 |  | 491 883 |
| 4VCS-6.2 | 17,10 | 5,97 | 134 529 | 8FC -70.2 | 106,9 |  | 534 422 |
| 4VCS-10.2 | 17,05 |  | 140 027 |  |  |  |  |

- overheating of suction gas 11 К;

- supercooling of liquid in the outlet of the unit 5 К.

9.4 Screw compressors BITZER

| Screw compressors |
| --- |
| Model | Capacity кW R22 | Price, rub. | Model | Capacity кW at 2/45°C | Price, rub. |
|  | -10/45°C | -30/45°C |  |  |  |  |
| HSK 5343-30 | 45,6 |  | 275 696 | CSH 6551-50 | 164,4 | 415 599 |
| HSN 5343-20 |  | 18,8 | 268 252 | CSH 6551-35Y | 108,7(*) | 412 385 |
| HSK 5353-35 | 53,5 |  | 275 696 | CSH 6561-60 | 191,1 | 444 239 |
| HSN 5353-25 |  | 22,8 | 268 252 | CSH 6561-40Y | 129,4(*) | 436 794 |
| HSK 5363-40 | 65,1 |  | 291 928 | CSH 7551-70 | 221 | 488 500 |
| HSN 5363-30 |  | 27,3 | 284 036 | CSH 7551-50Y | 144,5(*) | 472 268 |
| HSK 6451-50 | 75,0 |  | 403 110 | CSH 7561-80 | 190,6 | 514 373 |
| HSK 6451-40 | 45,4(*) |  | 395 340 | CSH 7561-60Y | 171,5(*) | 493 138 |
| HSN 6451-40 |  | 31,9 | 392 167 | CSH 7571-90 | 271 | 586 094 |
| HSK 6461-60 | 91,2 |  | 432 360 | CSH 7571-70Y | 181,6(*) | 561 604 |
| HSK 6461-40 | 55,0(*) |  | 421 701 | CSH 7581-80Y | 207(*) | 587 396 |
| HSN 6461-50 |  | 38,2 | 421 417 | CSH 7591-90Y | 242(*) | 614 042 |
| HSK 7451-70 | 112,2 |  | 460 877 | CSH 8551-80Y | 362(*) | 719 203 |
| HSK 7451-50 | 65,7(*) |  | 440 699 | CSH8551-110 | 237 | 732 221 |
| HSN 7451-60 |  | 46,3 | 438 991 | CSH8561-90Y | 207(*) | 760 820 |
| HSK 7461-80 | 125,2 |  | 487 361 | CSH 8561-125 | 311 | 770 502 |
| HSK 7461-60 | 75,6(*) |  | 466 979 | CSH 8571-110Y | 242(*) | 826 601 |
| HSN 7461-70 |  | 53,4 | 460 877 | CSH 8571-140 | 362 | 835 388 |
| HSK 7471-90 | 138,6 |  | 560 465 | CSH 8581-125Y | 272(*) | 848 610 |
| HSK 7471-70 | 83,4(*) |  | 537 155 | CSH 8591-140Y | 312(*) | 877 697 |
| HSN 7471-75 |  | 58,2 | 530 157 | CSH 9551-180 | 465 | 1 115 479 |
| HSN 8551-80 |  |  | 657 001 | CSH 9561-160Y | 358(*) | 1 110 190 |
| HSN 8551-110 | 168,80 |  | 688 407 | CSH 9561-210 | 539 | 1 217 832 |
| HSN 8561-90 |  |  | 697 357 | CSH 9571-180Y | 418(*) | 1 228 898 |
| HSK8561-125 | 189,8 |  | 725 549 | CSH 9571-240 | 625 | 1 316 688 |
| HSK8571-110 |  |  | 774 082 | CSH 9581-210Y | 466(*) | 1 330 723 |
| HSK8571-140 | 219 |  | 813 909 | CSH 9591-240Y | 531(*) | 1 383 812 |
| HSN8571-110 |  |  | 776 279 | CSH9591-300 | 786 | 1 340 608 |
| HSN8571-110 | 94,6 | 771 519 |  |  |  |

A set contains  essential oil

(*) - Capacity with R134

Y – A set contains essential oil, the compressor works with R404, R134

10. Unit coolers

10.1  Unit coolers Güntner

GHF 020.2D/17-ENW

Voltage W – 230V,

S – 400V

Fans standard discharge

Е–electric defrost, А– air defrost

Distance btw lamelas 4 мм, 7 мм, 10 мм, 12 мм

A number of fans 1, 2, 3, 4

Sizes of the unit С, D, E, F, H, J

Generation 1, 2

Fans diameter Ø 200 мм, 315 мм, 400 мм, 450 мм, 500 мм

650 мм, 710 мм, 800 мм

GHF — Highly efficient unit cooler

10.1.1  Distance between lamelas 7 мм

| Model | Cooling capacity at Tboil= -8 oC t=8 oC, R404a, кW | Hea t exchange surface, m2 | Air flow, m3/h | A number and diameter of fans, mm | Power of electrical heater of heat exchanger, W | Power of electrical heater of pan, W | Price, rub. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| GHF 020.2D/17 | 0,8 | 3 | 745 | 1х200 | 330 | 350 | 29 575 |
| GHF 020.2F/17 | 1,1 | 4,5 | 715 | 1х200 | 660 | 350 | 32 372 |
| GHF 031.2D/17 | 1,5 | 5,3 | 1690 | 1х315 | 470 | 500 | 43 049 |
| GHF 031.2F/17 | 2,2 | 7,9 | 1600 | 1х315 | 940 | 500 | 50 071 |
| GHF 031.2H/17 | 2,7 | 10,6 | 1555 | 1х315 | 940 | 500 | 53 611 |
| GHF 031.2D/27 | 3,1 | 10,6 | 3380 | 2х315 | 860 | 650 | 64 516 |
| GHF 040.2F/17 | 4,2 | 14,7 | 3210 | 1х400 | 1620 | 700 | 73 023 |
| GHF 031.2H/27 | 5,4 | 21,2 | 3110 | 2х315 | 1720 | 650 | 77 819 |
| GHF 031.2F/37 | 6,6 | 23,8 | 4800 | 3х315 | 2500 | 1000 | 96 432 |
| GHF 045.2H/17 | 8,4 | 30,8 | 5140 | 1х450 | 3440 | 1200 | 102 940 |
| GHF 045.2J/17 | 9,7 | 38,4 | 4970 | 1х450 | 4300 | 1200 | 112 018 |
| GHF 050.2H/17 | 10,9 | 40,3 | 6640 | 1х500 | 3750 | 1300 | 121 667 |
| GHF 050.2J/17 | 12,5 | 50,4 | 6440 | 1х500 | 4500 | 1300 | 130 460 |
| GHF 045.2H/27 | 16,8 | 61,5 | 10280 | 2х450 | 6000 | 2300 | 168 827 |
| GHF 045.2J/27 | 19,4 | 76,9 | 9940 | 2х450 | 7500 | 2300 | 180 074 |
| GHF 050.2H/27 | 21,9 | 80,6 | 13280 | 2х500 | 8750 | 2400 | 203 369 |
| GHF 050.2J/27 | 25,0 | 100,8 | 12880 | 2х500 | 10500 | 2400 | 221 467 |
| GHF 045.2J/37 | 29,0 | 115,3 | 14910 | 3х450 | 11500 | 3000 | 255 096 |
| GHF 050.2H/37 | 32,6 | 120,9 | 19920 | 3х500 | 12000 | 3200 | 293 748 |
| GHF 050.2J/37 | 37,8 | 151,2 | 19320 | 3х500 | 14400 | 3200 | 309 392 |
| GHF 050.2H/47 | 43,9 | 161,3 | 26560 | 4х500 | 17500 | 3600 | 375 279 |
| GHF 050.2J/47 | 49,4 | 201,6 | 25760 | 4х500 | 21000 | 3600 | 392 921 |

- with electric defrost

    - The main sizes of unit coolers Güntner

| Model | Sizes, mm |
| --- | --- |
|  | А | В | С |
| GHF 020.2D/17 | 613 | 326 | 362 |
| GHF 020.2F/17 | 613 | 326 | 362 |
| GHF 031.2D/17 | 743 | 430 | 497 |
| GHF 031.2F/17 | 743 | 430 | 497 |
| GHF 031.2H/17 | 743 | 430 | 497 |
| GHF 031.2D/27 | 1203 | 430 | 497 |
| GHF 040.2F/17 | 1090 | 545 | 560 |
| GHF 031.2H/27 | 1203 | 430 | 497 |
| GHF 031.2F/37 | 1663 | 430 | 497 |
| GHF 045.2H/17 | 1360 | 645 | 685 |
| GHF 045.2J/17 | 1360 | 645 | 685 |
| GHF 050.2H/17 | 1470 | 745 | 665 |
| GHF 050.2J/17 | 1470 | 745 | 665 |
| GHF 045.2H/27 | 2250 | 645 | 685 |
| GHF 045.2J/27 | 2250 | 645 | 685 |
| GHF 050.2H/27 | 2470 | 745 | 665 |
| GHF 050.2J/27 | 2470 | 745 | 665 |
| GHF 045.2J/37 | 3240 | 645 | 685 |
| GHF 050.2H/37 | 3570 | 745 | 665 |
| GHF 050.2J/37 | 3570 | 745 | 665 |
| GHF 050.2H/47 | 4570 | 745 | 665 |
| GHF 050.2J/47 | 4570 | 745 | 665 |

10.2. Unit coolers   Roller

Distance between lamelas 10 mm

| Model | Cooling capacity at Tboil= -8 oC t=8 oC, R404a, кW | Heat exchange surface, m2 | Air capacity, m3/h | Airstream range,m | A number and diameter of fans, mm | Total defrost output, W | Price, rub. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| HVST 1000 | 0,58 | 2,5 | 1300 | 7 | 1х300 | 940 | 27 738 |
| HVST 1001 | 0,88 | 3,8 | 1240 | 7 | 1х300 | 1300 | 30 493 |
| HVST 1002 | 1,24 | 4,9 | 1730 | 8 | 1х350 | 1460 | 35 116 |
| HVST 1003 | 1,7 | 6,5 | 1670 | 8 | 1х350 | 1520 | 40 624 |
| HVST 1004 | 2,27 | 7,7 | 3000 | 15 | 1х400 | 2330 | 48 837 |
| HVST 1005 | 2,73 | 10,2 | 2890 | 15 | 1х400 | 2420 | 54 493 |
| HVST 1006 | 3,67 | 14,8 | 2790 | 15 | 1х400 | 2840 | 60 690 |
| HVST 1008 | 4,34 | 14,7 | 4260 | 16 | 1х450 | 3000 | 79 428 |
| HVST 1009 | 5,22 | 20,0 | 5180 | 17 | 1х450 | 4530 | 87 937 |
| HVST 1010 | 6,77 | 24,3 | 6200 | 18 | 1х500 | 5330 | 92 510 |
| HVST 1011 | 7,54 | 28,6 | 7110 | 19 | 1х500 | 6090 | 100 822 |
| FHVIT 1061 | 8,48 | 36,8 | 6600 | 17 | 1х500 | 7680 | 133 282 |
| HVST 1012 | 9,62 | 36,8 | 10260 | 20 | 2х450 | 6930 | 144 938 |
| FHVIT 1042 | 12,69 | 49,1 | 13600 | 20 | 2х500 | 11600 | 167 709 |
| HVST 1013 | 13,6 | 51,5 | 12600 | 21 | 2х500 | 10140 | 169 529 |
| HVST 1014 | 17 | 63,0 | 14500 | 22 | 2х500 | 12160 | 184 283 |
| FHVIT 1043 | 19,04 | 73,6 | 20400 | 22 | 3х500 | 16000 | 219 940 |
| FHVIT 1063 | 24,12 | 110,4 | 19800 | 21 | 3х500 | 19200 | 255 498 |
| FHVIT 1044 | 25,39 | 98,1 | 27200 | 24 | 4х500 | 21300 | 270 154 |
| HVIST 1052 S | 26,45 | 93,5 | 21800 | 24 | 1х800 | 20400 | 326 614 |
| HVIST 1081 S | 30,81 | 128,1 | 18800 | 38 | 2х560 | 13920 | 386 714 |
| HVIST 1062 N | 36,4 | 168,3 | 21100 | 25 | 2х800 | 33720 | 456 749 |
| HVIST 1053 S | 39,68 | 141,7 | 32700 | 25 | 2х630 | 24660 | 479 225 |
| HVIST 1062 S | 45,14 | 168,3 | 31200 | 32 | 2х800 | 33720 | 488 766 |
| HVIST 1054 S | 52,9 | 189,8 | 43600 | 26 | 3х560 | 19200 | 608 474 |
| HVIST 1063 N | 54,6 | 254,6 | 31650 | 26 | 3х800 | 53040 | 678 164 |
| HVIST 1082 S | 61,63 | 261,8 | 37600 | 43 | 3х630 | 34200 | 710 230 |
| HVIST 1063 S | 67,71 | 254,6 | 46800 | 33 | 3х800 | 53040 | 729 263 |
| HVIST 1064 N | 72,8 | 340,8 | 42200 | 26 | 4х560 | 25560 | 887 677 |
| HVIST 1064 S | 90,27 | 340,8 | 62400 | 34 | 4х560 | 25560 | 955 252 |
| HVIST 1083 S | 92,44 | 395,5 | 56400 | 45 | 4х630 | 45540 | 1 022 041 |

The main sizes of unit coolers Roller

| Model | Sizes, mm |
| --- | --- |
|  | А | В | С |
| HVST 1000 | 575 | 398 | 355 |
| HVST 1001 | 575 | 398 | 355 |
| HVST 1002 | 625 | 448 | 435 |
| HVST 1003 | 625 | 448 | 435 |
| HVST 1004 | 725 | 548 | 435 |
| HVST 1005 | 725 | 548 | 435 |
| HVST 1006 | 805 | 548 | 485 |
| HVST 1008 | 855 | 660 | 560 |
| HVST 1009 | 955 | 760 | 560 |
| HVST 1010 | 1105 | 760 | 560 |
| HVST 1011 | 1255 | 760 | 560 |
| FHVIT 1061 | 1434 | 655 | 625 |
| HVST 1012 | 1755 | 660 | 560 |
| FHVIT 1042 | 2463 | 655 | 625 |
| HVST 1013 | 2055 | 760 | 560 |
| HVST 1014 | 2455 | 760 | 560 |
| FHVIT 1043 | 3492 | 655 | 625 |
| FHVIT 1063 | 3492 | 655 | 625 |
| FHVIT 1044 | 4522 | 655 | 625 |
| HVIST 1052 S | 2505 | 900 | 815 |
| HVIST 1081 S | 1875 | 1300 | 1045 |
| HVIST 1062 N | 2905 | 1000 | 915 |
| HVIST 1053 S | 3535 | 900 | 815 |
| HVIST 1062 S | 2905 | 1000 | 915 |
| HVIST 1054 S | 4565 | 900 | 815 |
| HVIST 1063 N | 4135 | 1000 | 915 |
| HVIST 1082 S | 3305 | 1300 | 1045 |
| HVIST 1063 S | 4135 | 1000 | 915 |
| HVIST 1064 N | 5365 | 1000 | 915 |
| HVIST 1064 S | 5365 | 100 | 915 |
| HVIST 1083 S | 4735 | 1300 | 1045 |

10.3 Unit coolers ECO of industrial series ICE

Distance between lamelas 12 mm

Industrial series

Distance between lamelas 12 mm

| Model | ICE41B12 | ICE42A12 | ICE51B12 | ICE42В12 | ICE43А12 |
| --- | --- | --- | --- | --- | --- |
| Nominal capacity (Tboil= -8oC, Troom= 0oC, t=8 oC кW, R404), кW | 7,0 | 11,5 | 13,5 | 14,0 | 17,3 |
| Capacity (Tboil= -8oC, Troom= 0oC, t=8 oC кW, R22), кW | 6,64 | 10,9 | 12,5 | 13,3 | 16,5 |
| Air flow, m3/h | 5100 | 10550 | 10670 | 10200 | 15760 |
| Airstream range, m | 22 | 26 | 33 | 24 | 28 |
| Distance between ribs, mm | 12 | 12 | 12 | 12 | 12 |
| Inner surface, m2 | 6,8 | 10,3 | 11,1 | 13,7 | 15,4 |
| Outer surface, m2 | 24 | 36 | 38,8 | 48 | 54 |
| Weight, кg | 64 | 113 | 94 | 122 | 160 |
| A number of fans | 1 | 2 | 1 | 2 | 3 |
| Diameter of fans, mm | 450 | 450 | 560 | 450 | 450 |
| Consumption current of fans, А | 0,81 | 1,62 | 1,8 | 1,62 | 2,43 |
| Nominal capacity of fans, W | 450 | 900 | 1000 | 900 | 1350 |
| Electric defrost, W | 5040 | 10200 | 6750 | 10200 | 15000 |
| Cost, rub. | 136 689 | 197 570 | 215 751 | 217 097 | 269 394 |

| Model | ICE43B12 | ICE52A12 | ICE52B12 | ICE44В12 | ICE52D12 |
| --- | --- | --- | --- | --- | --- |
| Nominal capacity (Tboil= -8oC, Troom= 0oC, t=8 oC кW, R404), кW | 21,0 | 22,3 | 26,3 | 29,3 | 33,6 |
| Capacity (Tboil= -8oC, Troom= 0oC, t=8 oC кW, R22), кW | 20,0 | 21,2 | 25,0 | 27,9 | 31,9 |
| Air flow, m3/h | 15300 | 21960 | 21210 | 20400 | 19330 |
| Airstream range, m | 26 | 38 | 37 | 28 | 33 |
| Distance between ribs, mm | 12 | 12 | 12 | 12 | 12 |
| Inner surface, m2 | 20,5 | 16,6 | 22,1 | 27,3 | 33,2 |
| Outer surface, m2 | 72 | 58,2 | 77,6 | 96 | 134,4 |
| Weight, кg | 173 | 155 | 178 | 220 | 227 |
| A number of fans | 3 | 2 | 2 | 4 | 2 |
| Diameter of fans, mm | 450 | 560 | 560 | 450 | 560 |
| Consumption current of fans, А | 2,43 | 3,6 | 3,6 | 3,24 | 3,6 |
| Nominal capacity of fans, W | 1350 | 2000 | 2000 | 1800 | 2000 |
| Electric defrost, W | 15000 | 16050 | 16050 | 19800 | 19260 |
| Cost, rub. | 299 133 | 308 840 | 319 951 | 375 894 | 420 447 |

Industrial series

Distance between lamelas 12 mm

| Model | ICE62А12 | ICE53В12 | ICE62B12 | ICE54А12 | ICE53D12 | ICE54В12 |
| --- | --- | --- | --- | --- | --- | --- |
| Nominal capacity (Tboil= -8oC, Troom= 0oC, t=8 oC кW, R404), кW | 34.5 | 39.7 | 41.9 | 45,0 | 49,6 | 42,9 |
| Capacity (Tboil= -8oC, Troom= 0oC, t=8 oC кW, R22), кW | 32,79 | 37,7 | 39,8 | 42,7 | 47,1 | 50,2 |
| Air flow, m3/h | 34070 | 31810 | 34070 | 43910 | 29000 | 42420 |
| Airstream range, m | 55 | 39 | 54 | 42 | 35 | 41 |
| Distance between ribs, mm | 12 | 12 | 12 | 12 | 12 | 12 |
| Inner surface, m2 | 23,2 | 33,2 | 31 | 33,2 | 49,8 | 44,2 |
| Outer surface, m2 | 82 | 116,4 | 109 | 116,4 | 174,6 | 155,2 |
| Weight, кg | 244 | 260 | 271 | 288 | 330 | 334 |
| A number of fans | 2 | 3 | 2 | 4 | 3 | 4 |
| Diameter of fans, mm | 630 | 560 | 630 | 560 | 560 | 560 |
| Consumption current of fans, А | 10 | 5,4 | 10 | 7,2 | 5,4 | 7,2 |
| Nominal capacity of fans, W | 5200 | 3000 | 5200 | 4000 | 3000 | 4000 |
| Electric defrost, W | 17640 | 24000 | 23520 | 32250 | 28800 | 32250 |
| Cost, rub. | 426 171 | 467 806 | 486 154 | 556 014 | 565 833 | 572 567 |

| Model | ICE54D12 | ICE63D12 | ICE64В12 | ICE62D12 | ICE65C12 | ICE65D12 |
| --- | --- | --- | --- | --- | --- | --- |
| Nominal capacity (Tboil= -8oC, Troom= 0oC, t=8 oC кW, R404), кW | 67,8 | 78,0 | 83,8 | 104,0 | 116,9 | 129,4 |
| Capacity (Tboil= -8oC, Troom= 0oC, t=8 oC кW, R22), кW | 64,4 | 74,1 | 79,6 | 98,8 | 111 | 123 |
| Air flow, m3/h | 38950 | 49380 | 68140 | 65840 | 83730 | 82300 |
| Airstream range, m | 38 | 54 | 57 | 55 | 58 | 56 |
| Distance between ribs, mm | 12 | 12 | 12 | 12 | 12 | 12 |
| Inner surface, m2 | 66,4 | 69,7 | 61,9 | 92,9 | 96,8 | 116,1 |
| Outer surface, m2 | 261,9 | 245 | 218 | 326 | 340 | 408 |
| Weight, кg | 423 | 508 | 539 | 676 | 763 | 840 |
| A number of fans | 4 | 3 | 4 | 4 | 5 | 5 |
| Diameter of fans, mm | 560 | 630 | 630 | 630 | 630 | 630 |
| Consumption current of fans, А | 7,2 | 15 | 20 | 20 | 25 | 25 |
| Nominal capacity of fans, W | 4000 | 7800 | 10400 | 10400 | 13000 | 13000 |
| Electric defrost, W | 38700 | 53280 | 46800 | 70200 | 72450 | 82800 |
| Cost, rub. | 690 963 | 862 722 | 916 982 | 1 151 867 | 1 237550 | 1 371 153 |

The main sizes of unit coolers ECO of series ICЕ

| ICЕ 450 | 41B12 | 42x12 | 43x12 | 44B12 |
| --- | --- | --- | --- | --- |
| Length | 1300 | 2150 | 3000 | 3850 |
| Width | 935 | 935 | 935 | 935 |
| Height | 845 | 845 | 845 | 845 |

| ICЕ 560 | 51x12 | 52x12 | 53x12 | 54x12 |
| --- | --- | --- | --- | --- |
| Length | 1550 | 2650 | 3750 | 4850 |
| Width | 1070 | 1070 | 1070 | 1070 |
| Height | 1020 | 1020 | 1020 | 1020 |

| ICЕ 630 | 62x12 | 63x12 | 64x12 | 65x12 |
| --- | --- | --- | --- | --- |
| Length | 2650 | 3750 | 4850 | 5950 |
| Width | 1070 | 1070 | 1070 | 1070 |
| Height | 1197 | 1197 | 1197 | 1197 |

10.4 Unit coolers  «LEADER»

ЛВА 302 A 6 0 E

А – air defrost

Е – electric defrost

0 – standard unit cooler

1 – with solenoid and exp. valve «Danfoss»

Distance between lamelas, mm

Heat exchanger type

A number of fans, pc

Diameter of fans, сm

А – cubic unit cooler

П – ceiling single-flow unit cooler

Д – ceiling two-lines unit cooler

Unit cooler

«Leader»

10.4.1 Unit coolers ЛВА

Distance between lamelas 6 mm

| Model | ЛВА 301А60Е ЛВА 301А61Е | ЛВА 302А60Е ЛВА 302А61Е | ЛВА 303А60Е ЛВА 303А61Е | ЛВА 304А60Е ЛВА 304А61Е | ЛВА 451А60Е ЛВА 451А61Е |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 2,0 | 4,1 | 6,2 | 8,2 | 5,7 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 1,5 | 3,0 | 4,5 | 6,0 | 4,1 |
| Distance between lamelas, mm | 6 | 6 | 6 | 6 | 6 |
| Heat exchange surface, m2 | 8 | 15 | 23 | 31 | 20 |
| A number and diameter of fans, mm | 300х1 | 300х2 | 300х3 | 300х4 | 450х1 |
| Inner volume, dm3 | 2,4 | 4,3 | 6,2 | 8,2 | 5,5 |
| Power consumption of fans, W | 96 | 96х2 | 96х3 | 96х4 | 470х1 |
| Voltage/Phase/Frequency, (V/Hz) | 220/1/50 | 220/1/50 | 220/1/50 | 220/1/50 | 380/1/50 |
| Consumption current, А | 0,44 | 0,44х2 | 0,44х3 | 0,44х4 | 2,1х1 |
| Air flow, m3/hour | 2050 | 4100 | 6150 | 8200 | 5600 |
| Flame, m | 5 | 7 | 10 | 11 | 9 |
| Electric defrost of lamelas, W | 3х440 | 3х730 | 3х1030 | 3х1310 | 4х730 |
| Electric defrost of pan, W | 440 | 730 | 1030 | 1310 | 730 |
| Total defrost output, W | 1760 | 2920 | 4120 | 5240 | 3650 |
| Sizes, mm | length | 702 | 1094 | 1486 | 1878 | 1094 |
|  | height | 495 | 495 | 495 | 495 | 635 |
|  | width | 430 | 430 | 430 | 430 | 460 |
| Weight, кg | 18 | 30 | 43 | 56 | 38 |
| Connections, mm | Øinlet | 12 | 12 | 12 | 15 | 12 |
|  | Øoutlet | 19 | 22 | 22 | 28 | 22 |
|  | drainage | 19 | 19 | 19 | 19 | 19 |
| Cost of standard model type «0», rubles | 23 330 | 36 500 | 50 298 | 63 092 | 44 152 |
| Expansion valve «Danfoss» and nozzle (number) | TES 2 (3) | TES 2 (4) | TES 2 (5) | TES 2 (6) | TES 2 (6) |
| Solenoid valve «Danfoss» | EVR 10 | EVR 10 | EVR 10 | EVR 10 | EVR 10 |
| Cost of model with solenoid and expansion valve «Danfoss» type «1», rubles | 30 675 | 43 845 | 57 643 | 70 437 | 51 497 |

Distance between lamelas 6 mm

| Model | ЛВА 452А60Е ЛВА 452А61Е | ЛВА 453А60Е ЛВА 453А61Е | ЛВА 502А60Е ЛВА 502А61Е | ЛВА 503А60Е ЛВА 503А61Е | ЛВА 504А60Е ЛВА 504А61Е |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 11,3 | 16,0 | 22,9 | 33,5 | 44,9 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 8,3 | 11,7 | 17,2 | 24,7 | 33,1 |
| Distance between lamelas, mm | 6 | 6 | 6 | 6 | 6 |
| Heat exchange surface, m2 | 41 | 61 | 119 | 180 | 244 |
| A number and diameter of fans, mm | 450х2 | 450х3 | 500х2 | 500х3 | 500х4 |
| Inner volume, dm3 | 10,5 | 15,5 | 26,1 | 39,2 | 54,0 |
| Power consumption of fans, W | 470х2 | 470х3 | 790х2 | 790х3 | 790х4 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Consumption current, А | 0,84х2 | 0,84х3 | 1,55х2 | 1,55х3 | 1.55x4 |
| Air flow, m3/hour | 11200 | 16800 | 12 600 | 19 100 | 26 000 |
| Flame, m | 11 | 13 | 18 | 20 | 22 |
| Electric defrost of lamelas, W | 4х1310 | 4х1890 | 4х2320 | 4х3200 | 6х2130 |
| Electric defrost of pan, W | 1310 | 1890 | 2х2320 | 2х3200 | 4х2130 |
| Total defrost output, W | 6550 | 9450 | 13920 | 19200 | 21 300 |
| Sizes, mm | length | 1878 | 2662 | 2463 | 3492 | 4522 |
|  | height | 635 | 635 | 655 | 655 | 655 |
|  | width | 460 | 460 | 710 | 710 | 710 |
| Weight, кg | 75 | 115 | 153 | 221 | 271 |
| Connections, mm | Øinlet | 15 | 15 | 15 | 15 | 15 |
|  | Øoutlet | 28 | 35 | 42 | 54 | 54 |
|  | drainage | 19 | 19 | 32 | 32 | 32 |
| Cost of standard model type «0», rubles | 75 509 | 106 867 | 158 795 | 242 456 | 280 587 |
| Expansion valve «Danfoss» and nozzle (number) | TES 5 (2) | TES 5 (3) | TES 5 (4) | TES 12 (5) | TES 12 (6) |
| Solenoid valve «Danfoss» | EVR 10 | EVR 15 | EVR 15 | EVR 15 | EVR 20 |
| Cost of the model with solenoid and expansion valve «Danfoss» type «1», rubles | 88 730 | 122 122 | 174 050 | 260 762 | 300 362 |

Distance between lamelas 6 mm

Diagram of cooling capacity of unit coolers ЛВА with distance between lamelas 6mm (Ø of fans 300mm or 450mm)

Diagram of cooling capacity of unit coolers ЛВА with distance between lamelas 6mm (Ø of fans 500mm)

Diagram of cooling capacity of unit coolers ЛВА with distance between lamelas 6mm (Ø of fans 550mm, 630mm, 800mm)

10.4.2 Unit coolers ЛВА

| Model | ЛВА 301А90Е ЛВА 301А91Е | ЛВА 302А90Е ЛВА 302А91Е | ЛВА 303А90Е ЛВА 303А91Е | ЛВА 304А90Е ЛВА 304А91Е | ЛВА 451А90Е ЛВА 451А91Е |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 1,7 | 3,6 | 5,3 | 7,0 | 4,9 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 1,2 | 2,5 | 3,7 | 5,0 | 3,5 |
| Cooling capacity at Tboil= -31 oC, t=6 oC, кW (R404A/R507), SC4 | 1,0 | 2,0 | 3,1 | 4,1 | 2,9 |
| Distance between lamelas, mm | 9 | 9 | 9 | 9 | 9 |
| Heat exchange surface, m2 | 6 | 10 | 16 | 21 | 14 |
| A number and diameter of fans, mm | 300х1 | 300х2 | 300х3 | 300х4 | 450х1 |
| Inner volume, dm3 | 2,4 | 4,3 | 6,2 | 8,2 | 5,5 |
| Power consumption of fans, W | 96 | 96х2 | 96х3 | 96х4 | 470х1 |
| Voltage/Phase/Frequency, (V/Hz) | 220/1/50 | 220/1/50 | 220/1/50 | 220/1/50 | 380/3/50 |
| Consumption current, А | 0,44 | 0,44х2 | 0,44х3 | 0,44х4 | 0,84х1 |
| Air flow, m3/hour | 2050 | 4100 | 6150 | 8200 | 5600 |
| Flame, m | 5 | 7 | 10 | 11 | 9 |
| Electric defrost of lamelas, W | 3х440 | 3х730 | 3х1030 | 3х1310 | 4х730 |
| Electric defrost of pan, W | 440 | 730 | 1030 | 1310 | 730 |
| Total defrost output, W | 1760 | 2920 | 4120 | 5240 | 3650 |
| Sizes, mm | length | 702 | 1094 | 1486 | 1878 | 1094 |
|  | height | 495 | 495 | 495 | 495 | 635 |
|  | width | 430 | 430 | 430 | 430 | 460 |
| Weight, кg | 18 | 30 | 43 | 56 | 38 |
| Connections, mm | Øinlet | 12 | 12 | 12 | 15 | 12 |
|  | Øoutlet | 19 | 22 | 22 | 28 | 22 |
|  | drainage | 19 | 19 | 19 | 19 | 19 |
| Cost of standard model type «0», rubles | 23 079 | 35 999 | 49 445 | 62 088 | 43 399 |
| Expansion valve «Danfoss» and nozzle (number) | TES 2 (3) | TES 2 (4) | TES 2 (5) | TES 2 (6) | TES 2 (6) |
| Solenoid valve «Danfoss» | EVR 10 | EVR 10 | EVR 10 | EVR 10 | EVR 10 |
| Cost of model with solenoid and expansion valve «Danfoss» type «1», rubles | 30 424 | 43 344 | 56 890 | 69 433 | 50 744 |

Distance between lamelas 9 mm

Distance between lamelas 9 mm

| Model | ЛВА 452А90Е ЛВА 452А91Е | ЛВА 453А90Е ЛВА 453А91Е | ЛВА 502А90Е ЛВА 502А91Е | ЛВА 503А90Е ЛВА 503А91Е | ЛВА 504А90Е ЛВА 504А91Е |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 9,6 | 13,8 | 18,3 | 26,1 | 35,1 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 6,8 | 9,7 | 14,0 | 19,7 | 26,4 |
| Cooling capacity at Tboil= -31 oC, t=6 oC, кW (R404A/R507), SC4 | 5,6 | 8,0 | 12,2 | 16,9 | 22,7 |
| Distance between lamelas, mm | 9 | 9 | 9 | 9 | 9 |
| Heat exchange surface, m2 | 28 | 41 | 83 | 122 | 170 |
| A number and diameter of fans, mm | 450х2 | 450х3 | 500х2 | 500х3 | 500х4 |
| Inner volume, dm3 | 10,5 | 15,5 | 26,1 | 39,2 | 54,0 |
| Power consumption of fans, W | 470х2 | 470х3 | 790х2 | 790х3 | 790х4 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Consumption current, А | 0,84х2 | 0,84х3 | 1,55х2 | 1,55х3 | 1,55х4 |
| Air flow, m3/hour | 11 200 | 16 800 | 12 800 | 19 200 | 25 600 |
| Flame, m | 11 | 13 | 18 | 20 | 21 |
| Electric defrost of lamelas, W | 4х1310 | 4х1890 | 4х2320 | 4х3200 | 6х2130 |
| Electric defrost of pan, W | 1310 | 1890 | 2х2320 | 2х3200 | 4х2130 |
| Total defrost output, W | 6550 | 9450 | 13 920 | 19 200 | 21 300 |
| Sizes, mm | length | 1878 | 2662 | 2463 | 3492 | 4522 |
|  | height | 635 | 635 | 700 | 700 | 700 |
|  | width | 460 | 460 | 710 | 710 | 710 |
| Weight, кg | 75 | 115 | 150 | 218 | 265 |
| Connections, mm | Øinlet | 15 | 15 | 15 | 15 | 15 |
|  | Øoutlet | 28 | 35 | 42 | 54 | 54 |
|  | drainage | 19 | 19 | 32 | 32 | 32 |
| Cost of standard model type «0», rubles | 72 875 | 104 734 | 155 408 | 237 439 | 272 058 |
| Expansion valve «Danfoss» and nozzle (number) | TES 5 (2) | TES 5 (3) | TES 5 (4) | TES 12 (5) | TES 12 (6) |
| Solenoid valve «Danfoss» | EVR 10 | EVR 15 | EVR 15 | EVR 15 | EVR 15 |
| Cost of model with solenoid and expansion valve «Danfoss» type «1», rubles | 86 096 | 119 989 | 170 663 | 255 745 | 290 364 |

Distance between lamelas 9 mm

Diagram of cooling capacity of unit coolers ЛВА with distance between lamelas 9mm (Ø of fans 300mm or 450mm)

Diagram of cooling capacity of unit coolers ЛВА with distance between lamelas 9mm (Ø of fans 500mm)

Diagram of cooling capacity of unit coolers ЛВА with distance between lamelas 9mm (Ø of fans 550mm, 630mm, 800mm)

10.4.3 Drawings of unit coolers ЛВА

10.4.4 Spare parts for unit coolers ЛВА

| Electric defrost of lamelas and pan |
| --- |
| Model | Power, W | Price, rubles |
| ЛВА 301А…Е | 440 | 577 |
| ЛВА 302А…Е | 730 | 754 |
| ЛВА 303А…Е | 1030 | 910 |
| ЛВА 304А…Е | 1310 | 1065 |
| ЛВА 451А…Е | 730 | 754 |
| ЛВА 452А…Е | 1310 | 1065 |
| ЛВА 453А…Е | 1890 | 1421 |
| ЛВА 502А…Е | 2320 | 1731 |
| ЛВА 503А…Е | 3200 | 3196 |
| ЛВА 504А…Е | 2130 | 1731 |
| ЛВА 554А…Е | 2130 | 1 722 |
| ЛВА 634А…Е | 2530 | 2 091 |
| ЛВА 803А…Е | 2210 | 1 845 |

| Fans |
| --- |
| Diameter, mm | Voltage/Phase/Frequency (V/Hz) | Consumption current of fans, А | Power consumption of fans, W | Air flow, m3/hour | Price, rubles |
| 300 | 220/1/50 | 0,44 | 96 | 2100 | 2997 |
| 450 | 380/3/50 | 0,84 | 470 | 5600 | 6105 |
| 500 | 380/3/50 | 1,55 | 790 | 6400 | 6882 |
| 550 | 380/3/50 | 1,31 | 550 | 8450 | 5 883 |
| 630 | 380/3/50 | 1,61 | 680 | 10550 | 7 659 |
| 800 | 380/3/50 | 1,50 | 650 | 14250 | 21 645 |

10.4.5 Unit coolers ЛВД

Distance between lamelas 4 mm

| Model | ЛВД 351А40Е | ЛВД 352А40Е | ЛВД 353А40Е | ЛВД 354А40Е |
| --- | --- | --- | --- | --- |
| Cooling capacity at Tboil= 0 oC, t=10 oC, кW (R404A/R507), SC1 | 5,1 | 10,1 | 15,2 | 19,8 |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 3,4 | 6,7 | 10,1 | 13,2 |
| Distance between lamelas, mm | 4 | 4 | 4 | 4 |
| Heat exchange surface, m2 | 16 | 31 | 47 | 62 |
| A number and diameter of fans, mm | 1х350 | 2х350 | 3х350 | 4х350 |
| Inner volume, dm3 | 3,4 | 6,4 | 9,3 | 12,3 |
| Power consumption of fans, W | 190 | 380 | 570 | 760 |
| Voltage/Phase/Frequency, (V/Hz) | 220/1/50 | 220/1/50 | 220/1/50 | 220/1/50 |
| Consumption current, А | 0,88 | 1,76 | 2,64 | 3,52 |
| Air flow, m3/hour | 3110 | 6220 | 9330 | 12440 |
| Flame, m | 18 | 20 | 22 | 24 |
| Electric defrost of lamelas, W | 2х750 | 2х1250 | 2х1750 | 2х2650 |
| Total defrost output, W | 1500 | 2500 | 3500 | 5300 |
| Sizes, mm | length | 963 | 1565 | 2167 | 2769 |
|  | height | 260 | 260 | 260 | 260 |
|  | width | 1013 | 1013 | 1013 | 1013 |
| Weight, кg | 35 | 60 | 85 | 110 |
| Connections, mm | Øinlet | 12 | 12 | 15 | 15 |
|  | Øoutlet | 22 | 22 | 28 | 28 |
|  | drainage | 19 | 19 | 19 | 19 |
| Cost of model, rubles | 36 626 | 60 332 | 83 160 | 106 490 |

Diagram of cooling capacity of unit coolers ЛВД with distance between lamelas 4 mm (Ø of fans 350mm)

10.4.6 Unit coolers ЛВД

Distance between lamelas 6 mm

| Model | ЛВД 351А60Е | ЛВД 352А60Е | ЛВД 353А60Е | ЛВД 354А60Е | ЛВД 453А60Е |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity at Tboil= 0 oC, t=10 oC, кW (R404A/R507), SC1 | 4,3 | 8,5 | 12,8 | 16,7 | 33,3 |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 2,8 | 5,7 | 8,5 | 11,1 | 21,9 |
| Distance between lamelas, mm | 6 | 6 | 6 | 6 | 6 |
| Heat exchange surface, m2 | 11 | 22 | 32 | 43 | 144 |
| A number and diameter of fans, mm | 1х350 | 2х350 | 3х350 | 4х350 | 3х450 |
| Inner volume, dm3 | 3,4 | 6,4 | 9,3 | 12,3 | 30,6 |
| Power consumption of fans, W | 190 | 380 | 570 | 760 | 690 |
| Voltage/Phase/Frequency, (V/Hz) | 220/1/50 | 220/1/50 | 220/1/50 | 220/1/50 | 380/3/50 |
| Consumption current, А | 0,88 | 1,76 | 2,64 | 3,52 | 1,98 |
| Air flow, m3/hour | 3110 | 6220 | 9330 | 12440 | 12600 |
| Flame, m | 18 | 20 | 22 | 24 | 26 |
| Electric defrost of lamelas, W | 2х750 | 2х1250 | 2х1750 | 2х2650 | 4х2200 |
| Total defrost output, W | 1500 | 2500 | 3500 | 5300 | 13600 |
| Sizes, mm | length | 963 | 1565 | 2167 | 2769 | 2880 |
|  | height | 260 | 260 | 260 | 260 | 450 |
|  | width | 1013 | 1013 | 1013 | 1013 | 1565 |
| Weight, кg | 33 | 57 | 78 | 102 | 182 |
| Connections, mm | Øinlet | 12 | 12 | 15 | 15 | 22 |
|  | Øoutlet | 22 | 22 | 28 | 28 | 54 |
|  | drainage | 19 | 19 | 19 | 19 | 19 |
| Cost of model, rubles | 35 622 | 57 949 | 87 752 | 112 449 | 211 798 |

Distance between lamelas 6 mm

| Model | ЛВД 632А60Е | ЛВД 632Б60Е | ЛВД 633А60Е | ЛВД 633Б60Е |
| --- | --- | --- | --- | --- |
| Cooling capacity at Tboil= 0 oC, t=10 oC, кW (R404A/R507), SC1 | 44,7 | 51,7 | 67 | 78,1 |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 29,4 | 34 | 44,1 | 51,4 |
| Distance between lamelas, mm | 6 | 6 | 6 | 6 |
| Heat exchange surface, m2 | 193 | 240 | 288 | 360 |
| A number and diameter of fans, mm | 2х630 | 2х630 | 3х630 | 3х630 |
| Inner volume, dm3 | 42,3 | 54 | 62,1 | 81 |
| Power consumption of fans, W | 1360 | 1360 | 2040 | 2040 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Consumption current, А | 3,22 | 3,22 | 4,83 | 4,83 |
| Air flow, m3/hour | 16940 | 15480 | 25410 | 23220 |
| Flame, m | 30 | 28 | 38 | 36 |
| Electric defrost of lamelas, W | 6х2200 | 8х2200 | 12х1600 | 16х1600 |
| Total defrost output, W | 18400 | 22800 | 26800 | 33200 |
| Sizes, mm | length | 3050 | 3050 | 4250 | 4250 |
|  | height | 510 | 510 | 510 | 510 |
|  | width | 1945 | 1945 | 1945 | 1945 |
| Weight, кg | 319 | 358 | 452 | 510 |
| Connections, mm | Øinlet | 28 | 28 | 28 | 35 |
|  | Øoutlet | 64 | 64 | 76 | 76 |
|  | drainage | 19 | 19 | 19 | 19 |
| Cost of model, rubles | 312 064 | 350 619 | 446 174 | 503 174 |

Diagram of cooling capacity of unit coolers ЛВД with distance between lamelas 6 mm

(Ø of fnas 350mm, 450mm, 630mm)

10.4.7 Drawings of unit coolers ЛВД

10.4.8 Unit coolers ЛВП

Distance between lamelas 3.2/6.4 mm

| Model | ЛВП 201А (3.2/6.4) 0Е | ЛВП 202А (3.2/6.4) 0Е | ЛВП 203А (3.2/6.4) 0Е | ЛВП 204А (3.2/6.4) 0Е |
| --- | --- | --- | --- | --- |
| Cooling capacity at Tboil= 0 oC, t=10 oC, кW (R404A/R507), SC1 | 1,3 | 2,5 | 3,8 | 5,0 |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 0,8 | 1,6 | 2,4 | 3,2 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 0,6 | 1,2 | 1,8 | 2,4 |
| Distance between lamelas, mm | 3.2/6.4 | 3.2/6.4 | 3.2/6.4 | 3.2/6.4 |
| Heat exchange surface, m2 | 3,3 | 6,5 | 9,8 | 13 |
| A number and diameter of fans, mm | 1х200 | 2х200 | 3х200 | 4х200 |
| Inner volume, dm3 | 0,95 | 1,75 | 2,5 | 3,4 |
| Power consumption of fans, W | 31 | 2х31 | 3х31 | 4х31 |
| Volage/Phase/Frequency, (V/Hz) | 220/1/50 | 220/1/50 | 220/1/50 | 220/1/50 |
| Consumption current, А | 0,23 | 0,46 | 0,69 | 0,92 |
| Air flow, m3/hour | 480 | 960 | 1440 | 1920 |
| Flame, m | 4 | 4 | 4 | 4 |
| Electric defrost of lamelas, W | 1х500 | 1х800 | 1х1200 | 1х1500 |
| Total defrost output, W | 500 | 800 | 1200 | 1500 |
| Sizes, mm | length | 410 | 735 | 1060 | 1385 |
|  | height | 160 | 160 | 160 | 160 |
|  | width | 365 | 365 | 365 | 365 |
| Weight, кg | 6 | 10 | 13 | 18 |
| Connections, inch | Øinlet | 3/8 | 1/2 | 1/2 | 1/2 |
|  | Øoutlet | 3/8 | 1/2 | 1/2 | 1/2 |
|  | drainage | 3/4 | 3/4 | 3/4 | 3/4 |
| Cost of models, rubles | 7 401 | 11 791 | 16 181 | 20 822 |

Diagram of cooling capacity of unit coolers ЛВП with distance between lamelas 3.2/6.4mm (Ø of fans 200mm)

10.4.9 Drawings of unit coolers ЛВП

10.4.10 Spare parts for unit coolers ЛВД and ЛВП

| Electric defrost of lamelas and pan |
| --- |
| Model | Power, W | Price, rubles |
| ЛВД 351А…Е | 750 | 900 |
| ЛВД 352А…Е | 1250 | 1 100 |
| ЛВД 353А…Е | 1750 | 1 500 |
| ЛВД 354А…Е | 2650 | 3 000 |
| ЛВП 201А (3.2/6.4) 0Е | 500 | 700 |
| ЛВП 202А (3.2/6.4) 0Е | 800 | 1 000 |
| ЛВП 203А (3.2/6.4) 0Е | 1200 | 1 100 |
| ЛВП 204А (3.2/6.4) 0Е | 1500 | 1 400 |

| Fans |
| --- |
| Diameter, mm | Voltage/Phase/Frequency (V/Hz) | Consumption current of fans, А | Power consumption of fans, W | Air flow, m3/hour | Price, rubles |
| 200 | 220/1/50 | 0,23 | 31 | 480 | 2 000 |
| 350 | 220/1/50 | 0,88 | 190 | 3110 | 4 875 |
| 450 | 380/3/50 | 0,66 | 230 | 4200 | 6 155 |
| 630 | 380/3/50 | 1,61 | 680 | 8470 | 9 366 |

10.5  Unit coolers «SVIL»

SE 504/2 CE

А – air defrost

Е – electric defrost

Distance between lamelas:

А – 4,5 mm;

В – 6 mm;

С – 9 mm;

D – 11 mm.

Heat exchanger type

A number of fans, pc

Diameter of fans, сm

Unit cooler

«SVIL»

10.5.1 Unit coolers «SVIL»

Distance between lamelas 4,5 mm

Distance between lamelas 4,5 mm

Distance between lamelas 4,5 mm

10.5.2 Unit coolers «SVIL»

Distance between lamelas 6 mm

Distance between lamelas 6 mm

Distance between lamelas 6 mm

10.5.3 Unit coolers «SVIL»

Distance between lamelas 9 mm

Distance between lamelas 9 mm

Distance between lamelas 9 mm

10.5.4 Drawings for unit coolers «SVIL»

10.5.5 Spare parts for unit coolers «SVIL»

| Electric defrost of lamelas and pan |
| --- |
| Model | Power, W | Price, rubles |
| SE 351/1… | 270 | 777 |
| SE 401/1… | 270 | 1221 |
| SE 352/1… | 450 | 1221 |
| SE 352/2… | 600 | 1221 |
| SE 402/1… | 750 | 1221 |
| SE 502/1… | 750 | 1443 |
| SE 502/2… | 900 | 1443 |
| SE 503/1… | 900 | 1887 |
| SE 503/2… | 1200 | 2220 |
| SE 504/1… | 1400 | 2220 |
| SE 553/1… | 1400 | 1998 |
| SE 553/2… | 1500 | 2331 |
| SE 554/1… | 1500 | 1998 |
| SE 604/1… | 1800 | 2442 |
| SE 604/2… | 1800 | 3108 |

| Fans |
| --- |
| Diameter, mm | Voltage/Phase/Frequency (V/ Hz) | Consumption current of fans, А | Power consumption of fans, W | Air flow, m3/hour | Price, rubles |
| SAF4D-350 | 380/3/50 | 0,22 | 140 | 2290 | 4875 |
| SAF4D-400 | 380/3/50 | 0,28 | 180 | 3400 | 5588 |
| SAF4D-500 | 380/3/50 | 0,69 | 450 | 6570 | 6975 |
| SAF4D-550 | 380/3/50 | 0,92 | 600 | 8720 | 7650 |
| SAF4D-600 | 380/3/50 | 1,19 | 780 | 10820 | 8363 |

10.5.6 Shock froster

| Model | SE 806/2DE |
| --- | --- |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 94,4 |
| Cooling capacity at Tboil= -31 oC, t=6 oC, кW (R404A/R507), SC4 | 75,1 |
| Cooling capacity at Tboil= -40 oC, t=6 oC, кW (R404A/R507), SC5 | 72,4 |
| Cooling capacity at Tboil= -45 oC, t=5 oC, кW (R404A/R507), SC6 | 58,0 |
| Distance between lamelas, мм | 11 |
| Heat exchange surface, m2 | 544 |
| A number and diameter of fans, mm | 6х800 |
| Inner volume, dm3 | 184 |
| Power consumption of fans, W | 6х1600 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 |
| Consumption current, А | 6х2,5 |
| Air flow, m3/hour | 6х22000 |
| Electric defrost of lamelas, W | 48x1800 |
| Electric defrost of pan, W | 7x1800 |
| Total defrost output, W | 100800 |
| Sizes, mm | length | 3803 |
|  | height | 2450 |
|  | width | 1048 |
| Weight, кg | 1200 |
| Connections, mm | Øinlet | 28 |
|  | Øoutlet | 50 |
|  | drainage | 50 |
| Cost of model, rubles | 1 053 612 |

10.5.7 Drawings for shock froster

10.5.8 Spare parts for shock froster

| Electric defrost of lamelas and pan |
| --- |
| Model | Power, W | Price, rubles |
| АВЕ806С11 | 1800 | 2 553 |

| Fans |
| --- |
| Diameter, mm | Voltage/Phase/Frequency (V/Hz) | Consumption current of fans, А | Power consumption of fans, W | Air flow, m3/hour | Price, rubles |
| 800 | 380/3/50 | 2,5 | 1600 | 22000 | 27825 |

11. Air cooling condensers

11.1  Condensers Güntner

GVH 045.1A/1-NW.E

E – electric defrost

Voltage W – 230V, D(S) – 400V

N – standard discharge

M – middle-noise discharge

L – low-noise discharge

S – super low-noise discharge

E – extremely low-noise discharge

A number of fans 1, 2, 3, 4, 2х2, 2х3,

2х4, 2х5, 2х6

Sizes of unit A, В, С, D

Generation 1, 2, 3  (2,3 — only for types 080/090)

Diameter of fans Ø 450 мм, 500 мм, 650 мм,

800 мм, 900 мм, 1000 мм

GVH – Axial horizontal condenser

GVV – Axial vertical condenser

11.1.1 Condensers Güntner of series GVH 045-065 (GVV 045-065)

| Unit type | Capacity at Tcond=400C, Tair=250C, R404а, кW | Voltage, V | Price, rubles |
| --- | --- | --- | --- |
| GVH 045.1A/1-NW.E | 19,8 | 220 | 58 350 |
| GVH 045.1C/1-NW.E | 23,1 | 220 | 66 115 |
| GVH 050.1A/1-NS.E | 27,1 | 380 | 72 452 |
| GVH 050.1C/1-NS.E | 32,2 | 380 | 79 874 |
| GVH 045.1A/2-NW.E | 40,8 | 220 | 98 544 |
| GVH 065.1A/1-NS.E | 36,1 | 380 | 112 418 |
| GVH 045.1C/2-NW.E | 46,2 | 220 | 117 100 |
| GVH 065.1B/1-NS.E | 49,4 | 380 | 120 868 |
| GVH 050.1A/2-NS.E | 55,2 | 380 | 129 261 |
| GVH 045.1A/3-NW.E | 61,1 | 220 | 141 365 |
| GVH 050.1C/2-NS.E | 65,1 | 380 | 157 808 |
| GVH 045.1C/3-NW.E | 70,6 | 220 | 164 773 |
| GVH 050.1A/3-NS.E | 82,3 | 380 | 183 272 |
| GVH 065.1A/2-NS.E | 88,7 | 380 | 196 860 |
| GVH 065.1B/2-NS.E | 100,1 | 380 | 213 474 |
| GVH 065.1C/2-NS.E | 108,1 | 380 | 235 798 |
| GVH 050.1B/4-NS.E | 119,9 | 380 | 269 426 |
| GVH 065.1A/3-NS.E | 130,5 | 380 | 277 933 |
| GVH 065.1B/3-NS.E | 150,0 | 380 | 303 055 |
| GVH 065.1C/3-NS.E | 161,3 | 380 | 334 057 |
| GVH 050.1A/2x3-NS.E | 166,1 | 380 | 372 595 |
| GVH 065.1B/4-NS.E | 203,1 | 380 | 407 365 |
| GVH 065.1C/2x2-NS.E | 217,7 | 380 | 455 724 |
| GVH 065.1A/2x3-NS.E | 263,3 | 380 | 539 367 |
| GVH 065.1B/2x3-NS.E | 300,0 | 380 | 587 440 |
| GVH 065.1C/2x3-NS.E | 322,6 | 380 | 646 304 |
| GVH 065.1B/2x4-NS.E | 406,2 | 380 | 802 513 |

11.1.2  Condensers Güntner of series GVH 090 (GVV 090)

| Unit type | Capacity at Tcond=400C, Tair=250C, R404а, кW | Voltage, V | Price, rubles |
| --- | --- | --- | --- |
| GVH 090.2B/4-N(D).E | 465,4 | 380 | 975 850 |
| GVH 090.2C/4-N(D).E | 490,0 | 380 | 1 055 896 |
| GVH 090.2A/5-N(D).E | 521,0 | 380 | 1 088 953 |
| GVH 090.2B/5-N(D).E | 585,1 | 380 | 1 202 285 |
| GVH 090.2A/6-N(D).E | 626,3 | 380 | 1 278 162 |
| GVH 090.2B/2x3-N(D).E | 692,1 | 380 | 1 416 844 |
| GVH 090.2C/6-N(D).E | 747,1 | 380 | 1 508 251 |
| GVH 090.2A/2x4-N(D).E | 835,3 | 380 | 1 682 388 |
| GVH 090.2B/2x4-N(D).E | 941,4 | 380 | 1 877 992 |
| GVH 090.2A/2x5-N(D).E | 1057,1 | 380 | 2 099 745 |
| GVH 090.2B/2x5-N(D).E | 1183,9 | 380 | 2 316 816 |
| GVH 090.2A/2x6-N(D).E | 1271,3 | 380 | 2 485 186 |

11.1.3 Main sizes of air cooling condensers Güntner

| Model | Sizes, mm |
| --- | --- |
|  | А | В | С |
| GVH 065.1A/2x3-NS.E | 2775 | 1150 | 2195 |
| GVH 065.1B/2x3-NS.E | 3375 | 1150 | 2195 |
| GVH 065.1C/2x3-NS.E | 3975 | 1150 | 2195 |
| GVH 065.1B/2x4-NS.E | 4500 | 1150 | 2195 |
| GVH 090.2B/4-N(D).E | 9700 | 1460 | 1141 |
| GVH 090.2C/4-N(D).E | 8100 | 1460 | 1541 |
| GVH 090.2A/5-N(D).E | 10000 | 1460 | 1141 |
| GVH 090.2B/5-N(D).E | 12000 | 1460 | 1141 |
| GVH 090.2A/6-N(D).E | 11900 | 1460 | 1141 |
| GVH 090.2B/2x3-N(D).E | 7400 | 1460 | 2291 |
| GVH 090.2C/6-N(D).E | 11900 | 1460 | 1541 |
| GVH 090.2A/2x4-N(D).E | 8100 | 1460 | 2291 |
| GVH 090.2B/2x4-N(D).E | 9700 | 1460 | 2291 |
| GVH 090.2A/2x5-N(D).E | 10000 | 1460 | 2291 |
| GVH 090.2B/2x5-N(D).E | 12000 | 1460 | 2291 |
| GVH 090.2A/2x6-N(D).E | 11900 | 1460 | 2291 |

  - Air cooling condensers «SVIL»

SCH 402/1

Heat exchange type

A number of fans, pc

Diameter of fans, сm

H – horizontal discharge

D – double-row discharge

V – V-type discharge

Condenser

«SVIL»

* - all air cooling condensers  «SVIL»  (horizontal, double-row and vertical discharge) have distance between lamelas 2,5 mm, this extremely increases their reliability, and enhances life of the whole refrigeration system difficult working conditions.

** - on demand of customer it is possible to provide condensers of low-noise discharge.

    - Air cooling condensers «SVIL» horizontal

| Model | Capacity at Tair=300C Tcond=450C, (R22) кW | Heat exchange surface, m2 | Inner volume, dm3 | A number and diameter of fans, mm | Power consumption, W | Voltage, V | , mm | , mm | Weight, кg | Price, rub. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SCH 401/1 | 10,2 | 20.0 | 3,5 | 1×400 | 1×180 | 220 | 18 | 15 | 22 | 17 937 |
| SCH 401/2 | 11,0 | 27.4 | 4,7 | 1×400 | 1×180 | 220 | 18 | 15 | 27 | 22 201 |
| SCH 402/1 | 20,4 | 37.6 | 7,0 | 2×400 | 2×180 | 220 | 18 | 15 | 38 | 33 866 |
| SCH 402/2 | 22,0 | 51.3 | 9,2 | 2×400 | 2×180 | 220 | 18 | 15 | 51 | 41 643 |
| SCH 403/1 | 30,6 | 55.4 | 10,3 | 3×400 | 3×180 | 220 | 18 | 15 | 53 | 50 047 |
| SCH 403/2 | 32,9 | 74.3 | 13,8 | 3×400 | 3×180 | 220 | 25 | 22 | 75 | 60 834 |
| SCH 551/1 | 27,1 | 46.7 | 4,2 | 1×550 | 1×600 | 220 | 18 | 15 | 37 | 45 033 |
| SCH 551/2 | 29,1 | 62.3 | 5,6 | 1×550 | 1×600 | 220 | 18 | 15 | 50 | 52 091 |
| SCH 552/1 | 54,2 | 85.7 | 8,3 | 2×550 | 2×600 | 220 | 25 | 22 | 68 | 80 059 |
| SCH 552/2 | 58,2 | 113.4 | 11,1 | 2×550 | 2×600 | 220 | 25 | 22 | 89 | 94 398 |
| SCH 553/1 | 81,3 | 122.2 | 19,2 | 3×550 | 3×600 | 220 | 25 | 22 | 100 | 113 972 |
| SCH 553/2 | 87,3 | 163.0 | 25,8 | 3×550 | 3×600 | 220 | 32 | 25 | 135 | 142 743 |

    - Air cooling condensers «SVIL» double-row

| Model | Capacity at Tair=300C Tcond=450C, (R22) кW | Heat exchnage surface, m2 | Inner volume, dm3 | A number and diameter of fans, mm | Power consumption, W | Voltage, V | , mm | , mm | Weight, кg | Price, rub. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SCD 404/1 | 40,8 | 79.2 | 14,3 | 4×400 | 4×180 | 220 | 25 | 22 | 74 | 70 366 |
| SCD 404/2 | 43,9 | 107.2 | 18,8 | 4×400 | 4×180 | 220 | 25 | 22 | 90 | 86 171 |
| SCD 406/1 | 61,2 | 119.4 | 21,3 | 6×400 | 6×180 | 220 | 32 | 25 | 105 | 102 727 |
| SCD 406/2 | 65,9 | 158.8 | 28,7 | 6×400 | 6×180 | 220 | 32 | 25 | 135 | 122 295 |
| SCD 408/1 | 81,5 | 153.9 | 28,6 | 8×400 | 8×180 | 220 | 32 | 25 | 136 | 130 071 |
| SCD 408/2 | 88,3 | 204.9 | 37,5 | 8×400 | 8×180 | 220 | 32 | 25 | 190 | 158 418 |
| SCD 554/1 | 108,4 | 174.9 | 27,9 | 4×550 | 4×600 | 220 | 32 | 25 | 135 | 149 970 |
| SCD 554/2 | 116,4 | 232.4 | 38,2 | 4×550 | 4×600 | 220 | 32 | 25 | 202 | 175 267 |
| SCD 556/1 | 162,6 | 253.3 | 41,8 | 6×550 | 6×600 | 220 | 35 | 28 | 230 | 207 929 |
| SCD 556/2 | 174,6 | 335.9 | 53,7 | 6×550 | 6×600 | 220 | 35 | 28 | 300 | 250 182 |

    - Air cooling condensers «SVIL» V-type

| Model | Capacity at Tair=300C Tcond=450C, (R22) кW | Heat exchange surface, m2 | Inner volume, dm3 | A number and diameter of fans, mm | Power consumption, W | Voltage, V | , mm | , mm | Weight, кg | Price, rub. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SCV 602/1 | 69,4 | 160 | 24,7 | 2×600 | 2×830 | 220 | 35 | 28 | 183 | 111 998 |
| SCV 602/2 | 75,4 | 180 | 28,9 | 2×600 | 2×830 | 220 | 35 | 28 | 206 | 125 769 |
| SCV 503/1 | 86,7 | 200 | 32,0 | 3×500 | 3×450 | 220 | 35 | 28 | 229 | 139 668 |
| SCV 553/1 | 95,3 | 220 | 35,7 | 3×550 | 3×600 | 220 | 35 | 28 | 252 | 153 483 |
| SCV 553/2 | 100,6 | 240 | 37,6 | 3×550 | 3×600 | 220 | 35 | 28 | 275 | 167 297 |
| SCV 553/3 | 103,9 | 260 | 41,3 | 3×550 | 3×600 | 220 | 35 | 28 | 298 | 182 467 |
| SCV 554/1 | 121,3 | 280 | 43,2 | 4×550 | 4×600 | 220 | 35 | 28 | 321 | 196 324 |

11.2.4 Spare parts for condensers «SVIL»

| Fans |
| --- |
| Diameter, mm | Voltage/Phase/Frequency (V, GHz) | Consumption current of fans, А | Power consumption of fans, W | Air flow, m3/hour | Price, rubles |
| SAF4D-400 | 380/3/50 | 0,50 | 180 | 4 500 | 5 588 |
| SAF4D-500 | 380/3/50 | 0,90 | 450 | 6 246 | 6 975 |
| SAF4D-550 | 380/3/50 | 1,20 | 600 | 8 487 | 7 650 |
| SAF4D-600 | 380/3/50 | 1,60 | 830 | 12 500 | 8 363 |

11.2.5 Drawings and main sizes of horizontal condensers

| Model | Main sizes |
| --- | --- |
|  | Length mm | Height mm | Width mm |
| SCH 401/1 | 730 | 545 | 287 |
| SCH 401/2 | 730 | 545 | 287 |
| SCH 402/1 | 1300 | 545 | 287 |
| SCH 402/2 | 1300 | 545 | 287 |
| SCH 403/1 | 1890 | 550 | 287 |
| SCH 403/2 | 1890 | 550 | 287 |
| SCH 551/1 | 1090 | 795 | 440 |
| SCH 551/2 | 1090 | 795 | 440 |
| SCH 552/1 | 1910 | 795 | 440 |
| SCH 552/2 | 1910 | 795 | 440 |
| SCH 553/1 | 2720 | 800 | 440 |
| SCH 553/2 | 2720 | 800 | 440 |

11.2.6 Drawings and main sizes of double-row condensers

| Model | Main sizes |
| --- | --- |
|  | Length, mm | Height, mm | Width, mm |
| SCD 404/1 | 1300 | 1100 | 400 |
| SCD 404/2 | 1300 | 1100 | 400 |
| SCD 406/1 | 1920 | 1100 | 400 |
| SCD 406/2 | 1920 | 1100 | 400 |
| SCD 408/1 | 2450 | 1100 | 400 |
| SCD 408/2 | 2450 | 1100 | 400 |
| SCD 554/1 | 1910 | 1605 | 470 |
| SCD 554/2 | 1910 | 1605 | 470 |
| SCD 556/1 | 2720 | 1605 | 470 |
| SCD 556/2 | 2720 | 1605 | 470 |

11.2.7 Drawings and main sizes of V-type condensers

| Model | Main sizes |
| --- | --- |
|  | Length, mm | Height, mm | Width, mm |
| SCV-602/1 | 1750 | 860 | 990 |
| SCV-602/2 | 1825 | 1070 | 1035 |
| SCV-503/1 | 2000 | 1070 | 1035 |
| SCV-553/1 | 2150 | 1070 | 1035 |
| SCV-553/2 | 2300 | 1070 | 1035 |
| SCV-553/3 | 2500 | 1070 | 1035 |
| SCV-554/1 | 2650 | 1070 | 1030 |

12. Coaxial heat exchangers «Leader»

SCE 110

Modification

Coaxial heat exchanger (evaporator)

Coaxial heat exchanger has a number of advantages before shell-and-tube and plate heat exchangers:

- Absence of differential pressure;

- Minimal clogging;

- With their simple design and high performance, they can be used to cool almost any media;

- Advantageous characteristics in terms of the thermodynamic function.

- Constructivism: while "unfreezing" the evaporator, the hydraulics of the refrigerant will not be damaged and the evaporator will not require complete replacement (as opposed to a plate or shell-and-tube heat exchanger).

12.1 Coaxial heat exchangers

| Model | Nominal cooling capacity, кW | Nominal heating capacity, кW | Nominal water flow speed, m3/h | Nominal differential pressure (water), Pa | Price, rub. |
| --- | --- | --- | --- | --- | --- |
| SCE-05 | 5,2 | 6,0 | 0,89 | <30 | 7 910 |
| SCE-06 | 6,1 | 7,0 | 1,0 | <30 | 8 475 |
| SCE-08 | 7,8 | 9,0 | 1,3 | <30 | 9 040 |
| SCE-10 | 10,2 | 11,6 | 1,7 | <30 | 11 300 |
| SCE-13 | 12,6 | 14,4 | 2,1 | <40 | 12 713 |
| SCE-15 | 15,0 | 16,9 | 2,6 | <40 | 14 125 |
| SCE-18 | 17,7 | 19,6 | 3,0 | <40 | 16 950 |
| SCE-20 | 20,3 | 22,5 | 3,5 | <40 | 19 210 |
| SCE-23 | 22,6 | 24,7 | 3,9 | <40 | 19 775 |
| SCE-25 | 25,0 | 28,2 | 4,3 | <40 | 22 600 |
| SCE-28 | 27,5 | 31,1 | 4,7 | <40 | 25 425 |
| SCE-30 | 30,1 | 33,8 | 5,2 | <40 | 28 250 |
| SCE-35 | 34,4 | 38,2 | 5,9 | <50 | 28 815 |
| SCE-40 | 41,0 | 45,9 | 6,9 | <50 | 42 375 |
| SCE-45 | 45,8 | 51,3 | 7,7 | <50 | 45 200 |
| SCE-50 | 50,6 | 56,7 | 8,6 | <50 | 48 025 |
| SCE-55 | 55,5 | 62,1 | 9,4 | <50 | 50 850 |
| SCE-60 | 60,3 | 67,5 | 10,3 | <50 | 53 675 |
| SCE-63 | 62,7 | 70,2 | 10,8 | <50 | 64 975 |
| SCE-70 | 70,7 | 77,7 | 11,7 | <50 | 70 625 |
| SCE-75 | 77,2 | 86,4 | 12,9 | <50 | 90 400 |
| SCE-90 | 91,7 | 102,6 | 15,4 | <50 | 93 225 |
| SCE-100 | 101,3 | 113,5 | 17,1 | <50 | 101 700 |
| SCE-110 | 110,9 | 124,3 | 18,9 | <50 | 104 525 |
| SCE-125 | 125,4 | 140,5 | 21,4 | <50 | 107 350 |

12.2 Drawings and main sizes of coaxial heat exchangers

| Model | SCE05 SCE06 SCE08 | SCE10 SCE13 SCE15 | SCE18 SCE20 SCE23 | SCE25 SCE28 SCE30 SCE35 | SCE40 SCE45 SCE50 SCE55 SCE60 SCE63 |
| --- | --- | --- | --- | --- | --- |
| Inlet of refrigerant | Г3 | 12 | 12 | 16 | 19 | 25 |
|  | Д1 | 496 | 589 | 736 | 1007 | 991 |
|  | Ш4 | 175,5 | 218 | 244 | 305 | 413 |
|  | В3 | 202 | 205 | 209 | 225 | 245 |
| Outlet of refrigerant | Г2 | 16 | 19 | 22 | 25 | 40 |
|  | Д6 | 486 | 574 | 721 | 987 | 966 |
|  | В5 | 230 | 235 | 215 | 195 | 305 |
|  | Ш5 | 81,5 | 96 | 114 | 125 | 153 |
| Water inlet | Г1 | 3/4’’ | 1” | 1” | 1 ½” | 2” |
|  | Ш6 | 214 | 282 | 320 | 400 | 500 |
|  | В1 | 277 | 293 | 283 | 275 | 405 |
|  | Д2 | 429 | 512 | 905 | 878 | 878 |
| Water outlet | Г1 | 3/4’’ | 1” | 1” | 1 ½” | 2” |
|  | Ш3 | 245,5 | 318 | 364 | 455 | 563 |
|  | В4 | 112 | 125 | 139 | 155 | 183 |
|  | Д2 | 429 | 512 | 654 | 905 | 878 |
|  | Д5 | 37 | 42 | 42 | 53 | 53 |
| Position of the gas valve | Г4 | 7x12 | 7x12 | 9x14 | 9x14 | 13x20 |
| Fixed size | Д4 | 136 | 174,5 | 199 | 250 | 310 |
|  | Д3 | 261 | 299,5 | 419 | 610 | 535 |
|  | Ш2 | 277 | 354 | 408 | 510 | 626 |

| Model | SCE 70 SCE 75 SCE 90 SCE 100 SCE 110 SCE 125 |
| --- | --- |
| Inlet of refrigerant | Г3 | 180 |
|  | Д1 | 1600 |
|  | В3 | 320 |
| Outlet of refrigerant | Г2 | 42 |
|  | Д6 | 1476 |
|  | Ш5 | 330 |
| Water inlet | Г1 | 28 |
|  | Ш6 | 500 |
|  | В1 | 130 |
|  | Д2 | 1500 |
| Water outlet | Г1 | 28 |
|  | Ш3 | 600 |
|  | В4 | 230 |
|  | Д2 | 1500 |
|  | Д5 | 100 |
| Fixed size | Д4 | 308 |
|  | Д3 | 1030 |
|  | Ш2 | 576 |

13. Shell-and-tube evaporators «Leader»

SES 210/2

A number of circuits

Modification

Shell-and-tube heat exchanger (evaporator)

Nominal conditions:

- Refrigerant R22; Тevap 2˚С; Тcond 40˚С; ∆ Toverheating 5˚С; Tinlet  вода 12˚С; Toutlet  вода 7˚С.

13.1 Drawings and main sizes of shell-and-tube evaporators

| Model | А, mm | В, mm | С, mm | D, mm | Е, mm | F, mm | G, mm | Н, mm | R, mm | S, mm | Т, mm | a, mm | b1/b2, mm | c1/c2, mm |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SES 20/… | 932 | 140 | 129 | 730 | 130 | 195 | 45 | 30 | 550 | 60 | 160 | 38 | 22/18 | 35/28 |
| SES 28/... | 1082 | 140 | 129 | 880 | 130 | 195 | 45 | 30 | 650 | 60 | 160 | 38 | 22/18 | 35/28 |
| SES 35/… | 1282 | 140 | 129 | 1080 | 130 | 195 | 45 | 30 | 800 | 60 | 160 | 50 | 22/18 | 35/28 |
| SES 45/... | 1432 | 140 | 129 | 1230 | 130 | 195 | 45 | 30 | 800 | 60 | 160 | 50 | 22/18 | 35/28 |
| SES 55/… | 1318 | 168 | 168 | 1050 | 130 | 235 | 55 | 35 | 800 | 60 | 160 | 64 | 28/22 | 42/35 |
| SES 65/… | 1468 | 168 | 168 | 1200 | 130 | 235 | 55 | 35 | 800 | 60 | 160 | 64 | 28/22 | 42/35 |
| SES 80/… | 1668 | 168 | 168 | 1400 | 130 | 235 | 55 | 35 | 1000 | 60 | 160 | 64 | 28/22 | 42/35 |
| SES 95/… | 1818 | 168 | 168 | 1550 | 130 | 235 | 55 | 35 | 1000 | 60 | 160 | 64 | 28/22 | 42/35 |
| SES 110/… | 1798 | 194 | 183 | 1500 | 130 | 265 | 65 | 45 | 1000 | 60 | 160 | 76 | 35/28 | 54/42 |
| SES 125/… | 1948 | 194 | 183 | 1650 | 130 | 265 | 65 | 45 | 1200 | 60 | 160 | 76 | 35/28 | 54/42 |
| SES 140/… | 2198 | 194 | 183 | 1900 | 130 | 265 | 65 | 45 | 1400 | 60 | 160 | 76 | 35/28 | 54/42 |
| SES 155/… | 2348 | 194 | 183 | 2050 | 130 | 265 | 65 | 45 | 1400 | 60 | 160 | 76 | 35/28 | 54/42 |
| SES 180/… | 2216 | 219 | 192 | 1950 | 130 | 300 | 70 | 45 | 1400 | 80 | 200 | 76 | 35/28 | 54/42 |
| SES 210/… | 2511 | 219 | 192 | 2200 | 130 | 300 | 70 | 45 | 1400 | 80 | 200 | 76 | 35/28 | 54/42 |
| SES 240/… | 2346 | 245 | 212 | 2000 | 150 | 325 | 75 | 60 | 1400 | 80 | 200 | 114 | 42/35 | 67/54 |
| SES 265/… | 2546 | 245 | 212 | 2200 | 150 | 325 | 75 | 60 | 1400 | 80 | 200 | 114 | 42/35 | 67/54 |
| SES 290/… | 2300 | 273 | 241 | 1900 | 150 | 350 | 80 | 65 | 1400 | 80 | 240 | 140 | 42/35 | 80/54 |
| SES 320/… | 2500 | 273 | 241 | 2100 | 150 | 350 | 80 | 65 | 1400 | 80 | 240 | 140 | 42/35 | 80/54 |
| SES 360/… | 2700 | 273 | 241 | 2300 | 150 | 350 | 80 | 65 | 1600 | 80 | 240 | 140 | 42/35 | 80/54 |
| SES 390/… | 2213 | 325 | 279 | 1750 | 200 | 400 | 95 | 80 | 1400 | 80 | 300 | 168 | 54/42 | 92/80 |
| SES 420/… | 2213 | 325 | 279 | 1750 | 200 | 400 | 95 | 80 | 1400 | 80 | 300 | 168 | 54/42 | 92/80 |
| SES 470/… | 2413 | 325 | 279 | 1950 | 200 | 400 | 95 | 80 | 1400 | 80 | 300 | 168 | 54/42 | 92/80 |
| SES 520/… | 2613 | 325 | 279 | 2150 | 200 | 400 | 95 | 80 | 1600 | 80 | 300 | 168 | 54/42 | 92/80 |
| SES 570/… | 2813 | 325 | 279 | 2350 | 200 | 400 | 95 | 80 | 1600 | 80 | 300 | 168 | 54/42 | 92/80 |

14. Plate heat exchangers copper-brazed Alfa Laval

| Model | Size L×W×H, mm | Weight, кg | Calculated temperature min/max, ˚С (S3/S4, S1/S2) | Calculated pressure, Bar (S3/S4, S1/S2) | Price, rub. |
| --- | --- | --- | --- | --- | --- |
| AC 10-14 | 41×76×206 | 1,5 | -50/+70 | 40, 40 | 14 414 |
| AC 10-28 | 73×76×206 | 2,4 |  |  | 20 439 |
| AC 30-10EQ | 24×93×325 | 1,9 | -50/+150 | 32, 32 | 19 313 |
| AC 30-14EQ | 30×93×325 | 2,3 |  |  | 21 396 |
| AC 30-20EQ | 39×93×325 | 2,8 |  |  | 24 493 |
| AC 30-24EQ | 45×93×325 | 3,2 |  |  | 26 520 |
| AC 30-30EQ | 54×93×325 | 3,7 |  |  | 29 673 |
| AC 30-36EQ | 63×93×325 | 4,2 |  |  | 32 827 |
| AC 30-40EQ | 69×93×325 | 4,6 |  |  | 34 910 |
| AC 30-44EQ | 75×93×325 | 5,0 |  |  | 36 937 |
| AC 30-54EQ | 90×93×325 | 5,9 |  |  | 42 004 |
| AC 30-60EQ | 99×93×325 | 6,4 |  |  | 45 270 |
| AC 30-70EQ | 114×93×325 | 7,3 |  |  | 50 281 |
| AC 30-80EQ | 129×93×325 | 8,2 |  |  | 55 462 |
| AC 30-90EQ | 144×93×325 | 9,1 |  |  | 60 867 |
| AC 30-100EQ | 159×93×325 | 10,0 |  |  | 65 935 |
| CB 27-10H | 34×111×310 | 2,6 | -160/+175 | 32, 32 | 18 694 |
| CB 27-14H | 43×111×310 | 3,1 |  |  | 21 059 |
| CB 27-20H | 58×111×310 | 3,9 |  |  | 24 493 |
| CB 27-24H | 68×111×310 | 4,4 |  |  | 26 633 |
| CB 27-30H | 83×111×310 | 5,2 |  |  | 30 293 |
| CB 27-34H | 92×111×310 | 5,7 |  |  | 32 827 |
| CB 27-40H | 107×111×310 | 6,5 |  |  | 36 149 |
| CB 27-50H | 132×111×310 | 7,8 |  |  | 41 948 |
| CB 27-60H | 156×111×310 | 9,1 |  |  | 47 973 |
| CB 27-70H | 181×111×310 | 10,4 |  |  | 53 829 |
| CB 27-100H | 254×111×310 | 14,3 |  |  | 71 227 |
| CB 52-10H | 34×111×525 | 4,3 | -160/+175 | 32, 32 | 26 295 |
| CB 52-14H | 43×111×525 | 5,2 |  |  | 30 293 |
| CB 52-20H | 58×111×525 | 6,6 |  |  | 36 318 |
| CB 52-26H | 73×111×525 | 8,0 |  |  | 42 736 |
| CB 52-30H | 83×111×525 | 8,9 |  |  | 46 734 |
| CB 52-40H | 107×111×525 | 11,2 |  |  | 56 869 |
| CB 52-50H | 132×111×525 | 13,5 |  |  | 67 568 |
| CB 52-60H | 156×111×525 | 15,8 |  |  | 77 421 |
| CB 76-20H | 67×191×616 | 16,6 | -160/+175 | 32, 32 | 82 770 |
| CB 76-30H | 95×191×616 | 21 |  |  | 101 464 |
| CB 76-40H | 123×191×616 | 25,4 |  |  | 120 101 |
| CB 76-50H | 151×191×616 | 29,8 |  |  | 138 795 |
| CB 76-60H | 179×191×616 | 34,2 |  |  | 157 489 |
| CB 76-70H | 207×191×616 | 38,6 |  |  | 176 182 |
| CB 76-80H | 235×191×616 | 43 |  |  | 195 326 |
| CB 76-90H | 263×191×616 | 47,4 |  |  | 214 358 |
| CB 76-100H | 291×191×616 | 51,8 |  |  | 233 052 |

15. Wiring boxes

15.1 Automatic wiring boxes

ШУА - 9/37

Maximum defrost

capacity, 220/1/50, кW

Maximum fans current, 380/3/50, А

А – automatic

wiring box

| Model | Sizes, mm | Price, rub. |
| --- | --- | --- |
| ШУА 9/7,5 | 250х185х140 | 4 680 |
| ШУА 9/28 | 420х300х150 | 6 960 |
| ШУА 9/37 | 420х300х150 | 9 480 |
| ШУА 16/52 | 550х400х185 | 16 680 |

15.2 Wiring boxes of unit coolers

ШУВ – 40/12

Maximum fans current, А

Maximum defrost current, А

В — of unit cooler

wiring box

| Model | Sizes, mm | Price, rub. |
| --- | --- | --- |
| ШУВ 16/12 | 310х265х120 | 16 100 |
| ШУВ 32/12 | 310х265х120 | 16 800 |
| ШУВ 40/12 | 310х265х120 | 18 000 |
| ШУВ 50/12 | 520х310х120 | 19 000 |
| ШУВ 63/12 | 520х310х120 | 20 700 |
| ШУВ 95/18 | 520х310х120 | 22 700 |
| ШУВ 125/18 | 500х400х220 | 25 300 |
| ШУВ 160/18 | 500х400х220 | 27 700 |
| ШУВ 180/25 | 500х400х220 | 39 300 |

15.2 Electric circuits of wiring boxes

Electric circuit for ШУА 9/7,5

Electric circuit for  ШУА 9/28, 9/37, 16/52

Electric circuit for ШУВ 16/12, ШУВ 32/12, ШУВ 40/12, ШУВ 50/12, ШУВ 63/12, ШУВ 95/18, ШУВ 125/18, ШУВ 180/18.

16. Pumps Pedrollo

| Pump mark Pedrollo (Italy) | Pumps capacity, кW | Output, m3/h | Pressure, кPа | Max output, m3/h | Max pressure, кPа | Diameter of inlet/outlet, inch | Price, rub. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| RS 25/8 | 0,165 | 3 | 50 | 6,6 | 80 | 2х2 | 3 300 |
| HF 5B | 0,75 | 13 | 100 | 30 | 137 | 2х2 | 7 000 |
| HF 5AM | 1,5 | 15 | 200 | 30 | 220 | 2х2 | 10 000 |
| HF 70A | 2,2 | 18 | 380 | 18 | 390 | 2х2 | 11 000 |
| F 32/200AH | 4,0 | 15 | 400 | 27 | 440 | 2х1.25 | 25 000 |
| F 65/160A | 15 | 70 | 380 | 144 | 405 | 3.2х2.5 | 70 000 |

Technical features and diagrams of

pumps Pedrollo

17. Heat exchanging equipment (available)

| Denomination | Mark | Cooling capacity at Tboil= -8 oC t=8 oC, кW (R404а) | Cost, rub. |
| --- | --- | --- | --- |
| Unit coolers |
| Unit cooler SBL22 A-S | Alfa Laval | 0,75* | 18 021 |
| Unit cooler SBL23 A-S | Alfa Laval | 1,00* | 22 740 |
| Unit cooler SBL24 A-S | Alfa Laval | 1,16* | 24 748 |
| Unit cooler SBL25 A-S | Alfa Laval | 1,35* | 30 521 |
| Unit cooler SBL26 A-S | Alfa Laval | 1,75* | 31 374 |
| Unit cooler CGL 4 A-S | Alfa Laval | 1,18 | 20 381 |
| Unit cooler CGL 5 A-S | Alfa Laval | 1,30 | 20 431 |
| Unit cooler CGL 6 A-S | Alfa Laval | 1,46 | 21 485 |
| Unit cooler BL-79 ES | Alfa Laval | 9,49* | 117 861 |
| Unit cooler BLE 352A70E | Alfa Laval | 5,11 | 62 127 |
| Unit cooler RLE 352B55E | Alfa Laval | 7,68 | 71 644 |
| Unit cooler BLE 354A70E | Alfa Laval | 10,39 | 104 441 |
| Unit cooler BLE 403В12E | Alfa Laval | 14,84 | 136 895 |
| Unit cooler INBE 403C85E | Alfa Laval | 15,7 | 158 808 |
| Unit cooler INBE 404B85E | Alfa Laval | 17,4 | 191 278 |
| Unit cooler INBE 502C85E | Alfa Laval | 21,6 | 237 449 |
| Unit cooler GDF 030B/24-E | Guntner | 3,45 | 53 687 |
| Unit cooler GDF 030B/27-E | Guntner | 2,69 | 53 687 |
| Unit cooler GDF 030C/24-E | Guntner | 4,27 | 61 803 |
| Unit cooler GHF 040 1D/17-EW | Guntner | 5,11 | 71 250 |
| Unit cooler GHF 045 1D/17-EW | Guntner | 8,4 | 95 705 |
| Unit cooler GHF 050 1E/17-ES | Guntner | 12,5 | 121 295 |
| Unit cooler GHF 045 1E/27-EW | Guntner | 19,4 | 167 419 |
| Unit cooler SHS32N | LU-VE | 2,29** | 22 101 |
| Condensers |
| Condenser ACS 401A | Alfa Laval | 9,7 | 24 158 |
| Condenser ACS 402B | Alfa Laval | 22,6 | 45 241 |
| Condenser ACCS 38 | Alfa Laval | 33,4 | 71 986 |
| Condenser ТCE 31-4 | ECO Luvata | 29,0 | 59 000 |
| Oil-cooler DCS 633A | Alfa Laval | 100,5*** | 351 584 |
| Oil-cooler/condenser DCS 633A | Svil | 100,5*** | 200 000 |

*-Cooling capacity at Tboil= -25 oC, t=7 oC

** -Cooling capacity at Troom= 2,5 oC, t=10 oC

*** -Cooling capacity at Tair= 25 oC,  Tin= 40 oC, Tout= 35 oC.

18. Receivers «SVIL»

18.1 Receivers vertical

| Mark | V l | B mm | D mm | E1 mm |  in/out SAE | Price rub. |
| --- | --- | --- | --- | --- | --- | --- |
| SRV6 | 6 | 360 | 165 | 90 | 1 | 3 863 |
| SRV8 | 8 | 460 | 165 | 90 | 1 | 4 125 |
| SRV10 | 10 | 430 | 220 | 130 | 1 1/4 | 4 463 |
| SRV12 | 12 | 480 | 220 | 130 | 1 1/4 | 4 763 |
| SRV14 | 14 | 530 | 220 | 130 | 1 1/4 | 5 100 |
| SRV16 | 16 | 490 | 220 | 130 | 1 1/4 | 5 400 |
| SRV18 | 18 | 600 | 220 | 130 | 1 1/4 | 5 738 |

Completed  by one (hermetic) sight glass.

IN       OUT

| Mark | V l | B mm | C mm | D mm | C1 mm |  in/out SAE | Price rub. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SRV20 | 20 | 470 | 220×220 | 273 | 160 | 1 1/4 | 7 763 |
| SRV22 | 22 | 430 | 220×220 | 273 | 160 | 1 1/4 | 8 363 |
| SRV25 | 25 | 480 | 220×220 | 273 | 160 | 1 1/4 | 8 888 |
| SRV28 | 28 | 530 | 220×220 | 273 | 160 | 1 1/4 | 9 413 |
| SRV32 | 32 | 620 | 220×220 | 273 | 160 | 1 1/4 | 10 013 |
| SRV35 | 35 | 670 | 220×220 | 273 | 160 | 1 1/4 | 10 538 |

Completed by two (hermetic) sight glasses and                                                      safety valve.

IN          OUT

| Mark | V l | B mm | C mm | D mm | C1 mm |  in/out mm | Price rub. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SRV70 | 70 | 1400 | 220×220 | 273 | 160 | 77,8 | 18 900 |
| SRV100 | 100 | 900 | 340×340 | 450 | 250 | 77,8 | 25 013 |
| SRV150 | 150 | 1250 | 340×340 | 450 | 250 | 77,8 | 34 463 |

| Mark | V l | B mm | C mm | D mm | C1 mm |  in/out mm | Price rub. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SRV200 | 200 | 1250 | 450×450 | 600 | 300 | 77,8 | 43 350 |
| SRV250 | 250 | 1580 | 450×450 | 600 | 300 | 77,8 | 51 675 |
| SRV300 | 300 | 1780 | 450×450 | 600 | 300 | 77,8 | 60 038 |

Completed by three (hermetic) sight glasses and safety valve.

  - 18.2 Receivers horizontal

| Mark | V l | A mm | D mm | E1 mm | E2 mm |  in/out SAE | Price rub. |
| --- | --- | --- | --- | --- | --- | --- | --- |
| SRH30 | 30 | 900 | 220 | 600 | 220 | 1 1/4 | 8 888 |
| SRH35 | 35 | 1000 | 220 | 700 |  | 1 1/4 | 9 450 |
| SRH40 | 40 | 800 | 273 | 500 |  | 1 1/4 | 11 100 |
| SRH45 | 45 | 900 | 273 | 600 |  | 1 1/4 | 12 225 |
| SRH50 | 50 | 1000 | 273 | 700 |  | 1 3/4 | 13 350 |
| SRH55 | 55 | 1100 | 273 | 800 |  | 1 3/4 | 14 475 |
| SRH60 | 60 | 1200 | 273 | 900 |  | 1 3/4 | 15 563 |
| SRH70 | 70 | 970 | 320 | 550 | 350 | 77,8 | 17 625 |
| SRH100 | 100 | 800 | 450 | 350 | 450 | 77,8 | 26 963 |
| SRH150 | 150 | 1150 | 450 | 550 | 450 | 77,8 | 32 813 |
| SRH200 | 200 | 1200 | 600 | 605 | 560 | 77,8 | 41 138 |
| SRH250 | 250 | 1500 | 600 | 900 | 560 | 77,8 | 48 975 |
| SRH300 | 300 | 1700 | 600 | 800 | 620 | 77,8 | 56 738 |

19. Oil separators «SVIL»

| Mark | Q0, кW | B, mm | D, mm |  in/out, mm | Price, rub. |
| --- | --- | --- | --- | --- | --- |
| SN5524 | 7,8 | 300 | 102 | 12 | 2 475 |
| SN5555 | 20,0 | 402 | 102 | 15 | 2 588 |
| SN5577 | 31,1 | 501 | 102 | 22 | 2 738 |
| SN5589 | 41,1 | 583 | 102 | 28 | 3 338 |
| SN5511 | 52,2 | 590 | 102 | 35 | 3 638 |
| SN5513 | 72,2 | 619 | 102 | 42 | 5 475 |
| SN5611 | 52,2 | 437 | 152 | 35 | 6 000 |
| SN5613 | 72,2 | 513 | 152 | 42 | 6 338 |
| SN5617 | 116,7 | 537 | 152 | 54 | 7 088 |

Qо – Capacity with R 22 at tо  = -10°C, tcond  = 45°C

20. Liquid separators «SVIL»

Qо – Capacity with

R 22 at tо  =-10°C.

21. Filters «SVIL»

21.1 Filters mechanic hermetic                          	     21.2 Filter-driers reversible

| Mark | A mm | D mm |  in/out, mm |  in/out, SAE | Price, rub. |
| --- | --- | --- | --- | --- | --- |
| SFB 083 | 151 | 67 |  | 3/8 | 525 |
| SFB 083S | 135 |  | 10 |  | 525 |
| SFB 084 | 157 |  |  | 1/2 | 600 |
| SFB 084S | 137 |  | 12 |  | 600 |
| SFB 085 | 168 |  |  | 5/8 | 638 |
| SFB 085S | 143 |  | 15 |  | 638 |
| SFB 163 | 171 | 80 |  | 3/8 | 788 |
| SFB 163S | 156 |  | 10 |  | 788 |
| SFB 164 | 178 |  |  | 1/2 | 863 |
| SFB 164S | 156 |  | 12 |  | 863 |
| SFB 165 | 189 |  |  | 5/8 | 900 |
| SFB 165S | 164 |  | 15 |  | 900 |
| SFB 167S | 178 |  | 22 |  | 975 |

| Mark | A, mm | D, mm |  in/out, mm | Price, rub. |
| --- | --- | --- | --- | --- |
| SFS 283S | 150 | 92 | 10 | 413 |
| SFS 284S | 155 |  | 12 | 488 |
| SFS 285S | 150 |  | 15 | 525 |
| SFS 286S | 195 |  | 18 | 713 |
| SFS 287S | 210 |  | 22 | 863 |
| SFS 289S | 220 |  | 28 | 900 |
| SFS 2811S | 285 |  | 35 | 975 |
| SFS 2813S | 285 |  | 42 | 1 013 |

Completed by two Shrewder valves

21.3 Filter-driers with anti-acid elements      21.4 Filter-driers  hermetic

| Марка | Пр-ть по жидкости, кВт | Пр-ть по кол-ву хл-та, кг | ( вх/вых, мм | ( вх/вых, SAE | Цена, руб. |
| --- | --- | --- | --- | --- | --- |
| SFA 032 | 7 | 5 |  | 1/4 | 225 |
| SFA 032S | 7 | 5 | 6 |  | 225 |
| SFA 033 | 19,.3 | 5 |  | 3/8 | 225 |
| SFA 033S | 19.3 | 5 | 10 |  | 225 |
| SFA 052 | 7 | 6.1 |  | 1/4 | 263 |
| SFA 052S | 7 | 6.1 | 6 |  | 263 |
| SFA 053 | 19.3 | 6.1 |  | 3/8 | 263 |
| SFA 053S | 19.3 | 6.1 | 10 |  | 263 |
| SFA 082 | 7 | 9.5 |  | 1/4 | 338 |
| SFA 082S | 7 | 9.5 | 6 |  | 338 |
| SFA 083 | 19.3 | 9.5 |  | 3/8 | 338 |
| SFA 083S | 19.3 | 9.5 | 10 |  | 338 |
| SFA 084 | 28 | 9.5 |  | 1/2 | 338 |
| SFA 084S | 28 | 9.5 | 12 |  | 338 |
| SFA 162 | 7 | 21.5 |  | 1/4 | 375 |
| SFA 162S | 7 | 21.5 | 6 |  | 375 |
| SFA 163 | 22.8 | 21.5 |  | 3/8 | 413 |
| SFA 163S | 22.8 | 21.5 | 10 |  | 413 |
| SFA 164 | 31.5 | 21.5 |  | 1/2 | 488 |
| SFA 164S | 31.5 | 21.5 | 12 |  | 488 |
| SFA 165 | 47.3 | 21.5 |  | 5/8 | 525 |
| SFA 165S | 47.3 | 21.5 | 15 |  | 525 |
| SFA 166S | 47.3 | 21.5 | 18 |  | 600 |
| SFA 167S | 47.3 | 21.5 | 22 |  | 600 |
| SFA 303 | 22.8 | 44 |  | 3/8 | 638 |
| SFA 303S | 22.8 | 44 | 10 |  | 638 |
| SFA 304 | 33.3 | 44 |  | 1/2 | 713 |
| SFA 304S | 33.3 | 44 | 12 |  | 713 |
| SFA 305 | 49 | 44 |  | 5/8 | 788 |
| SFA 305S | 49 | 44 | 15 |  | 788 |
| SFA 306S | 64.8 | 44 | 18 |  | 863 |
| SFA 307S | 64.8 | 44 | 22 |  | 900 |
| SFA 309S | 66.5 | 44 | 28 |  | 975 |

21.5 Filters mechanic with drying insert

Capacity is indicated under conditions: t0 = -15˚C,  tliquid = 30˚C, differential pressure  0,07 Bar

24.6 Filter-driers collapsible

| Mark | Cooling capacity with R22 | A mm | A1 mm | D1 mm | D2 mm |  in/out mm | A number of cartridges, pc | Price rub. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SFT 485 | 74 | 253 | 178 | 150 | 114 | 15 | 1 | 3 150 |
| SFT 486 | 102 | 253 | 178 |  |  | 18 |  |  |
| SFT 487 | 133 | 253 | 178 |  |  | 22 |  |  |
| SFT 489 | 186 | 255 | 180 |  |  | 28 |  |  |
| SFT 4811 | 214 | 258 | 183 |  |  | 35 |  |  |
| SFT 4813 | 252 | 260 | 160 |  |  | 42 |  |  |
| SFT 4817 | 298 | 260 | 160 |  |  | 54 |  |  |
| SFT 967 | 144 | 398 | 323 | 150 | 114 | 22 | 2 | 3 863 |
| SFT 969 | 221 | 400 | 325 |  |  | 28 |  |  |
| SFT 9611 | 277 | 403 | 328 |  |  | 35 |  |  |
| SFT 9613 | 298 | 395 | 320 |  |  | 42 |  |  |
| SFT 1449 | 214 | 540 | 460 | 150 | 114 | 28 | 3 | 4 463 |
| SFT 14411 | 308 | 543 | 463 |  |  | 35 |  |  |
| SFT 14413 | 340 | 535 | 455 |  |  | 42 |  |  |
| SFT 14417 | 392 | 540 | 460 |  |  | 54 |  |  |
| SFT 19211 | 329 | 683 | 598 | 150 | 114 | 35 | 4 | 5 100 |
| SFT 19213 | 361 | 675 | 590 |  |  | 42 |  |  |
| SFT 19217 | 403 | 680 | 595 |  |  | 54 |  |  |
| SFT 30013 | 266 | 685 | 585 | 190 | 150 | 42 | 3 | 11 513 |
| SFT 30017 | 322 | 730 | 610 |  |  | 54 |  | 12 825 |
| SFT 30021 | 357 | 730 | 610 |  |  | 64 |  | 14 063 |
| SFT 30025 | 392 | 730 | 610 |  |  | 76,1 |  | 14 700 |
| SFT 30029 | 428 | 740 | 610 |  |  | 89 |  | 15 000 |
| SFT 30034 | 462 | 740 | 620 |  |  | 108 |  | 18 488 |
| SFT 40017 | 340 | 855 | 745 |  |  | 54 | 4 | 18 488 |
| SFT 40021 | 385 | 855 | 745 |  |  | 64 |  | 19 200 |

All filters have solder connection.

Capacity is indicated under conditions: t0 = -15˚C,  tliquid = 30˚C, differential pressure  0,07 Bar

24.7 Cartridges filtering exchangeable

absorbent

| Марка | Diameter, mm | Length, mm | Price, rub. |
| --- | --- | --- | --- |
| SDC 1 | 96 | 140 | 488 |
| SDC 2 | 122 | 165 | 750 |

24.8 Cartridges filtering exchangeable

mechanic

| Марка | Diameter, mm | Length, mm | Price, rub. |
| --- | --- | --- | --- |
| SSC 1 | 95 | 140 | 1 013 |
| SSC 2 | 119 | 166 | 1 350 |

22. Receivers with integral liquid separator SVIL

Information about the product.

Receiver with integrated liquid separator SRP is created by combining liquid receiver and separator.

SRP housing 10 is made of steel, pipes are made ​​of copper.

Characteristics:

The design allows to carry heat exchange between the liquid receiver and liquid separator, thereby increasing superheat of suction vapors and temperature of liquid in the receiver reduces, all in all the efficiency of the system increases.

Receiver with integrated liquid separator prevents the compressor from liquid refrigerant, thereby increasing the reliability of the compressor.

23. 4-way valves SVIL

The product can be used in heat pumps as a reversing valve for cooling or heating rooms.

It can also be used as a controlled 4-way valve in any systems, such as for defrosting the evaporator or instead of thermostat valve in oil cooling systems in screw compressors.

SX 01-06                                                                                                         SX 07-08

| Model | Cooling capacity with R22, кW tвс.г. = 5˚С, falling pressure 2 Bar | Pressurization, mm | Connections, mm | D, mm | E, mm | F, mm | G, mm | H, mm | I, mm | Price, rub. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| SX 01-1 | 12,6 | 10 | 12 | 56 | 57 | 111 | 83 | 54 | 78 | 6 638 |
| SX 01-2 |  | 10 | 15 | 56 | 59 | 118 | 83 | 54 | 78 | 6 638 |
| SX 01-3 |  | 12 | 15 | 56 | 59 | 118 | 83 | 54 | 78 | 6 638 |
| SX 01-4 |  | 12 | 18 | 56 | 60 | 119 | 83 | 54 | 78 | 6 638 |
| SX 01-5 |  | 12 | 22 | 56 | 64 | 127 | 83 | 54 | 78 | 6 638 |
| SX 02-1 | 20 | 12 | 18 | 56 | 60 | 119 | 86 | 54 | 98 | 7 763 |
| SX 02-2 |  | 12 | 22 | 56 | 64 | 127 | 86 | 54 | 98 | 7 763 |
| SX 03-1 | 35,1 | 12 | 18 | 60 | 64 | 127 | 89 | 67 | 112 | 8 888 |
| SX 03-2 |  | 15 | 22 | 64 | 68 | 137 | 89 | 67 | 112 | 8 888 |
| SX 03-3 |  | 15 | 22 | 64 | 106 | 155 | 89 | 67 | 120 | 8 888 |
| SX 04-1 | 59,4 | 22 | 28 | 70 | 83 | 165 | 92 | 73 | 143 | 19 988 |
| SX 04-2 |  | 22 | 35 | 70 | 75 | 152 | 92 | 73 | 143 | 19 988 |
| SX 05-1 | 82,6 | 28 | 35 | 86 | 92 | 183 | 95 | 80 | 160 | 31 163 |
| SX 05-2 |  | 28 | 42 | 80 | 90 | 176 | 95 | 80 | 160 | 31 163 |
| SX 06-1 | 117,3 | 35 | 42 | 100 | 113 | 225 | 112 | 102 | 218 | 47 288 |
| SX 06-2 |  | 35 | 54 | 91 | 105 | 212 | 112 | 102 | 218 | 47 288 |
| SX 07-1 | 231,9 | 42 | 54 | 133 | 140 | 278 | 157 | 140 | 292 | 65 063 |
| SX 07-2 |  | 54 | 64 | 115 | 128 | 257 | 157 | 140 | 292 | 65 063 |
| SX 08-1 | 312,7 | 54 | 64 | 156 | 162 | 348 | 176 | 171 | 311 | 85 088 |
| SX 09-1 | 435,6 | 64 | 76,1 | 168 | 181 | 360 | 181 | 184 | 371 | 99 525 |

24.  «Rotalock» valves «SVIL»

| Denomination | Connections, mm | Carving, SAE | Price, rub. |
| --- | --- | --- | --- |
|  | ODF | ODM |  |  |
| SVR 01 | Ø 10 | Ø 15 | 1 | 375 |
| SVR 02 | Ø 12 | Ø 18 | 1 | 413 |
| SVR 03 | Ø 15 | Ø 22 | 1 1/4 | 563 |
| SVR 04 | Ø 18 | - | 1 1/4 | 750 |
| SVR 05 | Ø 22 | Ø 28 | 1 1/4 | 788 |
| SVR 06 | Ø 22 | Ø 28 | 1 3/4 | 900 |
| SVR 07 | Ø 28 | Ø 35 | 1 3/4 | 1 388 |

25. Manometers «SVIL»

| Mark | Type | Connections inch | Refrigerant | Price, rub. |
| --- | --- | --- | --- | --- |
| SMG 500 | With glycerol for high pressure (до 3.5 МPа) | 1/4 SAE | R12, R22, R134a, R404a, R507 | 450 |
| SMG 250 | With glycerol for low pressure(до 1.5 МPа) | 1/4 SAE | R12, R22, R134a, R404a, R507 | 450 |
| SM 500 | Without glycerol for high pressure (до 3.5 МPа) | 1/4 SAE | R12, R22, R134a, R404a, R507 | 263 |
| SM 250 | Without glycerol for low pressure (до 1.5 МPа) | 1/4 SAE | R12, R22, R134a, R404a, R507 | 263 |

26. Hygrometer «SVIL»

| Denomination | Length, mm | Connections, mm | Price, rub. |
| --- | --- | --- | --- |
| SG 12 | 117 | Ø 6 | 338 |
| SG 13 | 117 | Ø 10 | 375 |
| SG 14 | 124 | Ø 12 | 413 |
| SG 15 | 124 | Ø 15 | 488 |
| SG 17 | 160 | Ø 22 | 713 |
| SG 19 | 160 | Ø 28 | 863 |

27. Brass nuts «SVIL»

| Denomination | Pipe, mm | Carving, inch | Price, rub. |
| --- | --- | --- | --- |
| SN 06 | Ø 6 | 7/16 SAE | 23 |
| SN 10 | Ø 10 | 5/8 SAE | 26 |
| SN 12 | Ø 12 | 3/4 SAE | 34 |
| SN 15 | Ø 15 | 7/8 SAE | 41 |
| SN 18 | Ø 18 | 11/16 SAE | 71 |

28. Shrewder valve «SVIL»

| Denomination | Pipe, mm | Price, rub. |
| --- | --- | --- |
| SVS 04 | 6 | 37,5 |

29. Ball valves «SVIL»

| Denomination | Connections, mm | Price, rub. |
| --- | --- | --- |
| SVB 202 | Ø 6 | 675 |
| SVB 203 | Ø 10 | 675 |
| SVB 204 | Ø 12 | 675 |
| SVB 205 | Ø 15 | 938 |
| SVB 207 | Ø 22 | 1 613 |
| SVB 209 | Ø 28 | 1 950 |
| SVB 211 | Ø 35 | 2 850 |
| SVB 213 | Ø 42 | 3 863 |
| SVB 217 | Ø 54 | 8 813 |
| SVB 221 | Ø 64 | 9 375 |

30. Return valves «SVIL»

Straight

| Denomination | Connections, mm | Price, rub. |
| --- | --- | --- |
| SVC 3140/7 | Ø 22 | 2 775 |
| SVC 3140/9 | Ø 28 | 2 888 |
| SVC 3140/11 | Ø 35 | 3 900 |
| SVC 3140/13 | Ø 42 | 5 850 |
| SVC 3140/17 | Ø 54 | 6 975 |

Angular

| Denomination | Connections, mm | Price, rub. |
| --- | --- | --- |
| SVC 3180/7 | Ø 22 | 2 363 |
| SVC 3180/9 | Ø 28 | 3 038 |
| SVC 3180/11 | Ø 35 | 3 338 |
| SVC 3180/13 | Ø 42 | 5 400 |
| SVC 3140/17 | Ø 54 | 6 975 |

31. Solenoid valves Castel (with coil)

| Denomination | Connections, mm | Price, rub. |
| --- | --- | --- |
| 1020/3 | Ø 10 | 975 |
| 1064/3 | Ø 10 | 1 388 |
| 1078/5 | Ø 15 | 2 100 |
| 1078/7 | Ø 22 | 2 775 |
| 1098/7 | Ø 22 | 3 488 |
| 1079/11 | Ø 35 | 6 975 |

32. Collector distributor (spider)

| Denomination | Price, rub. |
| --- | --- |
| РК-1/7 | 5 000 |

33. Fans «SVIL»

34. Micro motors «SVIL»

| Model | Output power, W | Voltage, V | Current, А | Rotation speed rot/min | Fan Ø, mm | Price, rub. |
| --- | --- | --- | --- | --- | --- | --- |
| SM 5-13 | 5 | 220 | 0,25 | 1300 | 200 | 375 |
| SM 7-20 | 7 |  | 0,3 | 1300 | 230 | 413 |
| SM 10-20 | 10 |  | 0,35 | 1300 | 230 | 488 |
| SM 16-25 | 16 |  | 0,5 | 1300 | 250 | 525 |
| SM 18-30 | 18 |  | 0,5 | 1300 | 250 | 600 |
| SM 25-40 | 25 |  | 0,7 | 1300 | 300 | 788 |
| SM 34-45 | 34 |  | 0,85 | 1300 | 300 | 863 |

35. Industrial electrics

Sarters CHINT

| Model | Nominal running current, А | Price, rub. |
| --- | --- | --- |
| NC1-0901 | 8 | 338 |
| NC1-1201 | 12 | 338 |
| NC1-1801 | 18 | 338 |
| NC1-2501 | 25 | 413 |
| NC1-3201 | 32 | 600 |
| NC1-4011 | 40 | 1 013 |
| NC1-5011 | 50 | 1 088 |
| NC1-6511 | 65 | 1 163 |
| NC1-8011 | 80 | 1 875 |
| NC1-9511 | 95 | 1 875 |
| NC2-115 | 115 | 3 825 |
| NC2-150 | 150 | 3 825 |
| NC2-185 | 185 | 4 650 |
| NC2-225 | 225 | 4 725 |
| NC2-265 | 265 | 6 638 |
| NC2-330 | 330 | 9 450 |
| NC2-400 | 400 | 10 125 |
| NC2-500 | 500 | 13 013 |
| NC2-630 | 630 | 17 813 |

Motor protection mechanism CHINT

| Model | Price, rub. |
| --- | --- |
| NS2-25 0.1-0.16А | 975 |
| NS2-25 0.16-0.25А | 975 |
| NS2-25 0.25-0.4А | 975 |
| NS2-25 0.4-0.63A | 975 |
| NS2-25 0.63-1A | 975 |
| NS2-25 1-1.6A | 975 |
| NS2-25 1.6-2.5A | 975 |
| NS2-25 2.5-4A | 975 |
| NS2-25 4-6.3A | 975 |
| NS2-25 6-10A | 975 |
| NS2-25 9-14A | 975 |
| NS2-25 13-18A | 975 |
| NS2-25 17-23A | 975 |
| NS2-25 20-25A | 975 |
| NS2-80 16-25A | 1725 |
| NS2-80 25-40A | 1725 |
| NS2-80 40-63A | 1725 |
| NS2-80 63-80A | 1725 |

Additional communications for motor protection mechanism CHINT

| Модель | Число контактов (NO+NC) | Цена, руб. |
| --- | --- | --- |
| NS2-AE11 | 1+1 | 105 |

Automatic shut-off CHINT

| Model | Price, rub. |
| --- | --- |
| NB1-63-1P 1A 6KA | 161 |
| NB1-63-1P 2A 6KA | 161 |
| NB1-63-1P 3A 6KA | 161 |
| NB1-63-1P 4A 6KA | 161 |
| NB1-63-1P 6A 6KA | 161 |
| NB1-63-1P 10A 6KA | 161 |
| NB1-63-1P 16A 6KA | 161 |
| NB1-63-1P 20A 6KA | 161 |
| NB1-63-1P 25A 6KA | 161 |
| NB1-63-1P 32A 6KA | 161 |
| NB1-63-1P 40A 6KA | 161 |
| NB1-63-1P 50A 6KA | 161 |
| NB1-63-1P 63A 6KA | 161 |
| NB1-63-3P 1A 6KA | 375 |
| NB1-63-3P 2A 6KA | 375 |
| NB1-63-3P 3A 6KA | 375 |
| NB1-63-3P 4A 6KA | 375 |
| NB1-63-3P 6A 6KA | 375 |
| NB1-63-3P 10A 6KA | 375 |
| NB1-63-3P 16A 6KA | 375 |
| NB1-63-3P 20A 6KA | 375 |
| NB1-63-3P 25A 6KA | 375 |
| NB1-63-3P 32A 6KA | 375 |
| NB1-63-3P 40A 6KA | 375 |
| NB1-63-3P 50A 6KA | 428 |
| NB1-63-3P 63A 6KA | 428 |
| NM1-100S/3300 16A | 1 650 |
| NM1-100S/3300 20A | 1 650 |
| NM1-100S/3300 32A | 1 650 |
| NM1-100S/3300 40A | 1 650 |
| NM1-100S/3300 50A | 1 650 |
| NM1-100S/3300 63A | 1 650 |
| NM1-100S/3300 80A | 1 650 |
| NM1-100S/3300 100A | 1 875 |
| NM1-225S/3300 100A | 2 250 |
| NM1-225S/3300 125A | 2 250 |
| NM1-225S/3300 160A | 2 250 |
| NM1-225S/3300 180A | 2 250 |
| NM1-225S/3300 200A | 2 250 |
| NM1-225S/3300 225A | 2 250 |
| NM1-400S/3300 225A | 8 025 |
| NM1-400S/3300 250A | 8 025 |
| NM1-400S/3300 315A | 8 025 |
| NM1-400S/3300 350A | 8 025 |
| NM1-400S/3300 400A | 8 025 |
| NM1-630S/3300 400A | 9 375 |
| NM1-630S/3300 500A | 9 375 |
| NM1-630S/3300 630A | 9 375 |

Thermal relay CHINT

| Model | Price, rub. |
| --- | --- |
| NR2-25G 0.1-0.16A | 375 |
| NR2-25G 0.6-0.25A | 375 |
| NR2-25G 0.25-0.40A | 375 |
| NR2-25G 0.40-0.63A | 375 |
| NR2-25G 0.63-1A | 375 |
| NR2-25G 1-1.6A | 375 |
| NR2-25G 1.25-2A | 375 |
| NR2-25G 1.6-2.5A | 375 |
| NR2-25G 2.5-4A | 375 |
| NR2-25G 4-6A | 375 |
| NR2-25G 5.5-8A | 375 |
| NR2-25G 7-10A | 375 |
| NR2-25G 9-13A | 428 |
| NR2-25G 12-18A | 428 |
| NR2-25G 17-25A | 428 |
| NR2-36G 23-32A | 536 |
| NR2-36G 28-36A | 536 |
| NR2-93G 23-32A | 863 |
| NR2-93G 30-40A | 863 |
| NR2-93G 37-50A | 863 |
| NR2-93G 48-65A | 863 |
| NR2-93G 55-70A | 863 |
| NR2-93G 63-80A | 863 |
| NR2-93G 80-93A | 863 |
| NR2-200G 80-125A | 3 713 |
| NR2-200G 100-160A | 4 088 |
| NR2-200G 125-200A | 4 163 |
| NR2-630G 315-500A | 5 775 |
| NR2-630G 400-630A | 5 775 |

Pneumatic module CHINT

| Model | Delay range, s | Price, rub. |
| --- | --- | --- |
| F5-T2 | 0,1 – 30 | 863 |

Additional communications CHINT

| Model | A number of communications (NO+NC) | Price, rub. |
| --- | --- | --- |
| F4-11 | 1+1 | 64 |

Indicators CHINT

| Model | Price, rub. |
| --- | --- |
| ND16-22D/4 220V красн | 71 |
| ND16-22D/4 220V зелен | 71 |
| ND16-22D/4 220V желт | 71 |

Rotary switch CHINT two positions, 220 V

| Model | Price, rub. |
| --- | --- |
| NP6-11X/2Y | 161 |

36. Thermal insulation Durkflex

Pipes of the length 2 m

| Ø, mm | Thickness, mm |
| --- | --- |
|  | 6 | 9 | 13 | 19 | 25 | 32 |
|  | m/box | rub/m | m/box | rub/m | m/box | rub/m | m/box | rub/m | m/box | rub/m | m/box | rub/m |
| 6 | 400 | 15,8 | 300 | 21,4 | 200 | 37,5 | 100 | 69,8 |  |  |  |  |
| 10 | 300 | 15,8 | 230 | 27,0 | 150 | 37,5 | 90 | 80,3 |  |  |  |  |
| 12 | 260 | 21,4 | 180 | 27,0 | 140 | 42,8 | 80 | 85,9 |  |  |  |  |
| 15 | 220 | 27,0 | 150 | 32,3 | 130 | 48,4 | 80 | 85,9 | 46 | 144,8 | 34 | 192,8 |
| 18 | 180 | 27,0 | 138 | 37,5 | 100 | 53,6 | 60 | 96,4 | 44 | 150,0 | 32 | 208,9 |
| 22 | 160 | 32,3 | 120 | 37,5 | 90 | 53,6 | 60 | 101,6 | 40 | 155,3 | 32 | 219,8 |
| 25 | 130 | 37,5 | 110 | 42,8 | 80 | 64,1 | 50 | 107,3 | 40 | 171,4 | 24 | 235,9 |
| 28 | 110 | 42,8 | 90 | 48,4 | 70 | 69,8 | 40 | 123,4 | 32 | 176,6 | 24 | 251,6 |
| 32 | 90 | 48,4 | 80 | 53,6 | 60 | 80,3 | 40 | 133,9 | 30 | 192,8 | 20 | 273,4 |
| 35 | 84 | 53,6 | 66 | 64,1 | 50 | 85,9 | 32 | 144,8 | 28 | 214,1 | 20 | 305,3 |
| 38 |  |  | 64 | 69,8 | 46 | 91,1 | 32 | 160,9 | 24 | 235,9 | 18 | 326,6 |
| 42 |  |  | 60 | 75,0 | 44 | 96,4 | 28 | 166,1 | 24 | 246,4 | 18 | 342,8 |
| 48 |  |  | 44 | 85,9 | 38 | 107,3 | 28 | 198,4 | 20 | 283,9 | 18 | 396,4 |
| 54 |  |  | 40 | 107,3 | 30 | 139,1 | 24 | 230,3 | 18 | 310,9 | 16 | 439,1 |
| 57 |  |  |  |  | 28 | 150,0 | 24 | 246,4 | 16 | 321,4 | 14 | 450,0 |
| 60 |  |  |  |  | 24 | 160,9 | 20 | 267,8 | 16 | 358,9 | 14 | 514,1 |
| 64 |  |  | 26 | 150,0 | 22 | 203,6 | 18 | 300,0 | 16 | 385,9 | 12 | 541,1 |
| 76 |  |  |  |  |  |  | 14 | 375,0 | 12 | 455,3 | 10 | 611,3 |
| 89 |  |  |  |  |  |  | 12 | 428,6 | 10 | 525,0 | 8 | 712,9 |

Rolls of the width 0.8 m, 0.9 m, 1 m, 1.1 m and 1.2 n

| Thickness, mm | 9 | 13 | 19 | 25 | 29 | 32 |
| --- | --- | --- | --- | --- | --- | --- |
| Price, rub/m2 | 333,8 | 438,8 | 615,0 | 802,5 | 978,8 | 1050,0 |

37. Adhesive tape Durkee

| Sizes | Price, rub/pc |
| --- | --- |
| 50mm (30m) | 563 |

38. Polyamid capillary tube and fittings

Polyamid cappilary tube

| Denomination | Øinside, mm | Øouter, mm | Working pressure, Bar | Minimum bending radius, mm | Price, rub. |
| --- | --- | --- | --- | --- | --- |
| RH-01 | 2,5 | 5,5 | 196 | 15 | 161 |

Fittings

| Denomination | Price, rub. |
| --- | --- |
| Straight tip for polyamid tube LT-1 | 86 |
| Tee for polyamid tube LT-3 | 161 |
| Sleeve for polyamid tube LT-4 | 86 |

39. Fan coils «SVIL»

Cassette fan coils

| Model | Capacity, кW | Sizes (H×B×W), mm | Weight, кg | Power supply, V/Hz | Price, rub. |
| --- | --- | --- | --- | --- | --- |
|  | Cooling | Heating |  |  |  |  |
| SFUC 09 | 2,5 | 3,0 | 256×570×570 | 19 | 220/50 | 20 850 |
| SFUC 12 | 3,5 | 4,2 | 256×570×570 | 25 |  | 22 238 |
| SFUC 17 | 5,0 | 6,5 | 256×570×570 | 25 |  | 23 663 |
| SFUC 22 | 6,5 | 8,0 | 241×835×835 | 30 |  | 29 175 |
| SFUC 24 | 7,2 | 9,5 | 241×835×835 | 30 |  | 30 563 |
| SFUC 34 | 10,0 | 13,0 | 281×835×835 | 30 |  | 34 763 |
| SFUC 41 | 12,0 | 15,5 | 281×835×835 | 30 |  | 36 150 |

Fan coils SVIL planimetric, two-pipes, completed by remote control panel.

Floor-under ceiling fan coils

| Model | Capacity, кW | Sizes (H×B×W), mm | Weight, кg | Power supply, V/Hz | Price, rub. |
| --- | --- | --- | --- | --- | --- |
|  | Cooling | Heating |  |  |  |  |
| SFUU 09 | 2,5 | 3,0 | 240×905×673 | 25 | 220/50 | 20 850 |
| SFUU 12 | 3,5 | 4,2 | 240×905×673 | 25 |  | 22 238 |
| SFUU 17 | 5,0 | 6,5 | 240×905×673 | 30 |  | 23 663 |
| SFUU 22 | 6,5 | 8,0 | 240×1288×673 | 40 |  | 29 175 |
| SFUU 24 | 7,0 | 9,5 | 240×1288×673 | 40 |  | 30 563 |
| SFUU 41 | 12,0 | 13,0 | 240×1670×673 | 45 |  | 36 150 |
| SFUU 48 | 14,0 | 15,5 | 240×1670×673 | 45 |  | 37 538 |

Fan coils SVIL planimetric, two-pipes, completed by remote control panel.

Canal fan coils

| Model | Capacity, кW | Sizes (H×B×W), mm | Weight, кg | Power supply, V/Hz | Price, rub. |
| --- | --- | --- | --- | --- | --- |
|  | Cooling | Heating |  |  |  |  |
| SFUD 07 | 2,0 | 3,0 | 235×750×490 | 20 | 220/50 | 8 363 |
| SFUD 10 | 2,8 | 4,2 | 235×850×490 | 20 |  | 9 713 |
| SFUD 13 | 3,7 | 5,3 | 235×950×490 | 21 |  | 11 100 |
| SFUD 15 | 4,2 | 6,0 | 235×1010×490 | 21 |  | 12 488 |
| SFUD 16 | 4,5 | 6,8 | 235×1070×490 | 21 |  | 13 875 |
| SFUD 19 | 5,5 | 8,0 | 235×1200×490 | 22 |  | 15 300 |
| SFUD 24 | 6,8 | 10,0 | 235×1400×490 | 23 |  | 16 688 |
| SFUD 26 | 7,6 | 11,2 | 235×1500×490 | 24 |  | 18 075 |
| SFUD 31 | 9,0 | 13,3 | 235×1650×490 | 32 |  | 19 463 |
| SFUD 37 | 10,7 | 16,6 | 235×1850×490 | 32 |  | 20 850 |
| SFUD 49 | 14,3 | 20,7 | 235×1950×490 | 32 |  | 22 238 |

Fan coils SVIL planimetric, two-pipes, completed by remote control panel.

Thermostats are indicated to control fan coils.  They are completed by infrared remote control panel.

| Thermostat | Price, rub. |
| --- | --- |
| SDTF 908 | 4 875 |

40. Fan coils Climaveneta

Canal fan coils

| Model | Capacity, кW | Sizes (H×B×W), mm | Weight, кg | Power supply, V/Hz | Price, rub. |
| --- | --- | --- | --- | --- | --- |
|  | Cooling | Heating |  |  |  |  |
| NFCC 200 | 2,0 | 4,0 | 505×545×225 | 18 | 220/50 | 5 588 |
| NFCC 300 | 3,0 | 6,0 | 505×735×225 | 21 |  | 6 975 |
| NFCC 400 | 4,0 | 8,0 | 505×925×225 | 27 |  | 11 100 |
| NFCC 600 | 6,0 | 12,0 | 505×1115×225 | 29 |  | 13 875 |
| NFCC 800 | 8,0 | 16,0 | 505×1305×225 | 40 |  | 16 688 |

Fan coils Climaveneta turbofan, with four pipes are designed for vertical assembling.

In case of making it planimetric one, cooling and heating capacity increases.

Wired control panel – 2775 rub.

# Text boxes

| Unit model | Q0, kW | Voltage W | Quantity and diameter of fans, mm | Connections | Vvolume of refrigerant charge kg | Price, rub. |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  |  | вход mm | выход mm |  |  |
| AНСК-CAJ2464 | 1.9 | 220 | 1×400 | 16 | 10 | 2.5 | 66 000 |
| AНСК-TAG2516 | 4.7 | 380 | 1×450 | 19 | 12 | 3.5 | 106 238 |
| АНСК-ZB45** | 6.0 | 380 | 2×450 | 22 | 12 | 6.5 | 156 225 |

| Unit model | Sizes |
| --- | --- |
|  | Height mm | Length mm | Width mm |
| AССК-ZR42 | 830 | 950 | 360 |
| AССК- TAG4573 | 1230 | 950 | 360 |

| Unit model | Sizes |
| --- | --- |
|  | Height mm | Length mm | Width mm |
| AНСК-CAJ2464 | 680 | 800 | 300 |
| AНСК-TAG2516 | 950 | 830 | 360 |

| Unit model | Q (t0=7°С/ tк =50°С) kW | Q (t0=-5°С/ tк =45°С) kW | Refrigerant mark | Price, rub. |
| --- | --- | --- | --- | --- |
|  |  |  |  | Unit | Additional options |
|  |  |  |  |  | А | Б | Г |
| AСС – ZB15 | 6,25 | 4,35 | R404 | 70 000 | 3 780 | 12 636 | 4 000 |
| AСС – ZB21 | 9,45 | 6,55 | R404 | 75 000 | 3 780 | 12 636 | 4 000 |
| AСС – ZB30 | 12,95 | 8,9 | R404 | 95 000 | 5 022 | 13 878 | 4 000 |
| AСС – ZB38 | 16,2 | 11,05 | R404 | 105 000 | 5 022 | 13 878 | 4 000 |
| AСС – ZB45 | 19,8 | 13,00 | R404 | 120 000 | 8 424 | 22 734 | 4 000 |
| AСС - SM 147 | 37,6 | 25,38 | R22 | 190 000 | 10 800 | 27 000 | 4 000 |
| AСС - 2×SM 147 | 75,2 | 50,76 | R22 | 340 000 | 21 600 | 43 200 | 8 000 |
| AСС - 3×SM 147 | 112,8 | 76,10 | R22 | 500 000 | 32 400 | 75 600 | 12 000 |
| AСС - 4×SM 147 | 150,4 | 101,50 | R22 | 600 000 | 43 200 | 108 000 | 16 000 |
| AСС - 5×SM 147 | 188,0 | 126,80 | R22 | 700 000 | 54 000 | 108 000 | 20 000 |
| AСС - 6×SM 147 | 225,6 | 152,18 | R22 | 800 000 | 64 800 | 108 000 | 24 000 |

| Model of a chiller | ЧМВ140/ ЧБВ140/ ЧВВ140 | ЧМВ180/ ЧБВ180/ ЧВВ180 | ЧМВ210/ ЧБВ210/ ЧВВ210 | ЧМВ240/ ЧБВ240/ ЧВВ240 | ЧМВ280/ ЧБВ280/ ЧВВ280 | ЧМВ300/ ЧБВ300/ ЧВВ300 |
| --- | --- | --- | --- | --- | --- | --- |
| Cooling capacity (Q0) T0 =+2°C, Tконд. = +45°С, kW | 392 | 523 | 595 | 673 | 755 | 837 |
| Unit model | АСВ-CSH8571 | АСВ-CSH9551 | АСВ-CSH9561 | АСВ-CSH9571 | АСВ-CSH9581 | АСВ-CSH9591 |
| Evaporator model | SES 420 | SES 570 | SES 320 (2шт) | SES 360 (2шт) | SES 390 (2шт) | SES 420 (2шт) |
| A number of compressors | 1 | 1 | 1 | 1 | 1 | 1 |
| A number of power levels | 1 | 1 | 1 | 1 | 1 | 1 |
| A number of cicuits | 1 | 1 | 2 | 2 | 2 | 2 |
| Nominally acceptable water discharge, m3/hour | 67 | 89 | 102 | 115 | 129 | 143 |
| Pressure loss on evaporator, no more than кPa | 40 | 40 | 40 | 40 | 40 | 40 |
| Pumping sation model 200 кPa (20m) | НС 75-200 | НС 90-200 | НС 60-200 (2шт) | НС 60-200 (2шт) | НС 75-200 (2шт) | НС 75-200 (2шт) |
| Pumping station model 400 кPa (40m) | НС 75-400 | НС 90-400 | НС 60-400 (2шт) | НС 60-400 (2шт) | НС 75-400 (2шт) | НС 75-400 (2шт) |
| Hydro-module model 200 кPa | ГМ 500/75-200 | ГМ 500/90-200 | ГМ 500/60-200 (2шт) | ГМ 500/60-200 (2шт) | ГМ 500/75-200 (2шт) | ГМ 500/75-200 (2шт) |
| Hydro-module model 400 кPa | ГМ 500/75-400 | ГМ 500/90-400 | ГМ 500/60-400 (2шт) | ГМ 500/60-400 (2шт) | ГМ 500/75-400 (2шт) | ГМ 500/75-400 (2шт) |
| Cost of a chiller without pumping station or hydro-module, rub. | 2 808 000 | 3 834 000 | 4 158 000 | 4 698 000 | 5 076 000 | 5 346 000 |
| Cost of pumping station 200 кPa (20m) | 150 000 | 175 000 | 250 000 | 250 000 | 300 000 | 300 000 |
| Cost of pumping station 400 кPa (40m) | 220 000 | 260 000 | 360 000 | 360 000 | 440 000 | 440 000 |
| Cost of hydro-module 200 кPa (20m) | 220 000 | 250 000 | 390 000 | 390 000 | 440 000 | 440 000 |
| Cost of hydro-module 400 кPa (40m) | 290 000 | 340 000 | 500 000 | 500 000 | 580 000 | 580 000 |
| Cost of option Б | 166 806 | 242 622 | 242 622 | 242 622 | 242 622 | 242 622 |
| Cost of option Э | 108 000 | 108 000 | 108 000 | 108 000 | 108 000 | 108 000 |
| Dimensions (length) mm | 3900 | 5200 | 5200 | 6500 | 6500 | 7800 |
| Dimensions (width) mm | 2250 | 2250 | 2250 | 2250 | 2250 | 2250 |
| Dimensions (height) mm | 2296 | 2296 | 2296 | 2296 | 2296 | 2296 |

| Model | ЛВА 554А90Е | ЛВА 634А90Е | ЛВА 803А90Е |
| --- | --- | --- | --- |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 51,0 | 80,9 | 88,6 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 38,7 | 61,7 | 67,3 |
| Distance between lamelas, mm | 9 | 9 | 9 |
| Heat exchange surface, m2 | 217 | 389 | 451 |
| A number and diameter of fans, mm | 4x550 | 4x630 | 3x800 |
| Inner volume, dm3 | 69.8 | 123.5 | 143.1 |
| Power consumption of fans, W | 4x550 | 4x680 | 3x650 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 | 380/3/50 | 380/3/50 |
| Consumption current, А | 4x1.31 | 4x1.61 | 3x1.5 |
| Air flow, m3/hour | 33800 | 42200 | 42750 |
| Flame, m | 22 | 26 | 37 |
| Electric defrost of lamelas, W | 8x2130 | 14x2530 | 20x2210 |
| Electric defrost of pan, W | 4x2130 | 4x2530 | 4x2210 |
| Total defrost output, W | 25560 | 45540 | 53040 |
| Sizes, mm | length | 4565 | 5365 | 4735 |
|  | height | 900 | 1300 | 1300 |
|  | width | 815 | 915 | 1045 |
| Weight, кg | 404 | 603 | 694 |
| Connections, mm | Øinlet | 2х22 | 2х22 | 2х22 |
|  | Øoutlet | 2х54 | 2х54 | 2х54 |
|  | drainage | 32 | 32 | 32 |
| Cost of standard model, rubles | 404 879 | 605 115 | 730 884 |

| Model | SE 351/1A.. | SE 401/1A.. | SE 352/1A.. | SE 352/2A.. |
| --- | --- | --- | --- | --- |
| Cooling capacity atTboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 3,2 | 4,1 | 6,1 | 8,0 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 2,6 | 3,3 | 4,9 | 6,4 |
| Distance between lamelas, mm | 4,5 | 4,5 | 4,5 | 4,5 |
| Heat exchange surface, m2 | 16 | 20 | 30 | 40 |
| A number and diameter of fans, mm | 1х350 | 1х400 | 2х350 | 2х350 |
| Inner volume, dm3 | 2,7 | 3,3 | 4,6 | 8,1 |
| Power consumption of fans, W | 1х140 | 1х180 | 2х140 | 2х140 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Consumption current, А | 1х0,22 | 1х0,28 | 2х0,22 | 2х0,22 |
| Air flow, m3/hour | 1х2290 | 1х3400 | 2х2290 | 2х2290 |
| Flame, m | 10 | 13 | 10 | 10 |
| Electric defrost of lamelas, кW | 0,27х3 | 0,27х5 | 0,45х3 | 0,6х5 |
| Electric defrost of pan, кW | 0,27х3 | 0,27х3 | 0,45х3 | 0,6х3 |
| Total defrost output, кW | 0,27х6 | 0,27х8 | 0,45х6 | 0,6х8 |
| Sizes, mm | length | 830 | 830 | 1230 | 1550 |
|  | height | 570 | 670 | 570 | 570 |
|  | width | 480 | 480 | 480 | 480 |
| Weight, кg | 51 | 59 | 71 | 96 |
| Connections, mm | Øinlet | 12 | 12 | 12 | 16 |
|  | Øoutlet | 22 | 22 | 22 | 28 |
|  | drainage | 19 | 19 | 19 | 25 |
| Cost of model with air defrost (А), rubles | 26 739 | 29 875 | 37 672 | 45 554 |
| Cost of model with electric defrost (Е), rubles | 27 595 | 29 853 | 38 884 | 45 155 |

| Model | SE 402/1A.. | SE 502/1A.. | SE 502/2A.. | SE 503/1A.. | SE 503/2A.. |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 11,2 | 16,2 | 21,5 | 27,6 | 32,8 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 9,0 | 12,1 | 17,2 | 22,1 | 26,2 |
| Distance between lamelas, mm | 4,5 | 4,5 | 4,5 | 4,5 | 4,5 |
| Heat exchange surface, m2 | 55 | 80 | 105 | 135 | 160 |
| A number and diameter of fans, mm | 2х400 | 2х500 | 2х500 | 3х500 | 3х500 |
| Inner volume, dm3 | 9,5 | 15,5 | 20,5 | 25,7 | 30,4 |
| Power consumption of fans, W | 2х180 | 2х450 | 2х450 | 3х450 | 3х450 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Consumption current, А | 2х0,28 | 2х0,69 | 2х0,69 | 3х0,69 | 3х0,69 |
| Air flow, m3/hour | 2х3400 | 2х6570 | 2х6570 | 3х6570 | 3х6570 |
| Flame, m | 13 | 15 | 15 | 15 | 15 |
| Electric defrost of lamelas, кW | 0,75х5 | 0,75х5 | 0,9х5 | 0,9х7 | 1,2х7 |
| Electric defrost of pan, кW | 0,75х3 | 0,75х3 | 0,9х3 | 0,9х3 | 1,2х3 |
| Total defrost output, кW | 0,75х8 | 0,75х8 | 0,9х8 | 0,9х10 | 1,2х10 |
| Sizes, mm | length | 1700 | 1850 | 1850 | 2350 | 2750 |
|  | height | 670 | 670 | 670 | 670 | 670 |
|  | width | 480 | 600 | 600 | 600 | 600 |
| Weight, кg | 120 | 168 | 188 | 229 | 255 |
| Connections, mm | Øinlet | 16 | 16 | 22 | 22 | 22 |
|  | Øoutlet | 28 | 35 | 50 | 50 | 50 |
|  | drainage | 25 | 25 | 25 | 38 | 38 |
| Cost of model with air defrost (А), rubles | 53 684 | 76 953 | 86 403 | 103 692 | 113 142 |
| Cost of model with electric defrost (Е), rubles | 58 097 | 80 275 | 90 059 | 117 904 | 137 346 |

| Model | SE 504/1A.. | SE 553/1A.. | SE 553/2A.. | SE 554/1A.. | SE 604/1A.. |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 37,6 | 42,7 | 52,9 | 67,6 | 82,0 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 30,0 | 34,1 | 42,3 | 54,0 | 65,5 |
| Distance between lamelas, mm | 4,5 | 4,5 | 4,5 | 4,5 | 4,5 |
| Heat exchange surface, m2 | 185 | 210 | 260 | 330 | 400 |
| A number and diameter of fans, mm | 4х500 | 3х550 | 3х550 | 4х550 | 4х600 |
| Inner volume, dm3 | 34,9 | 39,3 | 51,9 | 57,6 | 74,4 |
| Power consumption of fans, W | 4х450 | 3х600 | 3х600 | 4х600 | 4х780 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Consumption current, А | 4х0,69 | 3х0,92 | 3х0,92 | 4х0,92 | 4х1,19 |
| Air flow, m3/hour | 4х6570 | 3х8720 | 3х8720 | 4х8720 | 4х10820 |
| Flame, m | 15 | 15 | 15 | 15 | 15 |
| Electric defrost of lamelas, кW | 1,4х7 | 1,4х9 | 1,5х13 | 1,5х15 | 1,8х15 |
| Electric defrost of pan, кW | 1,4х3 | 1,4х3 | 1,5х3 | 1,5х3 | 1,8х3 |
| Total defrost output, кW | 1,4х10 | 1,4х12 | 1,5х16 | 1,5х18 | 1,8х18 |
| Sizes, mm | length | 3100 | 2750 | 3200 | 3000 | 3550 |
|  | height | 670 | 770 | 770 | 770 | 770 |
|  | width | 600 | 640 | 640 | 740 | 740 |
| Weight, кg | 299 | 345 | 374 | 479 | 515 |
| Connections, mm | Øinlet | 25 | 25 | 25 | 25 | 25 |
|  | Øoutlet | 50 | 50 | 50 | 50 | 54 |
|  | drainage | 38 | 38 | 38 | 50 | 50 |
| Cost of model with air defrost (А), rubles | 133 566 | 149 245 | 180 687 | 216 834 | 262 386 |
| Cost of model with electric defrost (Е), rubles | 163 059 | 174 975 | 212 980 | 252 365 | 281 591 |

| Модель | SE 351/1BE | SE 401/1BE | SE 352/1BE | SE 352/2BE | SE 402/1BE |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 2,8 | 3,5 | 4,6 | 7,1 | 9,4 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 2,2 | 2,8 | 3,7 | 5,7 | 7,5 |
| Distance between lamelas, mm | 6 | 6 | 6 | 6 | 6 |
| Heat exchange surface, m2 | 12 | 15 | 22 | 30 | 40 |
| A number and diameter of fans, mm | 1х350 | 1х400 | 2х350 | 2х350 | 2х400 |
| Inner volume, dm3 | 2,7 | 3,3 | 4,6 | 8,1 | 9,5 |
| Power consumption of fans, W | 1х140 | 1х180 | 2х140 | 2х140 | 2х180 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Consumption current, А | 1х0,22 | 1х0,28 | 2х0,22 | 2х0,22 | 2х0,28 |
| Air flow, m3/hour | 1х2290 | 1х3400 | 2х2290 | 2х2290 | 2х3400 |
| Flame, m | 10 | 13 | 10 | 10 | 13 |
| Electric defrost of lamelas, кW | 0,27х5 | 0,27х7 | 0,45х5 | 0,6х5 | 0,75х7 |
| Electric defrost of pan, кW | 0,27х3 | 0,27х3 | 0,45х3 | 0,6х3 | 0,75х3 |
| Total defrost output, кW | 0,27х8 | 0,27х10 | 0,45х8 | 0,6х8 | 0,75х10 |
| Sizes, mm | length | 830 | 830 | 1550 | 1700 | 1700 |
|  | height | 570 | 670 | 570 | 670 | 670 |
|  | width | 480 | 480 | 480 | 480 | 480 |
| Weight, кg | 50 | 58 | 70 | 95 | 118 |
| Connections, mm | Øinlet | 12 | 12 | 16 | 16 | 16 |
|  | Øoutlet | 22 | 22 | 28 | 28 | 28 |
|  | drainage | 19 | 19 | 25 | 25 | 25 |
| Cost of model, rubles | 27 595 | 29 853 | 38 884 | 45 155 | 53 684 |

| Model | SE 502/1BE | SE 502/2BE | SE 503/1BE | SE 503/2BE | SE 504/1BE |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 14,3 | 19,0 | 23,4 | 28,0 | 32,8 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 11,4 | 15,2 | 18,7 | 22,4 | 26,2 |
| Distance between lamelas, mm | 6 | 6 | 6 | 6 | 6 |
| Heat exchange surface, m2 | 60 | 80 | 100 | 120 | 140 |
| A number and diameter of fans, mm | 2х500 | 2х500 | 3х500 | 3х500 | 4х500 |
| Inner volume, dm3 | 15,5 | 20,5 | 25,7 | 30,4 | 34,9 |
| Power consumption of fans, W | 2х450 | 2х450 | 3х450 | 3х450 | 4х450 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Consumption current, А | 2х0,69 | 2х0,69 | 3х0,69 | 3х0,69 | 4х0,69 |
| Air flow, m3/hour | 2х6570 | 2х6570 | 3х6570 | 3х6570 | 4х6570 |
| Flame, m | 15 | 15 | 15 | 15 | 15 |
| Electric defrost of lamelas, кW | 0,75х7 | 0,9х7 | 0,9х9 | 1,2х9 | 1,4х9 |
| Electric defrost of pan, кW | 0,75х3 | 0,9х3 | 0,9х3 | 1,2х3 | 1,4х3 |
| Total defrost output, кW | 0,75х10 | 0,9х10 | 0,9х12 | 1,2х12 | 1,4х12 |
| Sizes, mm | length | 1850 | 1850 | 2350 | 2750 | 3100 |
|  | height | 670 | 670 | 670 | 670 | 670 |
|  | width | 600 | 600 | 600 | 600 | 600 |
| Weight, кg | 165 | 185 | 225 | 250 | 293 |
| Connections, mm | Øinlet | 16 | 22 | 22 | 22 | 25 |
|  | Øoutlet | 35 | 50 | 50 | 50 | 50 |
|  | drainage | 25 | 25 | 38 | 38 | 38 |
| Cost of model, rubles | 80 275 | 90 059 | 117 904 | 137 346 | 163 059 |

| Model | SE 553/1BE | SE 553/2BE | SE 554/1BE | SE 604/1BE | SE 604/2BE |
| --- | --- | --- | --- | --- | --- |
| Cooling cpacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 37,6 | 46,8 | 58,6 | 70,4 | 113,0 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 30,0 | 37,4 | 46,8 | 56,2 | 90,3 |
| Distance between lamelas, mm | 6 | 6 | 6 | 6 | 6 |
| Heat exchange surface, m2 | 160 | 200 | 250 | 300 | 430 |
| A number and diameter of fans, mm | 3х550 | 3х550 | 4х550 | 4х600 | 4х600 |
| Inner volume, dm3 | 39,3 | 51,9 | 57,6 | 74,4 | 89,1 |
| Power consumption of fans, W | 3х600 | 3х600 | 4х600 | 4х780 | 4х830 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Consumption current, А | 3х0,92 | 3х0,92 | 4х0,92 | 4х1,19 | 4х2,18 |
| Air flow, m3/hour | 3х8720 | 3х8720 | 4х8720 | 4х10820 | 4х12000 |
| Flame, m | 15 | 15 | 15 | 15 | 15 |
| Electric defrost of lamelas, кW | 1,4х11 | 1,5х13 | 1,5х15 | 1,8х15 | 16х1,8 |
| Electric defrost of pan, кW | 1,4х3 | 1,5х3 | 1,5х3 | 1,8х3 | 2х1,8 |
| Total defrost output, кW | 1,4х14 | 1,5х16 | 1,5х18 | 1,8х18 | 32,4 |
| Sizes, mm | length | 2750 | 3200 | 3000 | 3550 | 4100 |
|  | height | 770 | 770 | 770 | 770 | 1400 |
|  | width | 640 | 640 | 740 | 740 | 960 |
| Weight, кg | 338 | 365 | 420 | 465 | 480 |
| Connections, mm | Øinlet | 25 | 25 | 25 | 25 | 28 |
|  | Øoutlet | 50 | 50 | 50 | 54 | 54 |
|  | drainage | 38 | 38 | 50 | 50 | 38 |
| Cost of model, rubles | 174 975 | 212 980 | 252 365 | 281 591 | 407 648 |

| Model | SE 351/1СЕ | SE 401/1СЕ | SE 352/1СЕ | SE 352/2СЕ | SE 402/1СЕ |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 1,8 | 2,3 | 3,5 | 5,0 | 7,3 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 1,5 | 1,8 | 2,8 | 4,0 | 5,8 |
| Cooling capacity at Tboil= -31 oC, t=6 oC, кW (R404A/R507), SC4 | 1,2 | 1,5 | 2,3 | 3,3 | 4,8 |
| Distance between lamelas, mm | 9 | 9 | 9 | 9 | 9 |
| Heat exchange surface, m2 | 8 | 10 | 15 | 20 | 30 |
| A number and diameter of fans, mm | 1х350 | 1х400 | 2х350 | 2х350 | 2х400 |
| Inner volume, dm3 | 2,7 | 3,3 | 4,6 | 8,1 | 9,5 |
| Power consumption of fans, W | 1х140 | 1х180 | 2х140 | 2х140 | 2х180 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Consumption current, А | 1х0,22 | 1х0,28 | 2х0,22 | 2х0,22 | 2х0,28 |
| Air flow, m3/hour | 1х2290 | 1х3400 | 2х2290 | 2х2290 | 2х3400 |
| Flame, m | 10 | 13 | 10 | 13 | 13 |
| Electric defrost of lamelas, кW | 0,27х5 | 0,27х7 | 0,45х5 | 0,6х5 | 0,75х7 |
| Electric defrost of pan, кW | 0,27х3 | 0,27х3 | 0,45х3 | 0,6х3 | 0,75х3 |
| Total defrost output, кW | 0,27х8 | 0,27х10 | 0,45х8 | 0,6х8 | 0,75х10 |
| Sizes, mm | length | 830 | 830 | 1230 | 1550 | 1700 |
|  | height | 570 | 670 | 570 | 570 | 670 |
|  | width | 480 | 480 | 480 | 480 | 480 |
| Weight, кg | 49 | 57 | 69 | 93 | 115 |
| Connections, mm | Øinlet | 12 | 12 | 12 | 16 | 16 |
|  | Øoutlet | 22 | 22 | 22 | 28 | 28 |
|  | drainage | 19 | 19 | 19 | 19 | 19 |
| Cost of model, rubles | 27 595 | 29 853 | 38 884 | 45 155 | 53 684 |

| Model | SE 502/1СЕ | SE 502/2СЕ | SE 503/1СЕ | SE 503/2СЕ | SE 504/1СЕ |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity a Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 10,8 | 13,5 | 17,4 | 21,7 | 25,9 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 8,6 | 10,8 | 14,0 | 17,3 | 20,7 |
| Cooling capacity at Tboil= -31 oC, t=6 oC, кW (R404A/R507), SC4 | 7,1 | 8,9 | 11,5 | 14,3 | 17,1 |
| Distance between lamelas, mm | 9 | 9 | 9 | 9 | 9 |
| Heat exchange surface, m2 | 40 | 55 | 70 | 85 | 100 |
| A number and diameter of fans, mm | 2х500 | 2х500 | 3х500 | 3х500 | 4х500 |
| Inner volume, dm3 | 15,5 | 20,5 | 25,7 | 30,4 | 34,9 |
| Power consumption of fans, W | 2х450 | 2х450 | 3х450 | 3х450 | 4х450 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Consumption current, А | 2х0,69 | 2х0,69 | 3х0,69 | 3х0,69 | 4х0,69 |
| Air flow, m3/hour | 2х6570 | 2х6570 | 3х6570 | 3х6570 | 4х6570 |
| Flame, m | 15 | 15 | 15 | 15 | 15 |
| Electric defrost of lamelas, кW | 0,75х7 | 0,9х7 | 0,9х9 | 1,2х9 | 1,4х9 |
| Electric defrost of pan, кW | 0,75х3 | 0,9х3 | 0,9х3 | 1,2х3 | 1,4х3 |
| Total defrost output, кW | 0,75х10 | 0,9х10 | 0,9х12 | 1,2х12 | 1,4х12 |
| Sizes, mm | length | 1850 | 1850 | 2350 | 2750 | 3100 |
|  | height | 670 | 670 | 670 | 670 | 670 |
|  | width | 600 | 600 | 600 | 600 | 600 |
| Weight, кg | 160 | 178 | 216 | 249 | 280 |
| Connections, mm | Øinlet | 16 | 22 | 22 | 22 | 25 |
|  | Øoutlet | 35 | 50 | 50 | 50 | 50 |
|  | drainage | 19 | 19 | 38 | 38 | 38 |
| Cost of model, rubles | 80 275 | 90 059 | 117 904 | 137 346 | 163 059 |

| Model | SE 553/1СЕ | SE 553/2СЕ | SE 554/1СЕ | SE 604/1СЕ | SE 604/2СЕ |
| --- | --- | --- | --- | --- | --- |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 29,7 | 36,1 | 45,2 | 54,1 | 85,2 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 23,8 | 28,8 | 36,1 | 43,2 | 68,1 |
| Cooling capacity at Tboil= -31 oC, t=6 oC, кW (R404A/R507), SC4 | 19,6 | 23,8 | 29,8 | 35,7 | 56,2 |
| Distance between lamelas, mm | 9 | 9 | 9 | 9 | 9 |
| Heat exchange surface, m2 | 115 | 140 | 170 | 210 | 430 |
| A number and diameter of fans, mm | 3х550 | 3х550 | 4х550 | 4х600 | 4х600 |
| Inner volume, dm3 | 39,3 | 51,9 | 57,6 | 74,4 | 89,1 |
| Power consumption of fans, W | 3х600 | 3х600 | 4х600 | 4х780 | 4х830 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 | 380/3/50 |
| Consumption current, А | 3х0,92 | 3х0,92 | 4х0,92 | 4х1,19 | 4х2,18 |
| Air flow, m3/hour | 3х8720 | 3х8720 | 4х8720 | 4х10820 | 4х12000 |
| Flame, m | 15 | 15 | 15 | 15 | 15 |
| Electric defrost of lamelas, кW | 1,4х11 | 1,5х13 | 1,5х15 | 1,8х15 | 16х1,8 |
| Electric defrost of pan, кW | 1,4х3 | 1,5х3 | 1,5х3 | 1,8х3 | 2х1,8 |
| Total defrost output, кW | 1,4х14 | 1,5х16 | 1,5х18 | 1,8х18 | 32,4 |
| Sizes, mm | length | 2750 | 3200 | 3000 | 3550 | 4100 |
|  | height | 770 | 770 | 770 | 770 | 1400 |
|  | width | 640 | 640 | 740 | 740 | 960 |
| Weight, кg | 324 | 337 | 400 | 440 | 480 |
| Connections, mm | Øinlet | 25 | 25 | 25 | 25 | 28 |
|  | Øoutlet | 50 | 50 | 50 | 54 | 54 |
|  | drainage | 38 | 38 | 50 | 50 | 38 |
| Cost of model, rubles | 174 975 | 212 980 | 252 365 | 281 591 | 407 648 |

| Mark | Q0, кW | B, mm | D, mm |  in/out, mm | Price, rub.. |
| --- | --- | --- | --- | --- | --- |
|  | мин | макс |  |  |  |  |
| SP204 | 0,6 | 4,0 | 233 | 102 | 12 | 1 238 |
| SP205 | 0,9 | 6,0 | 295 | 102 | 15 | 1 463 |
| SP206 | 1,2 | 8,0 | 290 | 140 | 18 | 1 613 |
| SP207 | 2,2 | 14,6 | 348 | 140 | 22 | 1 913 |
| SP209 | 3,5 | 23,7 | 437 | 165 | 28 | 2 475 |
| SP211 | 5,7 | 37,7 | 564 | 165 | 35 | 3 263 |
| SP213 | 8,6 | 57,1 | 625 | 165 | 42 | 3 600 |
| SP596 | 1,2 | 8,0 | 236 | 127 | 18 | 1 613 |
| SP597 | 2,2 | 14,6 | 236 | 127 | 22 | 1 725 |
| SP5126 | 1,2 | 8,0 | 335 | 127 | 18 | 1 838 |
| SP5127 | 2,2 | 14,6 | 339 | 127 | 22 | 1 875 |
| SP5137 | 2,2 | 14,6 | 370 | 127 | 22 | 2 025 |
| SP5139 | 3,5 | 23,7 | 370 | 127 | 28 | 2 213 |
| SP5179 | 3,5 | 23,7 | 470 | 127 | 28 | 2 588 |
| SP51711 | 5,7 | 37,7 | 470 | 127 | 35 | 2 513 |
| SP61411 | 5,7 | 37,7 | 379 | 152 | 35 | 3 075 |
| SP62013 | 8,6 | 57,1 | 545 | 152 | 42 | 3 600 |

| Mark | Capacity on liquid, кW | Capacity on amount of refrigerant, кg |  in/out, mm |  in/out, SAE | Price, rub. |
| --- | --- | --- | --- | --- | --- |
| SFD 032 | 7 | 6.6 |  | 1/4 | 225 |
| SFD 032S | 7 | 6.6 | 6 |  | 225 |
| SFD 033 | 19,.3 | 6.6 |  | 3/8 | 225 |
| SFD 033S | 19.3 | 6.6 | 10 |  | 225 |
| SFD 052 | 7 | 7.9 |  | 1/4 | 263 |
| SFD 052S | 7 | 7.9 | 6 |  | 263 |
| SFD 053 | 19.3 | 7.9 |  | 3/8 | 263 |
| SFD 053S | 19.3 | 7.9 | 10 |  | 263 |
| SFD 082 | 7 | 12.5 |  | 1/4 | 338 |
| SFD 082S | 7 | 12.5 | 6 |  | 338 |
| SFD 083 | 19.3 | 12.5 |  | 3/8 | 338 |
| SFD 083S | 19.3 | 12.5 | 10 |  | 338 |
| SFD 084 | 28 | 12.5 |  | 1/2 | 338 |
| SFD 084S | 28 | 12.5 | 12 |  | 338 |
| SFD 162 | 7 | 27 |  | 1/4 | 375 |
| SFD 162S | 7 | 27 | 6 |  | 375 |
| SFD 163 | 22.8 | 27 |  | 3/8 | 413 |
| SFD 163S | 22.8 | 27 | 10 |  | 413 |
| SFD 164 | 31.5 | 27 |  | 1/2 | 488 |
| SFD 164S | 31.5 | 27 | 12 |  | 488 |
| SFD 165 | 47.3 | 27 |  | 5/8 | 525 |
| SFD 165S | 47.3 | 27 | 15 |  | 525 |
| SFD 166S | 47.3 | 27 | 18 |  | 600 |
| SFD 167S | 47.3 | 27 | 22 |  | 600 |
| SFD 303 | 22.8 | 57 |  | 3/8 | 638 |
| SFD 303S | 22.8 | 57 | 10 |  | 638 |
| SFD 304 | 33.3 | 57 |  | 1/2 | 713 |
| SFD 304S | 33.3 | 57 | 12 |  | 713 |
| SFD 305 | 49 | 57 |  | 5/8 | 788 |
| SFD 305S | 49 | 57 | 15 |  | 788 |
| SFD 306S | 64.8 | 57 | 18 |  | 863 |
| SFD 307S | 64.8 | 57 | 22 |  | 900 |
| SFD 309S | 66.5 | 57 | 28 |  | 975 |

| Mark | Capacity on liquid, кW | A mm | D mm |  in/out, mm |  in/out, SAE | Price rub. |
| --- | --- | --- | --- | --- | --- | --- |
| SFL 032 | 7.7 | 111 | 41 |  | 1/4 | 225 |
| SFL 032S | 10.2 | 97 |  | 6 |  | 225 |
| SFL 033 | 11.6 | 119 |  |  | 3/8 | 225 |
| SFL 033S | 11.6 | 103 |  | 10 |  | 225 |
| SFL 052 | 8.1 | 122 | 67 |  | 1/4 | 263 |
| SFL 052S | 12.6 | 113 |  | 6 |  | 263 |
| SFL 053 | 13.7 | 130 |  |  | 3/8 | 263 |
| SFL 053S | 16.8 | 114 |  | 10 |  | 263 |
| SFL 082 | 8.1 | 143 | 67 |  | 1/4 | 338 |
| SFL 082S | 12.3 | 133 |  | 6 |  | 338 |
| SFL 083 | 15.4 | 151 |  |  | 3/8 | 338 |
| SFL 083S | 17.2 | 135 |  | 10 |  | 338 |
| SFL 084 | 25.6 | 157 |  |  | 1/2 | 338 |
| SFL 084S | 27.0 | 137 |  | 12 |  | 338 |
| SFL 162 | 9.1 | 112 | 67 |  | 1/4 | 375 |
| SFL 162S | 12.3 | 97 |  | 6 |  | 375 |
| SFL 163 | 15.1 | 175 |  |  | 3/8 | 413 |
| SFL 163S | 16.8 | 159 |  | 10 |  | 413 |
| SFL 164 | 27.3 | 179 |  |  | 1/2 | 488 |
| SFL 164S | 32.2 | 160 |  | 12 |  | 488 |
| SFL 165 | 36.8 | 191 |  |  | 5/8 | 525 |
| SFL 165S | 38.2 | 167 |  | 15 |  | 525 |
| SFL 167S | 59.2 | 181 |  | 22 |  | 600 |
| SFL 303 | 12.6 | 245 | 80 |  | 3/8 | 638 |
| SFL 303S | 24.2 | 229 |  | 10 |  | 638 |
| SFL 304 | 31.2 | 251 |  |  | 1/2 | 713 |
| SFL 304S | 40.3 | 230 |  | 12 |  | 713 |
| SFL 305 | 40.6 | 262 |  |  | 5/8 | 788 |
| SFL 305S | 47.3 | 236 |  | 15 |  | 788 |
| SFL 306S | 56.4 | 246 |  | 18 |  | 863 |
| SFL 307S | 63.7 | 251 |  | 22 |  | 900 |
| SFL 309S | 74.2 | 257 |  | 28 |  | 975 |
| SFL 413 | 16.8 | 248 | 93 |  | 3/8 | 1 013 |
| SFL 414 | 39.6 | 254 |  |  | 1/2 | 1 088 |
| SFL 414S | 41.0 | 251 |  | 12 |  | 1 088 |
| SFL 415 | 45.9 | 265 |  |  | 5/8 | 1 125 |
| SFL 415S | 64.4 | 240 |  | 15 |  | 1 125 |
| SFL 417S | 77.4 | 251 |  | 22 |  | 1 163 |
| SFL 419S | 106.1 | 264 |  | 28 |  | 1 238 |
| SFL 757S | 84.7 | 392 | 93 | 22 |  | 1 275 |
| SFL 759S | 123.9 | 400 |  | 28 |  | 1 350 |

OUT

Completed by three (hermetic) sight glasses and safety valve

Completed by one (hermetic) sight glass and safety valve.

IN

OUT

GC «Leader», exclusive distributor of corporation  «SVIL»

GC «Leader», exclusive distributor of corporation  «SVIL»

GC «Leader», exclusive distributor of corporation  «SVIL»

GC «Leader», exclusive distributor of corporation  «SVIL»

GC «Leader», exclusive distributor of corporation  «SVIL»

GC «Leader», exclusive distributor of corporation  «SVIL»

GC «Leader», exclusive distributor of corporation  «SVIL»

GC «Leader», exclusive distributor of corporation  «SVIL»

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of corporation  «SVIL»

GC «Leader», exclusive distributor of corporation  «SVIL»

GC «Leader», exclusive distributor of corporation  «SVIL»

GC «Leader», exclusive distributor of corporation  «SVIL»

Г М

500-60-250

Емкость бака

М - модуль

Г -

“гидро”

Произв-сть, м3/ч

(при данном сопротивлении в кПа)

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

GC «Leader», exclusive distributor of «SVIL» corporation

| Model | ЛВА 554А60Е | ЛВА 634А60Е | ЛВА 803А60Е |
| --- | --- | --- | --- |
| Cooling capacity at Tboil= -8 oC, t=8 oC, кW (R404A/R507), SC2 | 72,4 | 96,5 | 104,5 |
| Cooling capacity at Tboil= -25 oC, t=7 oC, кW (R404A/R507), SC3 | 54,0 | 73,6 | 79,4 |
| Distance between lamelas, mm | 6 | 6 | 6 |
| Heat exchange surface, m2 | 324 | 583 | 677 |
| A number of and diameter, mm | 4x550 | 4x630 | 3x800 |
| Inner volume, dm3 | 69.8 | 123.5 | 143.1 |
| Power consumption of fans, W | 4x550 | 4x680 | 3x650 |
| Voltage/Phase/Frequency, (V/Hz) | 380/3/50 | 380/3/50 | 380/3/50 |
| Consumption current, А | 4x1.31 | 4x1.61 | 3x1.5 |
| Air flow, m3/hour | 32200 | 40200 | 40650 |
| Flame, m | 22 | 26 | 37 |
| Electric defrost of lamelas, W | 8x2130 | 14x2530 | 20x2210 |
| Electric defrost of pan, W | 4x2130 | 4x2530 | 4x2210 |
| Total defrost output, W | 25560 | 45540 | 53040 |
| Sizes, mm | length | 4565 | 5365 | 4735 |
|  | height | 900 | 1300 | 1300 |
|  | width | 815 | 915 | 1045 |
| Weight, кg | 432 | 658 | 762 |
| Connections, mm | Øinlet | 2х22 | 2х22 | 2х22 |
|  | Øoutlet | 2х54 | 2х54 | 2х54 |
|  | drainage | 32 | 32 | 32 |
| Cost of standard model, rubles | 424 993 | 623 534 | 751 337 |

| Model | Nominal cooling capacity, кW | Nominal water flow speed, m3/h | Maximum water flow speed, m3/h | Nominal differential pressure (water), Pа | Price, rub. |
| --- | --- | --- | --- | --- | --- |
| SES 20/… | 20 | 4,0 | 6,0 | 21 | 42 375 |
| SES 28/… | 28 | 6,0 | 7,5 | 31 | 46 613 |
| SES 35/… | 35 | 6,0 | 9,0 | 34 | 57 080 |
| SES 45/… | 46 | 8,0 | 11,0 | 41 | 72 038 |
| SES 55/… | 55 | 9,5 | 12,0 | 37 | 84 750 |
| SES 65/… | 65 | 11,2 | 14,5 | 41 | 97 463 |
| SES 80/… | 80 | 13,8 | 18,0 | 45 | 108 693 |
| SES 95/… | 95 | 16,5 | 21,0 | 49 | 127 125 |
| SES 110/… | 110 | 19,0 | 23,0 | 38 | 139 711 |
| SES 125/… | 125 | 21,5 | 25,0 | 41 | 152 550 |
| SES 140/… | 140 | 24,0 | 28,0 | 47 | 165 263 |
| SES 155/… | 155 | 26,7 | 30,0 | 41 | 177 975 |
| SES 180/… | 180 | 31,0 | 40,0 | 41 | 199 163 |
| SES 210/… | 210 | 36,1 | 42,0 | 45 | 220 350 |
| SES 240/… | 240 | 41,3 | 48,0 | 43 | 245 775 |
| SES 265/… | 265 | 45,6 | 55,0 | 47 | 258 488 |
| SES 290/… | 290 | 50,0 | 58,0 | 41 | 271 200 |
| SES 320/… | 320 | 55,0 | 63,0 | 43 | 283 913 |
| SES 360/… | 360 | 62,0 | 70,0 | 45 | 300 015 |
| SES 390/… | 390 | 67,1 | 85,0 | 39 | 313 575 |
| SES 420/… | 420 | 72,2 | 95,0 | 43 | 322 050 |
| SES 470/… | 470 | 80,8 | 100,0 | 45 | 339 000 |
| SES 520/… | 520 | 89,4 | 105,0 | 46 | 355 950 |
| SES 570/… | 570 | 98,0 | 112,0 | 49 | 370 188 |

| Model | Receiver connections mm | Connections of liquid separator mm | Receiver volume, l | Liquid separator volume l | D, mm | С, mm | H1 mm | H2 mm | H3 mm | H4 mm | Price, rub. |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  | мм | SAE |  |  |  |  |  |  |  |  |  |  |
| SRP 01 | 10 | 1 | 12 | 0,9 | 0,5 | 114 | 220 | 300 | 220 | 70 | 85 | 4 838 |
| SRP 02 | 10 | 1 | 15 | 1,7 | 0,8 | 140 | 220 | 300 | 220 | 70 | 85 | 5 550 |
| SRP 03 | 10 | 1 | 22 | 3,2 | 2,4 | 159 | 220 | 400 | 300 | 70 | 85 | 6 113 |
| SRP 04 | 10 | 1 | 28 | 4,5 | 4,2 | 220 | 220 | 400 | 300 | 70 | 85 | 6 638 |
| SRP 05 | 15 | 1 1/4 | 35 | 5,8 | 5,2 | 220 | 220 | 450 | 350 | 70 | 85 | 7 388 |
| SRP 06 | 15 | 1 1/4 | 35 | 8 | 6,3 | 220 | 220 | 540 | 445 | 70 | 85 | 8 888 |
| SRP 07 | 22 | 1 1/4 | 42 | 12 | 10 | 273 | 220 | 540 | 445 | 70 | 85 | 10 425 |
| SRP 08 | 22 | 1 1/4 | 42 | 14 | 12 | 273 | 220 | 655 | 490 | 110 | 120 | 11 775 |

| Refrigerant | CFC, HCFC, HFC |
| --- | --- |
| Temperature range | -30…+150˚C |
| Maximum working pressure | 3.45MPa |
| Maximum motion pressure | 2.45MPa |